## CONSTRUCTION COVID19 TCCS
COVID19 Community Facilities and Treatment centers
Orientative STRUCTURES Bill of quantities
-NEEDED FOR X MODULES PER FACILITY
-NEEDED EQUIPMENT WATER SANITATION WASTE POWER SAFETY IPC
-NEEDED FOR ANCILLARY & FURNITURE PER FACILITY
Based on Based of the design produced by
[5 empty] | MODEL S 100B | MODEL L 180B | MODEL L 260B | MODEL L 340B | MODEL XL 420B | MODEL XL 500 B
[5 empty] | TOTAL | TOTAL | TOTAL | TOTAL | TOTAL | TOTAL
100 patients
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | MODEL S 100B | MODEL L 180B | MODEL L 260B | MODEL L 340B | MODEL XL 420B | MODEL XL 500 B
[5 empty] | TOTAL | TOTAL | TOTAL | TOTAL | TOTAL | TOTAL
[5 empty] | 50 staff per Swift + 3 swifts + 1 laundry | 80 staff per Swift + 3 swifts + 1 laundry | 112 staff per Swift + 3 swifts + 1 laundry | 142 staff per Swift + 3 swifts + 1 laundry | 172 staff per Swift + 3 swifts + 1 laundry | 200 staff per Swift + 3 swifts + 1 laundry
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | MODEL S 100B | MODEL L 180B | MODEL L 260B | MODEL L 340B | MODEL XL 420B | MODEL XL 500 B
[5 empty] | TOTAL | TOTAL | TOTAL | TOTAL | TOTAL | TOTAL
[5 empty] | 12 cleaning staff per Swift + 3 swifts + 1 laundry | 14 cleaning staff per Swift + 3 swifts + 1 laundry | 16 cleaning staff per Swift + 3 swifts + 1 laundry | 18 cleaning staff per Swift + 3 swifts + 1 laundry | 20 cleaning staff per Swift + 3 swifts + 1 laundry | 22 cleaning staff per Swift + 3 swifts + 1 laundry
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
CLICK ON THE TABS WARD MODULE and enter the desired Modules of each type and Check total Bill of quantities at TOTAL BoQ tab
BACK TO MENU

## Structures detailed
COVID19 Community Facilities and Treatment centers | [7 empty] | MODEL L 180B
Structures Detailed Bill of Quantities
| OPTION I Tends + prefabricated model |  | OPTION II Basic construction (wood + tarpaurline)
Item | # | units | wooden strips (5cmx10cm) unit: meter | nails (7 cm) unit: uds | tarpaurline (2mx3m) unit: uds | playwood (1,22 m x 2,44 m) unit: uds | hinges unit: uds
Structure Water Modules W1 (2m x 1,5m x 2,40m) | - | Prefabricated wc | 8 | 40 | 5 | 8 | 2
Structure Water Modules W3 (2m x 6m x 2,40m) | 6 | Prefabricated wc | 60 | 60 | 8 | 16 | 6
Structure Water Modules W5 (2m x 10m x 2,40m) | 4 | Prefabricated wc | 75 | 75 | 12 | 12 | 6
Structure Shelter Modules Sh2 (6m x 4m x 2,40m) | 3 | 1 tent | 60 | 60 | 10 | 20 | 2
Structure Shelter Modules Sh3 (6m x 6m x 2,40m) | 6 | 1 tent | 70 | 70 | 12 | 24 | 6
Structure Shelter Modules Sh4 (6m x 8m x 2,40m) | 10 | 1 tent | 80 | 80 | 14 | 28 | 6
Structure Shelter Modules Sh5 (6m x 10m) | 6 | 2 tents | 90 | 90 | 16 | 32 | 6
Structure Storage Module St3 (2m x 6m x 1,20m) | 2 | Prefabricated | 30 | 30 | 4 | 8 | 6
Structure Storage Module St5 (2m x 10m x 1,20m) | 4 | Prefabricated | 35 | 40 | 4 | 8 | 6
Structure Doors Module (2m x 1,2m - 2 units) | 14 |  | 36 | 100 | 1 | 0 | 8
Structure Corner module (2m x 1,2m x 1m) | 80 |  | 6 | 40 | 0 | 0 | 0
Structure Beds Module (1,2m x 2,4m x 0,10m) | 45 |  | 6 | 30 | 0 | 1 | 0

## WARD MODULE (40 or 20 beds)
COVID19 Community Facilities and Treatment centers | [7 empty] | 340 | 340 |  |  |  |  | 340 | 340
[14 empty] | 340 | Fill CELLS
[14 empty] | 340 | 340
[6 empty] | SUSPECTS (20s) | [5 empty] | CONFIRMED (40c)
|  | BASIC TST L-180B | EXTRA MOD TST+80b |  |  | ENTER NUMBER OF WARDS | [5 empty] | ENTER NUMBER OF WARDS
[6 empty] | 2 | [5 empty] | 2
ITEM | UNIT | QTITY | QTITY | Total Qtity | UNIT | Total Qtity | UNIT | UNIT COST (Local currency) | Total COST (Local currency) | Total Qtity | UNIT | Total Qtity | UNIT | UNIT COST (Local currency) | Total COST (Local currency)
C1.STRUCTURES (see the detailed options in Structures detailled tab)
Structure Water Modules W1 (2m x 1,5m x 2,40m) | units | 6 | 1 | 20 | Units | 40 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Water Modules W3 (2m x 6m x 2,40m) | units | 6 | 1 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Structure Water Modules W5 (2m x 10m x 2,40m) | units | 4 | 2 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Shelter Modules Sh2 (6m x 4m x 2,40m) | units | 4 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Shelter Modules Sh3 (6m x 6m x 2,40m) | units | 6 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Shelter Modules Sh4 (6m x 8m x 2,40m) | units | 8 | 1 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Shelter Modules Sh5 (6m x 10m) | units | 6 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Storage Module St3 (2m x 6m x 1,20m) | units | 2 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Structure Storage Module St5 (2m x 10m x 1,20m) | units | 4 | 1 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Structure Doors Module (2m x 1,2m - 2 units) | units | 10 | 2 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Structure Corner module (2m x 1,2m x 1m) | units | 80 | 52 | 14 | Units | 28 | Units |  | 0 | 14 | Units | 28 | Units |  | 0
Structure Beds Module (1,2m x 2,4m x 0,10m) | units | 45 | 20 | 10 | Units | 20 | Units |  | 0 | 10 | Units | 20 | Units |  | 0
Fence | mts | 1000 | 400 | 220 | m | 440 | m |  | 0 | 220 | m | 440 | m |  | 0
Floor (Not consider - To build in existing facility) | Maybe if we don't consider in this first design the floor and roff I will not put it in the budget |  |  | 648 | m2 | 1296 | m2 |  | 0 | 648 | m2 | 1296 | m2 |  | 0
Roffing (Not consider - To build in existing facility) |  |  |  | 648 | m2 | 1296 | m2 |  | 0 | 648 | m2 | 1296 | m2 |  | 0
SUBTOTAL STRUCTURES | [8 empty] | 0 | [5 empty] | 0
F1. SANITATION
WC Cubicles Superstructure (considering Gender factor) | units | 16 | 4 | 20 | Units | 40 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Plastic or resine Latrine slabs 1.20x1.80 | units | 16 | 4 | 20 | Units | 40 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
P-Trap adaptor | units | 16 | 4 | 20 | Units | 40 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Commode toilet sit | units | 16 | 4 | 20 | Units | 40 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Flexible irrigation hose 3/4 " with nozzle | units | 16 | 4 | 20 | Units | 40 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Teflon | rolls | 40 | 10 | 12 | rolls | 24 | rolls |  | 0 | 2 | rolls | 4 | rolls |  | 0
Basin | units | 7 | 2 | 20 | Units | 40 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Grease Trap | units | 10 | 2 | 2 | Units | 4 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Grey water pump | units | 10 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Shower | units | 14 | 4 | 20 | Units | 40 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Macerator | unit | 9 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
32 mm Flexible grey PVC Pipe | lineal mts. | 300 | 60 | 240 | lineal mts. | 480 | lineal mts. |  | 0 | 60 | lineal mts. | 120 | lineal mts. |  | 0
32 mm PVC Gate valve | units | 12 | 2 | 4 | Units | 8 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
32 mm PVC Tee | units | 20 | 4 | 4 | Units | 8 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
PVC Glue | tubes | 18 | 4 | 16 | tubes | 32 | tubes |  | 0 | 2 | tubes | 4 | tubes |  | 0
90 mm flexible PVC pipe | lineal mts. | 210 | 60 | 100 | lineal mts. | 200 | lineal mts. |  | 0 | 25 | lineal mts. | 50 | lineal mts. |  | 0
90 mm flexible PVC Yee Connection |  | 8 | 4 | 18 | Units | 36 | Units |  | 0 | 4 | Units | 8 | Units |  | 0
SUBTOTAL SANITATION | [8 empty] | 0 | [5 empty] | 0
F1. WATER DISTRIBUTION NETWORK
HDPE pipe 25mm | mts | 560 | 224 | 140 | mts | 280 | mts |  | 0 | 112 | mts | 224 | mts |  | 0
Tee 25 mm | units | 32 | 10 | 22 | Units | 44 | Units |  | 0 | 5 | Units | 10 | Units |  | 0
Elbow 25mm | units | 4 | 2 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
Gate Valves 25mm | units | 40 | 12 | 22 | Units | 44 | Units |  | 0 | 6 | Units | 12 | Units |  | 0
Water supply points connections | connections | 28 | 6 | 22 | connections | 44 | connections |  | 0 | 3 | connections | 6 | connections |  | 0
PVC reducer 1"-3/4" | units | 28 | 6 | 22 | Units | 44 | Units |  | 0 | 3 | Units | 6 | Units |  | 0
PVC pressure tubing 3/4 " | units | 28 | 6 | 22 | Units | 44 | Units |  | 0 | 3 | Units | 6 | Units |  | 0
PVC ball valves 3/4 " | units | 28 | 6 | 22 | Units | 44 | Units |  | 0 | 3 | Units | 6 | Units |  | 0
Elbow actioned taps 3/4 " | units | 28 | 6 | 22 | Units | 44 | Units |  | 0 | 3 | Units | 6 | Units |  | 0
Sink | units | 16 | 6 | 22 | Units | 44 | Units |  | 0 | 3 | Units | 6 | Units |  | 0
Teflon | rolls | 120 | 20 | 48 | rolls | 96 | rolls |  | 0 | 12 | rolls | 24 | rolls |  | 0
SUBTOTAL WATER DISTRIBUTION NETWORK | [8 empty] | 0 | [5 empty] | 0
F2. ELECTRICITY
Generator 250 KVA | Units | 1 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Protective electrical panels | Units | 9 | 1 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Earthing system | Units | 1 |  |  | Units | 0 | Units |  | 0 |  | Units | 0 | Units |  | 0
Cable 2x1.5 | m | 3000 | 230 | 115 | m | 230 | m |  | 0 | 115 | m | 230 | m |  | 0
Cable 3G2.5 | m | 5000 | 320 | 160 | m | 320 | m |  | 0 | 160 | m | 320 | m |  | 0
Cable 5G6 | m | 200 | 0 | 0 | m | 0 | m |  | 0 | 0 | m | 0 | m |  | 0
Cable 5G16 | m | 500 | 0 | 0 | m | 0 | m |  | 0 | 0 | m | 0 | m |  | 0
Cable 4x25 | m | 50 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Staples for cable (100 units box) | Units | 25 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Connection boxes | Units | 150 | 12 | 6 | Units | 12 | Units |  | 0 | 6 | Units | 12 | Units |  | 0
Connection plugs | Units | 150 | 12 | 6 | Units | 12 | Units |  | 0 | 6 | Units | 12 | Units |  | 0
Wall Sockets | Units | 620 | 60 | 30 | Units | 60 | Units |  | 0 | 40 | Units | 80 | Units |  | 0
LED Lights 20W | Units | 160 | 40 | 20 | Units | 40 | Units |  | 0 | 20 | Units | 40 | Units |  | 0
LED Lights 10W | Units | 200 | 40 | 20 | Units | 40 | Units |  | 0 | 20 | Units | 40 | Units |  | 0
Metal tray for cable conduction | m | 1000 | 200 | 100 | m | 200 | m |  | 0 | 100 | m | 200 | m |  | 0
SUBTOTAL ELECTRICITY | [8 empty] | 0 | [5 empty] | 0
F2. FIRE
Extinguishers CO2 6Kg | Units | 22 | 4 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
SUBTOTAL FIRE | [8 empty] | 0 | [5 empty] | 0
F3. VENTILATION
Individual ventilators | Units | 180 | 80 | 20 | Units | 40 | Units |  | 0 | 40 | Units | 80 | Units |  | 0
Portable HEPA filtration units |  |  |  | 2 | Units | 4 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
SUBTOTAL VENTILATION | [8 empty] | 0 | [5 empty] | 0
F4. WASTE MANAGEMENT
Pedal opening Bins 30 l(Infectious waste) | Units | 30 | 8 | 4 | Units | 8 | Units |  | 0 | 4 | Units | 8 | Units |  | 0
Bio-hazardous bag | Units | 2000 | 500 | 250 | Units | 500 | Units |  | 0 | 250 | Units | 500 | Units |  | 0
IPC Box 3 l (Sharp waste) | Units | 10 | 2 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
IPC Bins 30 l(General waste) | Units | 10 | 1 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
IPC Wheeled bins 120 l (3 colors) | Units | 3 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
IPC Bucket for desinfection 120L | Units | 2 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Pressure washer | Units | 1 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
SUBTOTAL WASTE MANAGEMENT | [8 empty] | 0 | [5 empty] | 0
F4.HYGIENE AND ENV CLEANING
Liquid soap dispensers | Units | 16 | 6 | 20 | Units | 40 | Units |  | 0 | 3 | Units | 6 | Units |  | 0
Liquid soap | Litres | 90 | 20 | 10 | litres | 20 | litres |  | 0 | 10 | litres | 20 | litres |  | 0
Alcohol-based hand rub | Litres | 108 | 48 | 24 | Units | 48 | Units |  | 0 | 24 | Units | 48 | Units |  | 0
Chlorine, NADCC 65% | Kg. | 60 | 20 | 10 | kg | 20 | kg |  | 0 | 10 | Units | 20 | Units |  | 0
IPC Bucket for laundry 120 L | Units | 12 | 4 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
IPC Bucket for washing 15 L | Units | 10 | 4 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
IPC Sprayers 10 L | Units | 4 | 1 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
IPC Bodys Bags | Units | 40 | 30 | 10 | Units | 20 | Units |  | 0 | 10 | Units | 20 | Units |  | 0
IPC Mope | Units | 6 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
SUBTOTAL HYGIENE AND ENV.CLEANING | [8 empty] | 0 | [5 empty] | 0
F4. EQUIPMENT AND FURNITURE
Medical equipment X-Ray | Units | 2 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Furniture Tables | Units | 8 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Furniture Chairs | Units | 50 | 10 | 20 | Units | 40 | Units |  | 0 | 5 | Units | 10 | Units |  | 0
Furnitures Mirrors | Units | 21 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Furnitures Clocks | Units | 10 | 2 | 1 | Units | 2 | Units |  | 0 | 1 | Units | 2 | Units |  | 0
Furnitures Benches | Units | 6 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Furnitures Shelves | Units | 12 | 0 | 0 | Units | 0 | Units |  | 0 | 0 | Units | 0 | Units |  | 0
Furnitures Beds | Units | 182 | 80 | 20 | Units | 40 | Units |  | 0 | 40 | Units | 80 | Units |  | 0
Sing post | Units | 40 | 4 | 2 | Units | 4 | Units |  | 0 | 2 | Units | 4 | Units |  | 0
SUBTOTAL EQUIPMENT AND FURNITURE | [8 empty] | 0 | [5 empty] | 0
TOTAL | [8 empty] | 0 | [5 empty] | 0

## CORE MODULE
340
COVID19 Community Facilities and Treatment centers | [7 empty] | Fill CELLS
|  | BASIC TST L-180B | EXTRA MOD TST+80b |  |  |  | CORE MODULE with 20 beds
ITEM | UNIT | QTITY | QTITY | Total Qtity | UNIT | UNIT COST (Local currency) | TOTAL COST (Local currency)
C1.STRUCTURES (see the detailed options in Structures detailled tab)
Structure Water Modules W3 (2m x 6m x 2,40m) | units | 6 | 1 | 4 | Units |  | 0
Structure Water Modules W5 (2m x 10m x 2,40m) | units | 4 | 2 | 0 | Units |  | 0
Structure Shelter Modules Sh2 (6m x 4m x 2,40m) | units | 3 | 0 | 3 | Units |  | 0
Structure Shelter Modules Sh3 (6m x 6m x 2,40m) | units | 6 | 0 | 6 | Units |  | 0
Structure Shelter Modules Sh4 (6m x 8m x 2,40m) | units | 10 | 1 | 8 | Units |  | 0
Structure Shelter Modules Sh5 (6m x 10m) | units | 6 | 0 | 6 | Units |  | 0
Structure Storage Module St3 (2m x 6m x 1,20m) | units | 2 | 0 | 2 | Units |  | 0
Structure Storage Module St5 (2m x 10m x 1,20m) | units | 4 | 1 | 2 | Units |  | 0
Structure Doors Module (2m x 1,2m - 2 units) | units | 14 | 2 | 10 | Units |  | 0
Structure Corner module (2m x 1,2m x 1m) | units | 80 | 52 | -24 | Units |  | 0
Structure Beds Module (1,2m x 2,4m x 0,10m) | units | 45 | 20 | 5 | Units |  | 0
Fence | mts | 1200 | 400 | 400 | m |  | 0
Floor (Not consider - To build in existing facility) | Maybe if we don't consider in this first design the floor and roff I will not put it in the budget | 7000 | 1296 | 3000 | m2 |  | 0
Roffing (Not consider - To build in existing facility) |  | 7000 | 1296 | 3000 | m2 |  | 0
SUBTOTAL STRUCTURES | [6 empty] | 0
F1. SANITATION
WC Cubicles Superstructure (considering Gender factor) | units | 16 | 4 | 8 | Units |  | 0
Plastic or resine Latrine slabs 1.20x1.80 | units | 16 | 4 | 8 | Units |  | 0
P-Trap adaptor | units | 16 | 4 | 8 | Units |  | 0
Commode toilet sit | units | 16 | 4 | 8 | Units |  | 0
Flexible irrigation hose 3/4 " with nozzle | units | 16 | 4 | 8 | Units |  | 0
Teflon | rolls | 40 | 10 | 20 | rolls |  | 0
Basin | units | 7 | 2 | 3 | Units |  | 0
Grease Trap | units | 10 | 2 | 6 | Units |  | 0
Grey water pump | units | 10 | 2 | 6 | Units |  | 0
Shower (1 x 20 persons) | units | 14 | 4 | 6 | Units |  | 0
Macerator | unit | 9 | 2 | 5 | Units |  | 0
32 mm Flexible grey PVC Pipe | lineal mts. | 300 | 60 | 180 | lineal mts. |  | 0
32 mm PVC Gate valve | units | 12 | 2 | 8 | Units |  | 0
32 mm PVC Tee | units | 20 | 4 | 12 | Units |  | 0
PVC Glue | tubes | 18 | 4 | 10 | tubes |  | 0
90 mm Rigid PVC pipe | lineal mts. | 210 | 60 | 90 | lineal mts. |  | 0
90 mm Rigid PVC Yee Connection |  | 8 | 4 | 0 | Units |  | 0
SUBTOTAL SANITATION | [6 empty] | 0
F1. WATER DISTRIBUTION NETWORK
HDPE pipe 25mm | mts | 560 | 224 | 112 | mts |  | 0
Tee 25 mm | units | 32 | 10 | 12 | Units |  | 0
Elbow 25mm | units | 4 | 2 | 0 | Units |  | 0
Gate Valves 25mm | units | 40 | 12 | 16 | Units |  | 0
Water supply points connections | connections | 28 | 6 | 16 | connections |  | 0
PVC reducer 1"-3/4" | units | 28 | 6 | 16 | Units |  | 0
PVC pressure tubing 3/4 " | units | 28 | 6 | 16 | Units |  | 0
PVC ball valves 3/4 " | units | 28 | 6 | 16 | Units |  | 0
Elbow actioned taps 3/4 " | units | 28 | 6 | 16 | Units |  | 0
Sink | units | 16 | 6 | 4 | Units |  | 0
PVC valve, tank outlet 1 1/2 " | units | 10 | 6 | -2 | Units |  | 0
Tanks HDPE 5000 L | units | 10 | 6 | -2 | Units |  | 0
Red plastic paint (5Kg) | units | 4 | 1 | 2 | Units |  | 0
Yellow plastic paint (5Kg) | units | 4 | 1 | 2 | Units |  | 0
Green plastic paint (5Kg) | units | 4 | 1 | 2 | Units |  | 0
Teflon | rolls | 120 | 20 | 80 | rolls |  | 0
SUBTOTAL WATER DISTRIBUTION NETWORK | [6 empty] | 0
F2. ELECTRICITY
Generator 250 KVA | Units | 1 | 0 | 1 | Units |  | 0
Protective electrical panels | Units | 9 | 1 | 7 | Units |  | 0
Earthing system | Units | 1 |  | 1 | Units |  | 0
Cable 2x1.5 | m | 3000 | 230 | 2540 | m |  | 0
Cable 3G2.5 | m | 5000 | 320 | 4360 | m |  | 0
Cable 5G6 | m | 200 | 0 | 200 | m |  | 0
Cable 5G16 | m | 500 | 0 | 500 | m |  | 0
Cable 4x25 | m | 50 | 0 | 50 | Units |  | 0
Staples for cable (100 units box) | Units | 25 | 2 | 21 | Units |  | 0
Connection boxes | Units | 150 | 12 | 126 | Units |  | 0
Connection plugs | Units | 150 | 12 | 126 | Units |  | 0
Wall Sockets | Units | 620 | 60 | 500 | Units |  | 0
LED Lights 20W | Units | 160 | 40 | 80 | Units |  | 0
LED Lights 10W | Units | 200 | 40 | 120 | Units |  | 0
Metal tray for cable conduction | m | 1000 | 200 | 600 | m |  | 0
SUBTOTAL ELECTRICITY | [6 empty] | 0
F2. TELECOM
Radio System | Unit | 1 | 0 | 1 | Units |  | 0
Internet System | Unit | 1 | 0 | 1 | Units |  | 0
SUBTOTAL TELECOM | [6 empty] | 0
F2. FIRE
Extinguishers CO2 6Kg | Units | 22 | 4 | 14 | Units |  | 0
Extinguishers ABC powder 6kg | Units | 2 | 0 | 2 | Units |  | 0
SUBTOTAL FIRE | [6 empty] | 0
F3. VENTILATION
Individual ventilators | Units | 180 | 80 | 20 | Units |  | 0
Portable HEPA filtration units | Units | 5 | 2 | 1 | Units |  | 0
SUBTOTAL VENTILATION | [6 empty] | 0
F4. WASTE MANAGEMENT
Pedal opening Bins 30 l(Infectious waste) | Units | 30 | 8 | 14 | Units |  | 0
Bio-hazardous bag | Units | 2000 | 500 | 1000 | Units |  | 0
IPC Box 3 l (Sharp waste) | Units | 10 | 2 | 6 | Units |  | 0
IPC Bins 30 l(General waste) | Units | 10 | 1 | 8 | Units |  | 0
IPC Wheeled bins 120 l (3 colors) | Units | 3 | 0 | 3 | Units |  | 0
IPC Bucket for desinfection 120L | Units | 2 | 0 | 2 | Units |  | 0
Pressure washer | Units | 1 | 0 | 1 | Units |  | 0
SUBTOTAL WASTE MANAGEMENT | [6 empty] | 0
F4.HYGIENE AND ENV CLEANING
Liquid soap dispensers | Units | 16 | 6 | 4 | Units |  | 0
Liquid soap | Litres | 90 | 20 | 50 | Units |  | 0
Alcohol-based hand rub | Litres | 108 | 48 | 12 | Units |  | 0
Chlorine, NADCC 65% | Kg. | 60 | 20 | 20 | Units |  | 0
IPC Bucket for laundry 120 L | Units | 12 | 4 | 4 | Units |  | 0
IPC Bucket for washing 15 L | Units | 10 | 4 | 2 | Units |  | 0
IPC Sprayers 10 L | Units | 4 | 1 | 2 | Units |  | 0
IPC Bodys Bags | Units | 40 | 30 | -20 | Units |  | 0
IPC Mope | Units | 6 | 2 | 2 | Units |  | 0
SUBTOTAL HYGIENE AND ENV.CLEANING | [6 empty] | 0
F4. EQUIPMENT AND FURNITURE
Medical equipment X-Ray | Units | 2 | 0 | 2 | Units |  | 0
Furniture Tables | Units | 8 | 2 | 4 | Units |  | 0
Furniture Chairs | Units | 50 | 10 | 30 | Units |  | 0
Furnitures Mirrors | Units | 21 | 2 | 17 | Units |  | 0
Furnitures Clocks | Units | 10 | 2 | 6 | Units |  | 0
Furnitures Benches | Units | 6 | 0 | 6 | Units |  | 0
Furnitures Shelves | Units | 12 | 0 | 12 | Units |  | 0
Furnitures Beds | Units | 182 | 80 | 22 | Units |  | 0
Sing post | Units | 40 | 4 | 32 | Units |  | 0
SUBTOTAL EQUIPMENT AND FURNITURE | [6 empty] | 0
TOTAL | [6 empty] | 0

## TOTAL BoQ
COVID19 Community Facilities and Treatment centers
Construction and Facilities Budget
|  | BASIC TST L-180B | EXTRA MOD TST+80b |  | CORE MODULE with 20 beds
ITEM | UNIT | QTITY | QTITY | Total Qtity | TOTAL COST (Local currency)
C1.STRUCTURES (see the detailed options in Structures detailled tab) | [5 empty] | Core Module ( Triage+Tech area+ 20 Beds module)
Structure Water Modules W1 (2m x 1,5m x 2,40m) | units | 6 | 1 | 40 | 0 |  |  | 2 | 40 Beds WARD
Structure Water Modules W3 (2m x 6m x 2,40m) | units | 6 | 1 | 8 | 0 |  |  |  | Confirmed Patients
Structure Water Modules W5 (2m x 10m x 2,40m) | units | 4 | 2 | 0 | 0
Structure Shelter Modules Sh2 (6m x 4m x 2,40m) | units | 4 | 0 | 3 | 0
Structure Shelter Modules Sh3 (6m x 6m x 2,40m) | units | 6 | 0 | 6 | 0
Structure Shelter Modules Sh4 (6m x 8m x 2,40m) | units | 8 | 1 | 8 | 0 |  | +
Structure Shelter Modules Sh5 (6m x 10m) | units | 6 | 0 | 6 | 0
Structure Storage Module St3 (2m x 6m x 1,20m) | units | 2 | 0 | 2 | 0
Structure Storage Module St5 (2m x 10m x 1,20m) | units | 4 | 1 | 6 | 0
Structure Doors Module (2m x 1,2m - 2 units) | units | 10 | 2 | 18 | 0
Structure Corner module (2m x 1,2m x 1m) | units | 80 | 52 | 32 | 0
Structure Beds Module (1,2m x 2,4m x 0,10m) | units | 45 | 20 | 45 | 0 |  |  | 2 | 20 Beds WARD
Fence | mts | 1000 | 400 | 1280 | 0 |  |  |  | Suspected Patients
Floor (Not consider - To build in existing facility) | Maybe if we don't consider in this first design the floor and roff I will not put it in the budget |  |  | 5592 | 0
Roffing (Not consider - To build in existing facility) |  |  |  | 5592 | 0
SUBTOTAL STRUCTURES |  |  |  |  | 0
F1. SANITATION
WC Cubicles Superstructure (considering Gender factor) | units | 16 | 4 | 52 | 0
Plastic or resine Latrine slabs 1.20x1.80 | units | 16 | 4 | 52 | 0
P-Trap adaptor | units | 16 | 4 | 52 | 0
Commode toilet sit | units | 16 | 4 | 52 | 0
Flexible irrigation hose 3/4 " with nozzle | units | 16 | 4 | 52 | 0
Teflon | rolls | 40 | 10 | 48 | 0
Basin | units | 7 | 2 | 47 | 0
Grease Trap | units | 10 | 2 | 12 | 0
Grey water pump | units | 10 | 2 | 10 | 0
Shower (1 x 20 persons) | units | 14 | 4 | 48 | 0
Macerator | unit | 9 | 2 | 9 | 0
32 mm Flexible grey PVC Pipe | lineal mts. | 300 | 60 | 780 | 0
32 mm PVC Gate valve | units | 12 | 2 | 20 | 0
32 mm PVC Tee | units | 20 | 4 | 24 | 0
PVC Glue | tubes | 18 | 4 | 46 | 0
90 mm Rigid PVC pipe | lineal mts. | 210 | 60 | 340 | 0
90 mm Rigid PVC Yee Connection |  | 8 | 4 | 44 | 0
SUBTOTAL SANITATION |  |  |  |  | 0
F1. WATER DISTRIBUTION NETWORK
HDPE pipe 25mm | mts | 560 | 224 | 616 | 0
Tee 25 mm | units | 32 | 10 | 66 | 0
Elbow 25mm | units | 4 | 2 | 8 | 0
Gate Valves 25mm | units | 40 | 12 | 72 | 0
Water supply points connections | connections | 28 | 6 | 66 | 0
PVC reducer 1"-3/4" | units | 28 | 6 | 66 | 0
PVC pressure tubing 3/4 " | units | 28 | 6 | 66 | 0
PVC ball valves 3/4 " | units | 28 | 6 | 66 | 0
Elbow actioned taps 3/4 " | units | 28 | 6 | 66 | 0
Sink | units | 16 | 6 | 54 | 0
PVC valve, tank outlet 1 1/2 " | units | 10 | 6 | -2 | 0
Tanks HDPE 5000 L | units | 10 | 6 | -2 | 0
Red plastic paint (5Kg) | units | 4 | 1 | 2 | 0
Yellow plastic paint (5Kg) | units | 4 | 1 | 2 | 0
Green plastic paint (5Kg) | units | 4 | 1 | 2 | 0
Teflon | rolls | 120 | 20 | 176 | 0
SUBTOTAL WATER DISTRIBUTION NETWORK |  |  |  |  | 0
F2. ELECTRICITY
Generator 250 KVA | Units | 1 | 0 | 1 | 0
Protective electrical panels | Units | 9 | 1 | 9 | 0
Earthing system | Units | 1 |  | 1 | 0
Cable 2x1.5 | m | 3000 | 230 | 2770 | 0
Cable 3G2.5 | m | 5000 | 320 | 4680 | 0
Cable 5G6 | m | 200 | 0 | 200 | 0
Cable 5G16 | m | 500 | 0 | 500 | 0
Cable 4x25 | m | 50 | 0 | 50 | 0
Staples for cable (100 units box) | Units | 25 | 2 | 23 | 0
Connection boxes | Units | 150 | 12 | 138 | 0
Connection plugs | Units | 150 | 12 | 138 | 0
Wall Sockets | Units | 620 | 60 | 560 | 0
LED Lights 20W | Units | 160 | 40 | 120 | 0
LED Lights 10W | Units | 200 | 40 | 160 | 0
Metal tray for cable conduction | m | 1000 | 200 | 800 | 0
SUBTOTAL ELECTRICITY |  |  |  |  | 0
F2. TELECOM
Radio System | Unit | 1 | 0 | 1 | 0
Internet System | Unit | 1 | 0 | 1 | 0
SUBTOTAL TELECOM |  |  |  |  | 0
F2. FIRE
Extinguishers CO2 6Kg | Units | 22 | 4 | 18 | 0
Extinguishers ABC powder 6kg | Units | 2 | 0 | 2 | 0
SUBTOTAL FIRE |  |  |  |  | 0
F3. VENTILATION
Individual ventilators | Units | 180 | 80 | 140 | 0
Portable HEPA filtration units | Units | 5 | 2 | 7 | 0
SUBTOTAL VENTILATION |  |  |  |  | 0
F4. WASTE MANAGEMENT
Pedal opening Bins 30 l(Infectious waste) | Units | 30 | 8 | 30 | 0
Bio-hazardous bag | Units | 2000 | 500 | 2000 | 0
IPC Box 3 l (Sharp waste) | Units | 10 | 2 | 14 | 0
IPC Bins 30 l(General waste) | Units | 10 | 1 | 8 | 0
IPC Wheeled bins 120 l (3 colors) | Units | 3 | 0 | 3 | 0
IPC Bucket for desinfection 120L | Units | 2 | 0 | 2 | 0
Pressure washer | Units | 1 | 0 | 1 | 0
SUBTOTAL WASTE MANAGEMENT |  |  |  |  | 0
F4.HYGIENE AND ENV CLEANING
Liquid soap dispensers | Units | 16 | 6 | 50 | 0
Liquid soap | Litres | 90 | 20 | 90 | 0
Alcohol-based hand rub | Litres | 108 | 48 | 108 | 0
Chlorine, NADCC 65% | Kg. | 60 | 20 | 60 | 0
IPC Bucket for laundry 120 L | Units | 12 | 4 | 12 | 0
IPC Bucket for washing 15 L | Units | 10 | 4 | 10 | 0
IPC Sprayers 10 L | Units | 4 | 1 | 6 | 0
IPC Bodys Bags | Units | 40 | 30 | 20 | 0
IPC Mope | Units | 6 | 2 | 6 | 0
SUBTOTAL HYGIENE AND ENV.CLEANING |  |  |  |  | 0
F4. EQUIPMENT AND FURNITURE
Medical equipment X-Ray | Units | 2 | 0 | 2 | 0
Furniture Tables | Units | 8 | 2 | 8 | 0
Furniture Chairs | Units | 50 | 10 | 80 | 0
Furnitures Mirrors | Units | 21 | 2 | 21 | 0
Furnitures Clocks | Units | 10 | 2 | 10 | 0
Furnitures Benches | Units | 6 | 0 | 6 | 0
Furnitures Shelves | Units | 12 | 0 | 12 | 0
Furnitures Beds | Units | 182 | 80 | 142 | 0
Sing post | Units | 40 | 4 | 40 | 0
SUBTOTAL EQUIPMENT AND FURNITURE |  |  |  |  | 0
TOTAL |  |  |  |  | 0