Module 1: Introduction – Overview of the Quality Management System

| Purpose | To provide the participants with a broad understanding of a laboratory quality management system. |
| --- | --- |
| Module Time (suggested) | 60 minutes for presentation |
| Learning Objectives | At the end of this module, participants will be able to: - explain the importance of a quality management system; - list the quality management system essential elements; - describe the history of development of quality principles; - discuss relationship of this quality model to ISO and CLSI standards. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: - The rationale for implementing an overall quality management system in the laboratory is to: - prevent any possibility of testing error - differentiate between qualitative and quantitative methods - prevent potential errors in the laboratory’s path of workflow - help to ensure that testing performed by the laboratory is accurate and reliable - All of the following are essential elements of the quality management system EXCEPT: - equipment management - personnel management - selection of customers - process control - The standard that applies specifically to quality in the clinical laboratory is: - ISO 15189 - CLSI HS1-A2 - ISO 9000 - ISO 8000 |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 10 min | Importance of laboratory quality | Content sheet 1-1 | Presentation 1, Slides 1-10 |
| 2 | 10 min | Overview of a quality management system | Content sheet 1-2 | Presentation 1, Slides 11-15 |
| 3 | 25 min | The quality system management model | Content sheet 1-3 | Presentation 1, Slides 16-31 |
| 4 | 5 min | History of laboratory quality management | Content sheet 1-4 | Presentation 1, Slides 32-34 |
| 5 | 5 min | International laboratory standards | Content sheet 1-5 Annex 1-A | Presentation 1, Slides 35-38 |
| 6 | 5 min | Summary | Content sheet 1-6 | Presentation 1, Slides 39-41 |
| Optional Material on the CD-ROM |  |  |  |  |
| Six Sigma ISO development ISO 15189 family of documents |  |  |  | Presentation 1, Optional slides 1-3 |
| International Health Regulations (IHR) (7-page Word content) |  |  |  | Presentation 1, Optional slides (1-20) |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.