Qualitative examinations are those that: use methods with little likelihood of error produce non-numerical results use statistical tools to establish normal ranges are only found in textbooks Positive, weak positive and negative controls should be run on immunology-serology procedures for the following reasons EXCEPT: to verify that positive results are valid to ensure that weak reactions are detected to ensure that the reagents have not expired to indicate if contamination has occurred. Give four parameters used to verify microbiological media performance. a. b. c. d.

Test Questions Module 8