Test Questions Module 10

All of the following are EQA methods EXCEPT: proficiency testing on-site evaluations from an external agency quality control of quantitative testing retesting or rechecking samples exchanged between laboratories Your laboratory received an unstained blood slide from an EQA provider with a request to look for malaria parasites. Which of the following choices would you do to insure this sample is reported correctly? stain the slide with fresh reagents and give to the supervisor to examine stain the slide with fresh reagents and ask all employees that do malaria smears to examine it and compare answers stain and read the slide using your best employees, then call neighboring laboratories to confirm results examine the slide in the same way the laboratory routinely handles patients samples EQA is an important component of quality management because: it guarantees that the daily results of patients’ samples are accurate it always monitors the pre-examination, examination, and post-examination phases of the workflow path it provides information to consumers about the quality of testing for a particular EQA sample it is an objective way to measure the quality of testing in a laboratory