Activity 5-1: Scenario — PCR Sample Handling

| Purpose | To encourage participants to think about potential problems with sample management in the laboratory and suggest solutions to prevent problems. |
| --- | --- |
| Suggested Time | 10 minutes |
| Scenario | ”Your laboratory has performed PCR for influenza virus on patient samples from ‘Clinic A’. Most of these results are negative. The medical staff from ‘Clinic A’ tells you that their patients present all the clinical signs of influenza.” |
|  | - How would you approach this problem? - What role might sample management play in this scenario? |

Activity 5-2:  List Sources of Error in Sample Collecting and Handling

| Purpose | To generate a list of potential sources of error in sample management and describe how each could affect patient care. |
| --- | --- |
| Suggested Time | 15 minutes |
| Instructions | - Generate a list of possible errors in sample management. - How can sample management errors affect patient care? |

Activity 5-3: Hit-or-Myth Game

Listed below are 10 statements related to the topic of Sample Management. Read each one and decide if you believe it is true – a hit, or false –- a myth.

Check off your choices on the worksheet.  We will discuss your answers when everyone is finished.

|  | Statement | Hit | Myth |
| --- | --- | --- | --- |
| 1 | The laboratory has little influence on how samples are collected by others and submitted to the laboratory for testing. |  |  |
| 2 | Requesting clinical information to be submitted with a sample is a breech of patient confidentiality. |  |  |
| 3 | The use of transport medium is an unnecessary cost, particularly if collected samples are submitted to the laboratory within the week it was collected. |  |  |
| 4 | Only samples contained in containers labeled with a biohazard label should be treated as if it is infectious. |  |  |
| 5 | Good, old fashion common sense is a natural friend of laboratory science. It is a sure guide for making sound decisions to accept or reject a sample for testing. |  |  |
| 6 | The only requirement of a laboratory receiving samples for confirmation testing is strict adherence to sample rejection criteria. |  |  |
| 7 | Samples transported via air must meet IATA regulations. |  |  |
| 8 | The laboratory can safely assume that if two samples are submitted simultaneously with the same first and last name or birth date, that the 2nd sample is a duplicate and should be discarded. |  |  |
| 9 | Most tests require samples to be collected in sterile containers. |  |  |
| 10 | All samples for testing must be accompanied by a test requisition. |  |  |