Module 8: Process Control: Quality Control for Qualitative and

Semi-Quantitative Procedures

| Purpose | To provide information on how to conduct quality control for qualitative and semi-quantitative testing in the laboratory. |
| --- | --- |
| Module Time (suggested) | 70 minutes: 45 minutes for presentation 25 minutes for activities (2) |
| Learning Objectives | At the end of this module, participants will be able to: - differentiate between built-in and traditional controls; - describe how to use stock cultures for microbiology QC; - discuss the use of quality control procedures for stains used in microscopic examination; - describe methods for verifying performance of microbiological media. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: - Qualitative examinations are those that: - use methods with little likelihood of error - produce non-numerical results - use statistical tools to establish normal ranges - are only found in textbooks - Positive, weak positive and negative controls should be run on immunology-serology procedures for the following reasons EXCEPT: - to verify that positive results are valid - to ensure that weak reactions are detected - to ensure that the reagents have not expired - to indicate if contamination has occurred. - Give four parameters used to verify microbiological media performance. Possible answers include: sterility; appearance (turbidity, dryness, evenness of layer, abnormal color); pH; ability to support growth, using stock organisms; ability to give the appropriate biochemical results. |
| Module Overview | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 15 min | Introduction |  | Presentation 8, Slides 1-3 Activity sheet 8-1 |
| 2 | 5 min | Overview | Content sheet 8-1 | Presentation 8, Slides 4-6 |
| 3 | 10 min | Quality control materials | Content sheet 8-2 | Presentation 8, Slides 7-12 |
| 4 | 10 min | Quality control of stains | Content sheet 8-3 | Presentation 8, Slides 13-16 |
| 5 | 10 min | QC of microbiological media | Content sheet 8-4 | Presentation 8, Slides 17-19 |
| 6 | 20 min | Summary | Content sheet 8-5 | Presentation 8, Slides 20-22 Activity sheet 8-2 |
| Optional Material on the CD-ROM |  |  |  |  |
| Quality control of microbiology media |  |  |  | Activity sheet 8-3 |
| Quality control of antimicrobial susceptibility testing |  |  | Content sheet 8-6 | Presentation 8, Optional Slides 1-17 |
| Quality control of molecular methods |  |  | Content sheet 8-7 | Presentation 8, Optional Slides 1-11 |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.