Module 3: Equipment

| Purpose | To provide instruction on how to establish a program for managing equipment. |
| --- | --- |
| Module Time (suggested) | 70 minutes: 60 minutes for presentation 10 minutes for activity |
| Learning Objectives | At the end of this module, participants will be able to: list items to consider prior to purchasing equipment for the laboratory; manage the selection and acquisition of new equipment; describe the requirements for a preventive maintenance program for equipment; provide a rationale for developing a preventive maintenance program in your laboratory; explain how to retire old or outdated equipment. |
| Test questions (suggested) | Suggested test questions (with answers bolded) for this module include: When selecting laboratory equipment, important factors to consider are (check all that apply): ease of operation performance specifications repair cost environmental requirements A rule of thumb in equipment maintenance and management is: always purchase the least expensive equipment develop criteria for troubleshooting, service, and repair only train managers in calibration of equipment perform all function checks daily When retiring outdated or broken equipment consider: salvaging spare parts safety issues recycling potential all of the above |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 15 min | Introduction |  | Presentation 3, Slides 1-4 Activity sheet 3-1 |
| 2 | 5 min | Equipment management overview | Content sheet 3-1 | Presentation 3, Slides 5-8 |
| 3 | 10 min | Selecting and acquiring equipment | Content sheet 3-2 | Presentation 3, Slides 9-15 |
| 4 | 5 min | Getting equipment ready for service | Content sheet 3-3 | Presentation 3, Slides 16-19 |
| 5 | 10 min | Implementing an equipment maintenance program | Content sheet 3-4 | Presentation 3, Slides 20-24 |
| 6 | 10 min | Troubleshooting, service, repair, and retiring equipment | Content sheet 3-5 | Presentation 3, Slides 25-30 |
| 7 | 10 min | Equipment maintenance documentation | Content sheet 3-6 | Presentation 3, Slides 31-36 |
| 8 | 5 min | Summary | Content sheet 3-7 | Presentation 3, Slides 37-39 |
| Optional Material on the CD-ROM |
| Pipette calibration | Content sheet 3-8, Optional content |
| Biological safety cabinets-general information | Content sheet 3-9, Optional content |
| Monitoring equipment used in the microbiology laboratory | Content sheet 3-10, Presentation 3, Optional Slides 1-9 |
| Microscope maintenance | Presentation 3, Optional Slides 1-26 |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.