Module 8: Process Control: Quality Control for Qualitative and

Semi-Quantitative Procedures

| Purpose | To provide information on how to conduct quality control for qualitative and semi-quantitative testing in the laboratory. |
| --- | --- |
| Module Time (suggested) | 70 minutes: 45 minutes for presentation 25 minutes for activities (2) |
| Learning Objectives | At the end of this module, participants will be able to: differentiate between built-in and traditional controls; describe how to use stock cultures for microbiology QC; discuss the use of quality control procedures for stains used in microscopic examination; describe methods for verifying performance of microbiological media. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: Qualitative examinations are those that: use methods with little likelihood of error produce non-numerical results use statistical tools to establish normal ranges are only found in textbooks Positive, weak positive and negative controls should be run on immunology-serology procedures for the following reasons EXCEPT: to verify that positive results are valid to ensure that weak reactions are detected to ensure that the reagents have not expired to indicate if contamination has occurred. Give four parameters used to verify microbiological media performance. Possible answers include: sterility; appearance (turbidity, dryness, evenness of layer, abnormal color); pH; ability to support growth, using stock organisms; ability to give the appropriate biochemical results. |
| Module Overview | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 15 min | Introduction |  | Presentation 8, Slides 1-3 Activity sheet 8-1 |
| 2 | 5 min | Overview | Content sheet 8-1 | Presentation 8, Slides 4-6 |
| 3 | 10 min | Quality control materials | Content sheet 8-2 | Presentation 8, Slides 7-12 |
| 4 | 10 min | Quality control of stains | Content sheet 8-3 | Presentation 8, Slides 13-16 |
| 5 | 10 min | QC of microbiological media | Content sheet 8-4 | Presentation 8, Slides 17-19 |
| 6 | 20 min | Summary | Content sheet 8-5 | Presentation 8, Slides 20-22 Activity sheet 8-2 |
| Optional Material on the CD-ROM |
| Quality control of microbiology media | Activity sheet 8-3 |
| Quality control of antimicrobial susceptibility testing | Content sheet 8-6 | Presentation 8, Optional Slides 1-17 |
| Quality control of molecular methods | Content sheet 8-7 | Presentation 8, Optional Slides 1-11 |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.