Activity 8-1: Scenario — Need for QC Procedures

| Purpose | To allow participants to discuss the need for quality control procedures. |
| --- | --- |
| Suggested Time | 10 minutes |
| Scenario | “Laboratory A performs a culture, and Pseudomonas aeruginosa is identified.” What QC measures can you use to confirm that the isolate is correctly identified? |

Activity 8-2: Quality Control for Serology

| Purpose | To allow participants to identify and correct “out-of-control” problems. |
| --- | --- |
| Suggested Time | 15 minutes |
| Scenario | “Your laboratory performed testing on 20 patient samples for the hepatitis B core antibody. Included in this run were control materials with a new lot number. All of the patient samples and the positive control were negative for the antibody.” How can you determine if the error is in the test system or the control? What should you have done to make it easier to find out the cause of the problem? What will you do about reporting the patients’ results? How do you know if patient samples from the previous day were accurate? |