## Slide 1: Occurrence Management
Notes: <number>

## Slide 2: Learning Objectives
At the end of this activity, you will be able to:
Define the term “occurrence”.
Describe the essential quality monitoring tools.
Differentiate preventive actions, remedial actions, and corrective actions.
Describe the relationships between preventive action and risk management practices.
Define and describe root cause analysis.
Notes: <number>

## Slide 3: The Quality Management System
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety
Notes: <number>

## Slide 4: Scenario
An 83 year-old male was admitted to hospital with fever, weight loss, and cough, and was being investigated for possible tumor. His sputum culture was reported positive for tuberculosis, but on later review, it was found to be a false positive. Further investigation found 14 additional patients with false positive TB culture reports.
Notes: <number>

## Slide 5: A laboratory occurrence and its consequences
Consequences included:
  delay in correct diagnosis
  unnecessary treatment
  treatment complications
  pattern of other contaminations discovered
  problem resolution required 6 months of investigation, contacting of more than 200 patients, many requiring culture and X-Ray re-examination
  revision of laboratory procedures eradicated the problem
  Laboratory errors cost in time, energy, money, personnel, and patient outcomes
Notes: <number>

## Slide 6: What is an occurrence?
Any event that has a negative impact on an organization, which includes personnel, product, equipment, or the environment.

## Slide 7: Some common laboratory occurrences
patient ID error
lost sample
sample delayed in transit
contaminated samples
wrong test performed
test performed inconsistent with the written procedure
proficiency testing error
no action on out of range controls
false negative result
late reports
missing reports
complaints
laboratory accident
“near miss”
Notes: <number>

## Slide 8
equipment
not properly
maintained
QC, EQA
not
performed
test kits
not stored
properly
transcription
errors
checks
not done
training
not done or not completed
written procedures not followed
no written procedures
individual responsibilities unclear
Common causes of error
Notes: <number>

## Slide 9
Errors can occur throughout the testing process
THE PATIENT Test selection
Sample Collection
Sample Transport
Laboratory Analysis Examination Phase
Report Creation
Report Transport
Preexamination Phase
Result Interpretation Postexamination Phase

## Slide 10
THE PATIENT Test selection
Sample Collection
Sample Transport
Preexamination Phase
Preexamination Errors
Examples include:
wrong sample collected
sample mislabeled or unlabeled
sample stored inappropriately before testing
sample transported inappropriately
reagents or test kits damaged by improper storage

## Slide 11
Examination Errors
Laboratory Analysis Examination Phase
Examples include:
established algorithm not followed
incorrect timing of test
results reported when control results out of range
improper dilution and pipetting of sample or reagents
reagents stored inappropriately or used after
expiration date

## Slide 12
Postexamination Errors
Report Creation
Report Transport
Postexamination Phase
Result Interpretation
Examples include:
transcription error in reporting
report illegible
report sent to the wrong location
report not sent

## Slide 13: Consequences of Laboratory Error
Inadequate or inappropriate patient care
Inappropriate
public health action
Wasteful of
resources
Death
Undetected
communicable
disease outbreaks
ERROR

## Slide 14: The Occurrence Cycle
Communicate
ACTION
Awareness
Investigate

## Slide 15: How are occurrences detected?
Accreditation
Certification
Seeking OFIs
Quality indicators
External audits
PT / EQA
Internal audits
Monitoring complaints
Customer satisfaction
Management Review
Notes: <number>

## Slide 16: Investigation steps
information gathering
  thorough investigation
    root cause analysis
Notes: <number>

## Slide 17: Root Cause Analysis
Structured investigations that focus on identifying the underlying true causes of occurrences
every cause has a deeper reason
for each occurrence seek 5 levels of explanation, asking WHY, before being satisfied as to the true (root)
cause
Notes: <number>

## Slide 18: Root cause analysis example
WHY?
WHY?
WHY?
WHY?
WHY?

## Slide 19: Occurrence Management
EVENT
See the potential event and plan to avoid it
Preventive actions
Address the event and its consequences
Remedial actions
Corrective actions
Learn from the event and avoid its recurrence

## Slide 20: Occurrence Management Process
3. Investigate
causes, analyze
information
1. Establish a process to detect problems
2. Log findings and actions
4. Take appropriate action
5. Monitor for recurring problems
6. Provide information to all needing it

## Slide 21: What about YOUR laboratory?
List the 5 most common errors occurring in your laboratory.
  Why do they occur?
  What remedial actions did you take to address the immediate consequences?
  What measures could you put in place to correct the problem and prevent recurrence?
  How did you document the problem and action?
  Can you look at some of your common procedures to seek improvement and problem prevention?
Notes: <number>

## Slide 22: Summary
employ an active process for occurrence management and take a positive approach
try to detect problems early, and take immediate remedial and corrective action
seek opportunities to identify potential error, thus preventing its occurrence
keep good records of all problems, investigations, and actions taken
The laboratory should:

## Slide 23: Key Messages
The difference between a quality-managed laboratory and those with no system in place is that the quality laboratory detects the problem, investigates, and takes actions.
Notes: <number>

## Slide 24: Comments? Questions?
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety