## Slide 1: Sample Orientation Checklist
Laboratory tour
Introductions to management
Laboratory technical overview
Personnel key policies
Laboratory Quality Management System
Job description
NAME: START DATE:
POSITION: MANAGER:

## Slide 2: Job Qualifications and Descriptions
Laboratory Management shall have job descriptions that define qualifications and duties for all personnel. ISO 15189:2007
required education
required certificates
required degrees
required prior training
required prior experiences
required abilities
specify lines of authority
specify responsibilities
  all roles
  all duties
  all responsibilities
  reporting structure
Qualifications
Job Description

## Slide 3: Competency Assessment Checklist (top)
Technologist Name |  |  | Technologist Title |  | 
Procedure for Evaluation | Evaluation Date |  |  |  | Evaluator
Procedure item | Accept | Partial |  | No | Comment
Read procedure manual |  |  |  |  | 
Sign manual read log |  |  |  |  | 
Equipment available |  |  |  |  | 
Work area neat |  |  |  |  | 
Reagent preparation |  |  |  |  | 
Perform task accurately |  |  |  |  | 
Perform task timely |  |  |  |  | 

## Slide 4: Competency Assessment Checklist (bottom)
 | Accept | Partial | No | Comments
Assessment summary |  |  |  | 
Re-training required to address deficiencies: |  |  |  | 
Recommended activities: Re-assessment to occur in _____ days |  |  |  | 
Comments: |  |  |  | 
Signed: |  |  |  | 
Assessed Technologist | Date |  | Evaluator | 

## Slide 5: Competency Assessment
Competency Assessment Log Main Hospital – Microbiology Laboratory |  |  |  |  | 
Employee | Date | Task | Assessor | Appraisal | Comment
Smith, John | 14/02/00 | Gram Stain | Ng, Mary | Acceptable | Re-assess in 1 yr
Smith, John | 18/02/00 | Kirby-Bauer | Smith, Alice | Reassess | Placement of disks too crowded; Reassess 14 days
Smith, John | 02/03/00 | Kirby-Bauer(2) | Smith, Alice | Acceptable | Re-assess in 1 yr
Smith, John | 14/08/00 | Load BC bottles | Ng, Mary | Acceptable | 
Smith, John | 27/10/00 | Cytocentrifuge | Mbeya, Alan | Acceptable | Re-assess in 1 yr.
Smith, John | 02/04/01 | Fill autoclave | Mbeya, Alan | Acceptable | 
Smith, John | 05/08/01 | Mysis data entry | Ng, Mary | Reassess | 3 entry errors. Read manual and reassess 10 days

## Slide 6
work related
task specific
linked to competency assessment
Examples:
reviewing operator manuals
reviewing manual updates
manufacturers’
equipment training…
Training
work related
may not be task specific
may not be linked to competency assessment
Examples:
conferences
workshops
journal clubs
journals and literature…
Continuing Education
Manual
Notes: <number>

## Slide 7: Training Resources
<number>
Internal Personnel
quality assurance committee
clinicians
nurses
pathologists
infection control
epidemiologists
External
assessors
manufacturers
science societies
World Health Organization
Centers for Disease Control and Prevention
standards development organizations
  CLSI
  ISO
  AFNOR
Notes: <number>

## Slide 8: Causes of Poor Performance
Personnel
  personal health
  personal distractions
  misunderstandings
  miscommunications

## Slide 9: Causes of Poor Performance
Systemic
  worksite distractions
  excessive workload
  poor orientation
  insufficient training
  absent competency assessment
  sample complexities
  absent or invalid SOPs
  ambiguous SOPs

## Slide 10
Performance appraisal may highlight more opportunities for improvement for the laboratory than for the employee.