Module 4: Purchasing and Inventory

| Purpose |  |  | To provide an overview for making purchasing decisions and managing inventory. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Module Time (suggested) |  |  | 65 minutes: 55 minutes for the presentation 10 minutes for the activity |  |  |  |
| Learning Objectives |  |  | At the end of this module, participants will be able to: - describe the steps required to implement an inventory control program; - name factors to consider in procurement of supplies; - develop a monitoring plan for the inventory system; - discuss the importance of documentation related to purchasing and inventory. |  |  |  |
| Test Questions (suggested) |  |  | Suggested test questions (with answers bolded) for this module include: - When developing policies and procedures for purchasing and inventory, which of the following is a true statement: - store the latest shipment of reagents at the front of the shelves to ensure the freshest reagents are used first. - materials used should be tracked to individual patients in case repeat testing is required - since everyone is responsible for maintaining supplies, it is not necessary to assign one person to manage the inventory - computerized inventory methods are always better than paper systems - In the presence of good data, morbidity-based quantification is superior to consumption-based quantification for ordering supplies because: - morbidity-based quantification is highly accurate - reagents can be ordered in batches - it gives a more accurate measure of needed supplies and reagents - it is a less costly to perform - Name three important factors to consider when procuring supplies. [Answers: see list on Content sheet 4-2] |  |  |  |
| Module Overview |  |  | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |  |  |  |
| Step | Time | Topics |  | Contents | Available resources |  |
| 1 | 15 min | Module introduction |  |  | Presentation 4, Slides 1-4 Activity sheet 4-1 |  |
| 2 | 5 min | Purchasing and inventory overview |  | Content sheet 4-1 | Presentation 4, Slides 5-7 |  |
| 3 | 5 min | Purchasing |  | Content sheet 4-2 | Presentation 4, Slides 8-9 |  |
| 4 | 5 min | Implementing an inventory management program |  | Content sheet 4-3 | Presentation 4, Slides 10-12 |  |
| 5 | 10 min | Quantification |  | Content sheet 4-4 | Presentation 4, Slides 13-17 |  |
| 6 | 5 min | Forms and logs |  | Content sheet 4-5 Annex 4-A Annex 4-B | Presentation 4, Slides 18-19 Optional Slides 3, 4 |  |
| 7 | 10 min | Receipt and storage of supplies |  | Content sheet 4-6 | Presentation 4, Slides 20-24 |  |
| 8 | 5 min | Monitoring inventory |  | Content sheet 4-7 Annex 4-C | Presentation 4, Slide 25-26 Optional Slide 5 |  |
| 9 | 5 min | Summary |  | Content sheet 4-8 | Presentation 4, Slide 27-29 |  |
| Optional Material on the CD-ROM |  |  |  |  |  |  |
| Case Study: Impact of not having an inventory program |  |  |  |  | Presentation 4, Optional Slides 1-2 |  |
| Inventory log example, Supplies request form example |  |  |  |  | Presentation 4, Optional Slides 3-4 |  |
| Inventory soft-ware program |  |  |  |  | Presentation 4, Optional Slide 5 |  |
| Biological safety cabinet class II purchasing requirements example |  |  |  |  |  |  |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.