## Slide 1
Purchasing and Inventory

## Slide 2: Learning Objectives
Describe the steps required to implement an inventory control program.
Name factors to consider in procurement of supplies.
Develop a monitoring plan for the inventory system.
Discuss the importance of documentation related to purchasing and inventory.
Notes: <number>

## Slide 3: Scenario
Your laboratory is asked to gear up for a potential flu epidemic.
What purchasing and inventory factors do you need to consider in planning for this process?
What problems might you encounter in planning and implementation?

## Slide 4: The Quality Management System
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety
Notes: <number>

## Slide 5
Benefits of an Inventory Management Program
Supplies and reagents always available
Minimize wastage
Stay within budget
Quality maintained
Notes: <number>

## Slide 6: Inventory Management Challenges
Balance between stock availability and expiration dates.
Life-span of laboratory reagents varies:
  RIA reagents: 3 to 8 weeks
  API kits: 4 to 12 months
  Antisera: 1 to 4 years
  Antibiotic disks: 2 to 3 years
  Ready-to-use culture media: 1 to 2 months
  Dehydrated culture media: 3 to 5 years
In- stock
Expiry Date
Notes: <number>

## Slide 7: Key Components for Purchasing and Inventory Management
Inspect
Test
Handle
Log book
Expiry date
Rotate stock
Laboratory
Other laboratories
Vendor Qualifications
Purchase Contract
Delivery
Post use tracking
Store
  Assess conditions
  Maintain
USE

## Slide 8: Establish a System to Qualify and Select Vendors
define criteria for supplies and services to be purchased
use information from other laboratories
evaluate before purchase and after receipt
Notes: <number>

## Slide 9: Purchasing Considerations
Determine payment mechanisms
Negotiate prices
Review Contracts
Understand government requirements
Assure reliable availability, delivery

## Slide 10: How to Implement Inventory Control
INVENTORY CONTROL
Assign responsibility
Analyze needs
Establish minimum stock needs
Develop forms and logs
Establish system for receiving, storing
Maintain inventory system in all storage areas

## Slide 11: Analyze Needs
Conduct analysis of supply and reagent needs by:
  listing all tests in laboratory
  identifying all supplies needed for each test
  using available information to estimate usage
Notes: <number>

## Slide 12: Analysis of Needs: Information Required
Storage space, conditions
Order lead time/ delivery time
Priority Level
Usage/month (quantification)
Unit of count
Item description

## Slide 13
What is Quantification?
Quantification is a process for calculating how much is required of any particular item for a given period of time.
Notes: <number>

## Slide 14: Quantification: When?
as part of annual health care planning
when implementing a new health program
in preparation for a potential or newly identified epidemic
Notes: <number>

## Slide 15: Quantification: How?
consumption-based method
morbidity-based method
Notes: <number>

## Slide 16: Quantification: Consumption-based
based on the actual usage
must take into account:
  health supplies actually used
  wastage–expired or spoiled supplies
  supplies out of stock for more than 15 days during any time of the year

## Slide 17: Quantification: Morbidity-based
based on the actual number of episodes
must take into account:
  population size
  disease incidence
  accuracy of morbidity data
  treatment guidelines
Notes: <number>

## Slide 18: Inventory Control: Documentation
Maintain records:
  date received
  lot number
  pass or fail acceptance criteria
  date placed in service or disposition
  May be useful to keep
  records in stockroom.
Notes: <number>

## Slide 19: Stock Logbook
Includes:
  name and signature
  date of receipt
  quantity
  date of expiry
  minimum stock
  stock balance
Other information:
  shelf number
  destination
Notes: <number>

## Slide 20: Inspect new orders at time of delivery
verify contents
check integrity
record date each item received
record expiration date
store new shipment behind existing shipment
create or update records
Notes: <number>

## Slide 21: Storage of Inventory
Storeroom
clean
organized
lockable
well-ventilated
no direct sunlight
good, sturdy shelving
items within reach
safety precautions available
Notes: <number>

## Slide 22: Shelving
Follow safety precautions
1
2
3

## Slide 23: Shelf Organization
avoids “losing” a product
saves time
systemizes storage space
Number cold room
or refrigerators
and freezers and
label shelves
Notes: <number>

## Slide 24: Use clearly visible dating labels
date opened
date expires
Notes: <number>

## Slide 25: Continuous Monitoring of Inventory
Assign responsibility
Conduct weekly physical counts
Update records
Maintain inventory system in all storage areas
Inventory Control

## Slide 26: Computerized Stock Management
Advantages:
  exact current state of stock, product classification
  management of expiration dates
  statistics  planning purchase orders
  management of possible distribution
  makes inventory tasks easier
Drawbacks:
  an on-site computer is needed
  requires trained staff
Notes: <number>

## Slide 27: Summary
A well-managed laboratory will have a system for inventory maintenance and purchasing.
The system will require planning and monitoring: analyzing needs, developing forms and procedures, and maintaining an inventory. The laboratory will maintain an inventory system for all reagents and supplies used in the laboratory.
Notes: <number>

## Slide 28: Key Messages
Managing inventory results in:
  increased laboratory efficiency and effectiveness
  assurance that patient or clinical needs are met
  products available when needed
Notes: <number>

## Slide 29: Questions? Comments?
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety