## Slide 1: Quality Manual Structure and Contents
Quality Manual Structure and Contents - optional

## Slide 2: Quality System
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety

## Slide 3: Writing a Quality Manual
ISO 15189 standards requirement, but style and structure are not specified
use a steering committee
set the policies for each of the twelve elements of the quality system
for each policy, state the goals and designate responsibility
the content of the manual must include the quality policies, with reference to processes and procedures

## Slide 4: Example Quality Manual Outline
Introduction
Organization and management
Quality policy
Personnel (staff education and training )
Document control, including records, maintenance and archiving
Accommodation and environment
Notes: <number>

## Slide 5: Quality Manual Outline
Instruments, reagents, consumables management
Safety
Research and development (optional)
Preexamination procedures
Examination procedures
Postexamination procedures
Notes: <number>

## Slide 6: Quality Manual Outline
Quality control
Laboratory information system
Handling of complaints–occurrence management
Communications and other interactions
Preventive and corrective action, internal audit
Ethics
Notes: <number>

## Slide 7
laboratory history
activities
manual’s field of application
manual updates:
  who
  what
  where
1. Introduction
  When
  How
  Why
Notes: <number>

## Slide 8
description of laboratory organization
legal identity
resource requirements
assignment of responsibility /authority
2. Organization and Management
Notes: <number>

## Slide 9: 3. Quality Policy
official declaration of a quality policy by appropriate laboratory management
assures that the laboratory director will designate a quality manager
defines the laboratory:
  missions
  objectives
  roles
Notes: <number>

## Slide 10
job descriptions, including qualifications needed
personnel list
laboratory organizational chart
recruitment conditions
intern and student management
4. Personnel
Notes: <number>

## Slide 11: 5. Document Control
management approval
finalizing document: verification, printing, signature, transmission
confidentiality management
storage, archiving
producing reports
list of reference documents:
  manuals
  books
  articles
Notes: <number>

## Slide 12: 6. Accommodation and Environment
map of the laboratory premises
restricted points of access
laboratory signs or other identification
environmental requirements for the laboratory (size, temperature, water, electrical, airflow)
  verification
  tolerated uncertainties
Notes: <number>

## Slide 13: 7. Instruments, Reagents, and Consumables Management
specify that each instrument requires written procedures, maintenance, quality control
reagents
  ordering and receipt
  validation
  storage
consumables or supplies – define management
Notes: <number>

## Slide 14: 8. Safety
handling of samples and materials
disinfection
fire instructions
hazardous chemical instructions
waste disposal
sterilization
product labelling
Notes: <number>

## Slide 15: 9. Preexamination Procedures
equipment used
patient preparation
identification of samples
aliquoting and pretreatment of samples
storage
transport
Notes: <number>

## Slide 16: 10. Examination Procedure
equipment used
reagents used
calibration / quality control
analysis/testing procedure
validation technique
Notes: <number>

## Slide 17: 11. Postexamination Procedure
analysis of results
final biological validation
printing/copying report of results
transmission of report
filing (archiving) report
relationships with disease surveillance authorities
Notes: <number>

## Slide 18: 12. Quality Control
reminder of commitment to quality
link to control procedures:
  equipment
  reagents
  personnel competencies.
summary of all QC procedures and links to the appropriate sections in quality manual
Notes: <number>

## Slide 19: 13. Corrective/Preventive Actions, Internal Audits
continuous improvement
reviewing and understanding all problems and errors
internal audits are required under the ISO 15189 scheme
Notes: <number>

## Slide 20: Structure of Documentation
Quality Manual (Specify Policies)
Processes
Procedures
Work instructions
Forms
Records
Notes: <number>

## Slide 21: Document Management
QM
QS
Specific SOPs
Manuals
Books
Articles
Texts and laws
Other
To avoid overloading the QM
Documentation list + simple numbering
Links to documents
Notes: <number>

## Slide 22: Key Points
There is only ONE official version of the Quality Manual.
The quality manual is never finished; it is always being improved.
It should be read, understood, and accepted by everyone.
It should be written in clear, easily-understood language.
The quality manual should be dated and signed by management.
Standardized page-headers should be used, and the version of each procedure should be noted.
Developing a quality manual is a very big job, but it is also very rewarding and useful for the laboratory.

## Slide 23: Questions? Comments?
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety