# Name: ___________________________ Date: _________

Learning assessment  (pretest and posttest)

# 2.B.1 Introduction to QMS for Laboratory Leaders

1. Which of the following best describes a Quality Management System (QMS)?

- A set of laboratory tests to ensure accuracy

- Organizational structure, responsibilities, policies, processes, and resources to direct and improve quality systematically

- A checklist for laboratory audits

- A software system for managing laboratory data

2. Why is QMS critical in laboratory operations?

- To eliminate all human errors

- To provide standardized policies, procedures, and checks for consistency

- To reduce the number of staff needed

- To replace manual processes with automation

3. Which of the following is NOT one of the 12 Quality System Essentials (QSEs)?

- Equipment management

- Customer focus

- Financial auditing

- Process management

4. Which skill is most critical for laboratory leadership roles within a QMS?

- Data entry proficiency

- Ability to set vision and goals

- Equipment troubleshooting

- Routine test performance

5. What is the primary goal of Quality Assurance (QA) in a laboratory?

- To verify that each individual test works properly

- To ensure the overall system produces accurate and reliable results

- To calibrate equipment

- To manage inventory

6. Quality Control (QC) primarily involves:

- Developing policies for laboratory operations

- Testing samples with known quantities alongside unknowns to assess accuracy and precision

- Reviewing audit reports

- Managing supplier performance

7. Which of the following best illustrates why a 1% error rate is unacceptable in laboratories?

- It only affects minor processes

- It can lead to incorrect diagnoses and compromised patient outcomes

- It is acceptable in critical health systems

- It reduces the need for continual improvement

8. Who holds overall responsibility for quality in the laboratory?

- Quality Manager only

- Laboratory Director only

- Testing personnel only

- Everyone in the laboratory

9. Which of the following is a leadership responsibility under Equipment Management?

- Performing daily QC checks

- Establishing policies for acquisition, installation, validation, and maintenance

- Conducting proficiency testing

- Reviewing customer feedback

10. Which responsibility is shared by laboratory supervisors and managers?

- National policy development

- Equipment calibration

- Ensuring personnel follow policies and procedures

- Vendor contract negotiation