# Name: ___________________________ Date: _________

Learning assessment (pretest and posttest)

# 2.B.7 Nonconforming events management

- What is a nonconforming event (NCE)?

  - Any deviation from ISO standards only

  - An occurrence where a product, service, process, or system fails to meet established requirements

  - A minor error that does not affect results

  - A deliberate violation of safety policies

- Which of the following is the responsibility of the laboratory leader in nonconforming event (NCE) management and corrective and preventive actions (CAPA)?

  - Identify all NCEs and investigate

  - Conduct root cause analysis (RCA) and suggest solutions

  - Define quality indicators for CAPA planning

  - Review RCA and CAPAs

- Which sources provide laboratory requirements?

  - Internal SOPs and policies

  - ISO and national regulations

  - Manufacturer’s instructions

  - All of the above

- Which category of nonconformance focuses on frequency of occurrence?

  - Minor vs Major

  - Isolated vs Systemic

  - Intentional vs Unintentional

  - Low vs High

- What is the first step in nonconforming event (NCE) management?

  - Establish a process to detect problems

  - Investigate causes

  - Take corrective action

  - Monitor for recurring problems

- What is the main goal of root cause analysis (RCA)?

  - To assign blame

  - To prevent recurrence of nonconformance

  - To document immediate corrections

  - To reduce paperwork

- Which tool is commonly used for root cause analysis (RCA)?

  - SWOT analysis

  - The 5 Whys

  - Pareto chart

  - Gantt chart

- Which statement best describes corrective action?

  - Action to eliminate the cause of a detected nonconformity

  - Immediate fix for the problem

  - Action to prevent future occurrence

  - Action to monitor effectiveness

- How do continual quality improvement (CQI), nonconforming event (NCE) monitoring, root cause analysis (RCA), and corrective and preventive actions (CAPA) and performance monitoring fit together?

  - RCA is a part of CQI and the others are unrelated

  - NCE monitoring, RCA, CAPA and performance monitoring all together equal CQI

  - CQI and monitoring of NCEs and CAPA equal RCA

  - Performance monitoring is not included in CQI but is included in NCE monitoring

- When is root cause analysis (RCA) NOT required?

  - For major systemic issues

  - When severity and probability are high

  - For minor, isolated issues with low risk

  - When repeated problems occur