# Name: ___________________________ Date: _________

# Learning assessment (pretest and posttest)

# 2.C.1 Biosafety

- What biosafety-level laboratory conducts high-risk procedures while working with high-consequence pathogens?

  - BSL1

  - BSL2

  - BSL3

  - BSL4

- What biosafety level laboratory performs low to no-risk procedures while using non-pathogenic microbes?

  - BSL1

  - BSL2

  - BSL3

  - BSL4

- What biosafety level laboratory is designed for (negative air pressure, anteroom, limited access, etc) to contain pathogens that are aerosol transmissible and/or using procedures that are high risk for transmission?

  - BSL1

  - BSL2

  - BSL3

  - BSL4

- What biosafety level are laboratories that manipulate specimens from humans and moderate-risk pathogens to perform diagnostics or research?

  - BSL1

  - BSL2

  - BSL3

  - BSL4

- A biological risk assessment is critical for any new activity, pathogen and/ or equipment and is comprised of five basic steps. Select the option with the steps in the appropriate order:

  - STEP 1 – Gather information (hazard identification)

STEP 2 – Evaluate the risks

STEP 3 – Develop a risk control strategy

STEP 4 – Select and implement risk control measures

STEP 5 – Review risks and risk control measures.

  - STEP 1 – Plan

STEP 2 – Do,

STEP 3 – Check

STEP 4 – Act.

  - STEP 1 – Identify opportunity for safety

STEP 2 – Identify inputs, outputs, and outcomes

STEP 3 – Identify evaluation challenges

STEP 4 – Measure and analyze data (hazard identification)

STEP 5 – Select and implement risk control measures.

  - STEP 1 – Develop procedure-specific annual training

STEP 2 – Provide suitable personal protective equipment

STEP 3 – Include safety in annual competency assessments

- The laboratory replaces the pathogen Neisseria meningitis with the non-pathogen Neisseria sicca as the positive quality control for the oxidase test. This is an example of which risk mitigation strategy?

  - Engineering controls

  - Decontamination

  - Substitution

  - All of the above

- After a safety risk assessment, the laboratory director approves a change in the standard operating procedure that requires all small, slow-growing Gram-negative bacteria to be tested in the biosafety cabinet. This is an example of which risk mitigation strategy?

  - Administrative controls

  - Personnel protective equipment

  - Isolation of risk

  - All of the above

- Which of the following are essential components of a comprehensive laboratory safety programme?

  - Designated person responsible for developing and implementing the safety programme

  - Safety manual that includes policies and processes to contain biological, chemical and physical safety risks in the laboratory.

  - Safety training program, Risk assessment, standard operating procedure

  - All of the above

- Who should be trained in the proper disposal of laboratory waste?

  - The biosafety officer who does all the waste management

  - The laboratory manager

  - Cleaners and janitorial staff

  - All laboratory personnel

- What is the definition of accident?

  - An unexpected occurrence that results in the exposure of the community surrounding the laboratory personnel to chemical agents and subsequent loss of the laboratory’s reputation.

  - An inadvertent occurrence that did not result in injury, illness or damage – but had the potential to do so.

  - An intentional event during which an individual plans to do harm to laboratory personnel.

  - An inadvertent occurrence that results in actual harm, such as infection, illness, injury, or contamination of the environment.