Module 1: Introduction – Overview of the Quality Management System

| Purpose | To provide the participants with a broad understanding of a laboratory quality management system. |
| --- | --- |
| Module Time (suggested) | 60 minutes for presentation |
| Learning Objectives | At the end of this module, participants will be able to: explain the importance of a quality management system; list the quality management system essential elements; describe the history of development of quality principles; discuss relationship of this quality model to ISO and CLSI standards. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: The rationale for implementing an overall quality management system in the laboratory is to: prevent any possibility of testing error differentiate between qualitative and quantitative methods prevent potential errors in the laboratory’s path of workflow help to ensure that testing performed by the laboratory is accurate and reliable All of the following are essential elements of the quality management system EXCEPT: equipment management personnel management selection of customers process control The standard that applies specifically to quality in the clinical laboratory is: ISO 15189 CLSI HS1-A2 ISO 9000 ISO 8000 |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 10 min | Importance of laboratory quality | Content sheet 1-1 | Presentation 1, Slides 1-10 |
| 2 | 10 min | Overview of a quality management system | Content sheet 1-2 | Presentation 1, Slides 11-15 |
| 3 | 25 min | The quality system management model | Content sheet 1-3 | Presentation 1, Slides 16-31 |
| 4 | 5 min | History of laboratory quality management | Content sheet 1-4 | Presentation 1, Slides 32-34 |
| 5 | 5 min | International laboratory standards | Content sheet 1-5 Annex 1-A | Presentation 1, Slides 35-38 |
| 6 | 5 min | Summary | Content sheet 1-6 | Presentation 1, Slides 39-41 |
| Optional Material on the CD-ROM |
| Six Sigma ISO development ISO 15189 family of documents | Presentation 1, Optional slides 1-3 |
| International Health Regulations (IHR) (7-page Word content) | Presentation 1, Optional slides (1-20) |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.