Test Questions Module 7

1. Calibrators have the following characteristics/functions: contain a known amount of the analyte being tested monitor the quality of reagents monitor the quality of the sample prevent equipment failure 2. The reproducibility of a value upon repeated measurements is referred to as: accuracy precision bias error 3. The probability that a given control value will fall within + 2 SD of the established mean is: 68.2% 99.7% 95.5% 92.5%