Module 5: Process Control — Sample Management

| Purpose | The purpose of this module is to present information that will help participants develop a system for managing samples from the time of collection to the final storage or disposal, in a manner that will ensure sample integrity. |
| --- | --- |
| Module Time (suggested) | 95 minutes: 65 minutes for the presentation 30 minutes for the activities (3) |
| Learning Objectives | At the end of this activity, participants will be able to: name sample collection errors that could lead to incorrect laboratory examination results; list contents that should be included in a handbook designed for people who collect samples off-site; provide a rationale for rejecting unsatisfactory samples; describe a system for sample handling, including collection, transport, storage, and disposal; explain the importance of maintaining sample integrity and assuring that all regulations and requirements are met when transporting samples. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: 1. One of the most difficult aspects of the sample management process for the laboratory to monitor is: patient identification preservation of samples controlling time of collection of sample reporting results 2. Which of the following statements is TRUE? a sample should be always processed, regardless of its condition a sample should be rejected if the wrong preservative was used a sample should never be processed if it is only labeled with the patient’s name a sample with insufficient quantity should always be discarded 3. The best method to use to communicate sample collection procedures to non-laboratory staff is to: provide all collection sites with a Laboratory Handbook provide individual training to each person who collects samples provide training to all nursing supervisors and ensure they oversee the process correctly provide all stations with the laboratory’s quality manual |
| Module Overview | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |
| Step | Time | Topics | Contents | Available resources |
| 1 | 15 min | Introduction |  | Presentation 5, Slides 1-3 Activity sheet 5-1 |
| 2 | 5 min | Overview of sample management | Content sheet 5-1 | Presentation 5, Slides 4-7 |
| 3 | 5 min | The Laboratory handbook | Content sheet 5-2 | Presentation 5, Slides 8-9 |
| 4 | 25 min | Collection and preservation | Content sheet 5-3 Annex 5-A Annex 5-B Annex 5-C Annex 5-D | Presentation 5, Slides 10-17 Activity sheet 5-2 |
| 5 | 20 min | Sample processing | Content sheet 5-4 | Presentation 5, Slides 18-24 Activity sheet 5-3 |
| 6 | 5 min | Sample storage, retention, and disposal | Content sheet 5-5 | Presentation 5, Slides 25-28 |
| 7 | 15 min | Sample transport | Content sheet 5-6 | Presentation 5, Slides 29-37 |
| 8 | 5 min | Summary | Content sheet 5-7 | Presentation 5, Slides 38-40 |
| Optional Material on the CD-ROM |
| Collection and preservation | Annex 5-E Annex 5-F |
| Sample transport | Annex 5-G |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.