Module 7: Process Control — Quantitative Quality Control

| Purpose | This module explains how quality control methods are applied to quantitative laboratory examinations, and how to organize a quality control program for quantitative tests. |
| --- | --- |
| Learning Objectives | At the end of this module, participants will be able to: - differentiate accuracy and precision; - select control material for a specified examination method; - establish acceptable control limits for a method when only one level of control material is available; - explain the use of a Levey-Jennings chart; - give two examples of rule violations using Westgard Multirule System; - describe how to correct “out of control” problems. |
| Topics Covered | 7-1 Overview of quality control for quantitative tests 7-2 Control materials 7-3 Establishing the value range for the control material 7-4 Graphically representing control ranges 7-5 Interpreting quality control data 7-6 Using quality control information 7-7 Summary |
| Resources Available | Annex 7-A Activity 7-1 Activity 7-2 Test questions |