Test Questions Module 1

- The rationale for implementing an overall quality management system in the laboratory is to:

- prevent any possibility of testing error

- differentiate between qualitative and quantitative methods

- prevent potential errors in the laboratory’s path of workflow

- help to ensure that testing performed by the laboratory is accurate and reliable

- All of the following are essential elements of the quality management system EXCEPT:

- equipment management

- personnel management

- selection of customers

- process control

- The standard that applies specifically to quality in the clinical laboratory is:

- ISO 15189

- CLSI  HS1-A2

- ISO 9000

- ISO 8000