## Liste
Connections: AC 115 ± 10 V, 60Hz, American plug, | Stromversorgung: Wechselstrom 115 ± 10 V, 50Hz, Amerikanischer Stecker
Connections: AC 230 ± 10 V, 50Hz, European plug, | Stromversorgung: Wechselstrom 230 ± 10 V, 50Hz, Europäischer Stecker
Connections: 3-phase current, 360 ± 10 V, | Stromversorgung: Drehstrom, 360 ± 10 V, 5-poliger Stecher

## Language1
Enter in cell A3 the number of the language (1-English, 2-Français, 3-Arabic,4-Русский, 5-German, 6-Chinese, 7-Korean, 8-Spanish, 9-Farsi)
1 |  | 1- English | 2- Français | Ybre é3 | 4-Русский | 5- German | 6- 中文 | 7- Korean | 8-Spanish | 9-Farsi
3
1 | Country | Country | Pays | البلد | Страна | Land | 国家 | 국가 | spa1 | fars1
1 | Town | Town | Ville | المدينة | Город | Stadt | 城市 | 지역/도/시 | spa2 | fars2
1 | Name of the laboratory | Name of the laboratory | Nom du laboratoire | اسم المختبر | Название лаборатории | Name des Labors | 实验室名称 | 실험실 이름 | spa3 | fars3
1 | Date | Date | Date | التاريخ | Дата | Datum | 日期 | 방문날짜 | spa4 | fars4
1 | Manufacturer: | Manufacturer: | fra5 | ara5 | rus5 | HERSTELLER | chi5 | kor5 | spa5 | fars5
1 | Brand: | Brand: | fra6 | ara6 | rus6 | MARKE | chi6 | kor6 | spa6 | fars6
1 | Type/Model: | Type/Model: | fra7 | ara7 | rus7 | TYPENBEZEICHNUNG/MODELL | chi7 | kor7 | spa7 | fars7
1 | Country of Origin: | Country of Origin: | fra8 | ara8 | rus8 | URSPRUNGSLAND | chi8 | kor8 | spa8 | fars8
1 | *DESCRIPTION OF REQUIREMENTS* | *DESCRIPTION OF REQUIREMENTS* | fra9 | ara9 | rus9 | *PRODUKTBESCHREIBUNG* | chi9 | kor9 | spa9 | fars9
1 | BIOLOGICAL SAFETY CABINET CLASS II | BIOLOGICAL SAFETY CABINET CLASS II | fra10 | ara10 | rus10 | MIKROBIOLOGISCHE SICHERHEITSWERKBANK KLASSE II | chi10 | kor10 | spa10 | fars10
1 | BIDDER'S OFFER | BIDDER'S OFFER | fra11 | ara11 | rus11 | GEBOT DES ANBIETERS | chi11 | kor11 | spa11 | fars11
1 | SPECIFICATIONS | SPECIFICATIONS | fra12 | ara12 | rus12 | SPEZIFIKATIONEN | chi12 | kor12 | spa12 | fars12
1 | DESCRIPTION OF EQUIPMENT | DESCRIPTION OF EQUIPMENT | fra13 | ara13 | rus13 | BESCHREIBUNG DES GERÄTES | chi13 | kor13 | spa13 | fars13
1 | Complying with DIN 12950, part 10 and EN ISO 12429 | Complying with DIN 12950, part 10 and EN ISO 12429 | fra14 | ara14 | rus14 | Nach DIN 12950, Teil10 und EN ISO 12429 | chi14 | kor14 | spa14 | fars14
1 | Internal working area approx. width 1700 x depth 650 x height 650 mm | Internal working area approx. width 1700 x depth 650 x height 650 mm | fra15 | ara15 | rus15 | Arbeitsfläche (innen) etwa Weite 1700 x Tiefe 650 x Höhe 650 mm | chi15 | kor15 | spa15 | fars15
1 | Inside finish, stainless steel | Inside finish, stainless steel | fra16 | ara16 | rus16 | Innenraum, Edelstahl | chi16 | kor16 | spa16 | fars16
1 | External housing made of stainless steel or equivalent resistant coating | External housing made of stainless steel or equivalent resistant coating | fra17 | ara17 | rus17 | Außengehäuse aus Edelstahl oder resistenter Beschichtung | chi17 | kor17 | spa17 | fars17
1 | Vertically adjustable sliding windows (safety glass) | Vertically adjustable sliding windows (safety glass) | fra18 | ara18 | rus18 | Vertikal adjustierbare, verschiebare Frontscheibe aus Sicherheitsglas | chi18 | kor18 | spa18 | fars18
1 | Ability locking the window hermetically for gaseous disinfection | Ability locking the window hermetically for gaseous disinfection | fra19 | ara19 | rus19 | Frontscheibe muß hermetisch verschließbar sein für Desinfektion mittels Gas | chi19 | kor19 | spa19 | fars19
1 | Single piece working surface with V – shaped air slits or equivalent system to establish a proper inward flow as well as laminar flow | Single piece working surface with V – shaped air slits or equivalent system to establish a proper inward flow as well as laminar flow | fra20 | ara20 | rus20 | Durchgänige Arbeitsfläche mit (V-förmigen) Lufteinlässen oder einem anderen System, das ein gerichtetes Einstömen der Raumluft und eine laminare Stömung in der Kabine gewährleistet | chi20 | kor20 | spa20 | fars20
1 | Luminosity level > 800 lux. | Luminosity level > 800 lux. | fra21 | ara21 | rus21 | Lichtintensität > 800 lux | chi21 | kor21 | spa21 | fars21
1 | Noise level < 58 dBA | Noise level < 58 dBA | fra22 | ara22 | rus22 | Max. Geräuschpegel <58 dB(A) | chi22 | kor22 | spa22 | fars22
1 | Internal fittings | Internal fittings | fra23 | ara23 | rus23 | Intere Versorgungsstellen | chi23 | kor23 | spa23 | fars23
1 | 2 gas tap with solenoid valve | 2 gas tap with solenoid valve | fra24 | ara24 | rus24 | 2 Gashähne mit Selenoid-Ventilen | chi24 | kor24 | spa24 | fars24
1 | 2x 230± 10V AC main power sockets, European plug | 2x 230± 10V AC main power sockets, European plug | fra25 | ara25 | rus25 | 2 Steckdosen, 230± 10V Wechselstrom, Euro-Stecker | chi25 | kor25 | spa25 | fars25
1 | UVC light 30 W for sterilisation with hour counter, to switch on only when white light source is switched off | UVC light 30 W for sterilisation with hour counter, to switch on only when white light source is switched off | fra26 | ara26 | rus26 | UVC-Leuchtstoffröhre, 30 Watt mit Stundenzähler zur Desinfektion | chi26 | kor26 | spa26 | fars26
1 | Electrical control / indicators | Electrical control / indicators | fra27 | ara27 | rus27 | Elektische Kontrollen und Anzeigen | chi27 | kor27 | spa27 | fars27
1 | Electronic fan control | Electronic fan control | fra28 | ara28 | rus28 | Kontrolle der Motore | chi28 | kor28 | spa28 | fars28
1 | Flow meter for influx | Flow meter for influx | fra29 | ara29 | rus29 | Anzeige für die Einströmgeschwindigkeit der Raumluft | chi29 | kor29 | spa29 | fars29
1 | Flow meter for laminar flow | Flow meter for laminar flow | fra30 | ara30 | rus30 | Anzeige für die laminare Strömungsgeschwindigkeit | chi30 | kor30 | spa30 | fars30
1 | Filter saturation indicator | Filter saturation indicator | fra31 | ara31 | rus31 | Anzeige für Filterwechsel | chi31 | kor31 | spa31 | fars31
1 | Operating hours indicator | Operating hours indicator | fra32 | ara32 | rus32 | Betriebsstundenzähler | chi32 | kor32 | spa32 | fars32
1 | UV timer | UV timer | fra33 | ara33 | rus33 | Zeitschaltuhr für UV-Betrieb | chi33 | kor33 | spa33 | fars33
1 | "Filters" | "Filters" | fra34 | ara34 | rus34 | "Filter" | chi34 | kor34 | spa34 | fars34
1 | Pre-filter construction: easy accessible, filter change without tools preferred | Pre-filter construction: easy accessible, filter change without tools preferred | fra35 | ara35 | rus35 | Filtergehäuse: Leicht zugänglich, Filterwechsel ohne Werkzeuge bevorzugt | chi35 | kor35 | spa35 | fars35
1 | Two HEPA filters (1 main and 1 exhaust), at least Type H14 conform EN 1822 | Two HEPA filters (1 main and 1 exhaust), at least Type H14 conform EN 1822 | fra36 | ara36 | rus36 | 2 HEPA Filter (Haupt-und Abluftfilter), mind. Typ H14 nach EN 1822 | chi36 | kor36 | spa36 | fars36
1 | Laminar downflow >= 0.38 m/s | Laminar downflow >= 0.38 m/s | fra37 | ara37 | rus37 | Laminar Srömung >= 0,38 m/s | chi37 | kor37 | spa37 | fars37
1 | Total volume 1400-1700 m³/h | Total volume 1400-1700 m³/h | fra38 | ara38 | rus38 | Gesamtumluftvolumen 1400-1700 m³/h | chi38 | kor38 | spa38 | fars38
1 | Ducted air volume 300-450 m³/h | Ducted air volume 300-450 m³/h | fra39 | ara39 | rus39 | Abluft 300-450 m³/h | chi39 | kor39 | spa39 | fars39
1 | Connections: AC 230 ± 10 V, 50Hz, European plug, | Connections: AC 230 ± 10 V, 50Hz, European plug, | fra40 | ara40 | rus40 | Stromversorgung: Wechselstrom 230 ± 10 V, 50Hz, Europäischer Stecker | chi40 | kor40 | spa40 | fars40
1 | Power consumpion approx. 700 W | Power consumpion approx. 700 W | fra41 | ara41 | rus41 | Verbrauch ca. 700 Watt | chi41 | kor41 | spa41 | fars41
1 | **ACCESSORIES NEEDED** | **ACCESSORIES NEEDED** | fra42 | ara42 | rus42 | **BENÖTIGTES ZUBEHÖR** | chi42 | kor42 | spa42 | fars42
1 | Table or support frame | Table or support frame | fra43 | ara43 | rus43 | Tisch oder Untergestell | chi43 | kor43 | spa43 | fars43
1 | Working height 80 ± 2 cm, adjustable at least at three feet (points) to level | Working height 80 ± 2 cm, adjustable at least at three feet (points) to level | fra44 | ara44 | rus44 | Arbeitshöhe 80 ± 2 cm, mind.Dreipunkt höhenverstellbar | chi44 | kor44 | spa44 | fars44
1 | All standard accessories/consumables/parts required for the proper operation of the above item shall be included in the offer by the supplier and has to quantified and specified by him. | All standard accessories/consumables/parts required for the proper operation of the above item shall be included in the offer by the supplier and has to quantified and specified by him. | fra45 | ara45 | rus45 | Standardzubehör, Verbrauchsgüter und Teile, die zum reibungslosen Betrieb benötigt werden, müssen vom Anbieter in das Angebot aufgenommen, quantifiziert, spezifiziert und vollständig aufgelistet werden, unabhängig davon, ob sie oben aufgeführt wurden. | chi45 | kor45 | spa45 | fars45
1 | All standard maintenance tools and cleaning /lubrication materials where applicable shall be included by the supplier and has to quantified and specified by him. | All standard maintenance tools and cleaning /lubrication materials where applicable shall be included by the supplier and has to quantified and specified by him. | fra46 | ara46 | rus46 | Alle zur Wartung benötigten Werkzeuge, Reinigungs-, Gleitmittel müssen vom Anbieter in das Angebot aufgenommen, quantifiziert, spezifiziert und vollständig aufgelistet werden, | chi46 | kor46 | spa46 | fars46
1 | Operation manuals and service manuals, at least 1 set each in xxxxx and English | Operation manuals and service manuals, at least 1 set each in xxxxx and English | fra47 | ara47 | rus47 | Betriebs- und Servicehandbucher sind zumindest als jeweils ein 1 Set in den Sprachen xxxxx und Englisch mizuliefern | chi47 | kor47 | spa47 | fars47
1 | Manufacturing certificate | Manufacturing certificate | fra48 | ara48 | rus48 | Zertifikat des Herstellers | chi48 | kor48 | spa48 | fars48
1 | Spare parts list | Spare parts list | fra49 | ara49 | rus49 | Liste der Ersatzteile | chi49 | kor49 | spa49 | fars49
1 | Standard accessories | Standard accessories | fra50 | ara50 | rus50 | Standardzubehör | chi50 | kor50 | spa50 | fars50
1 | Two additional sets of HEPA filters as specified above | Two additional sets of HEPA filters as specified above | fra51 | ara51 | rus51 | Zwei Sets von HEPA Filtern wie oben spezifiziert | chi51 | kor51 | spa51 | fars51
1 | A hood (air duct) built as an exhaust air valve set up for bio-safety cabinet with motorised flap and trigger for external ventilator | A hood (air duct) built as an exhaust air valve set up for bio-safety cabinet with motorised flap and trigger for external ventilator | fra52 | ara52 | rus52 | Abluftaufsatz mit motorgetriebenen Regulationsklappen zum Adjustieren der zusätzlich abgeführten Raumluft | chi52 | kor52 | spa52 | fars52
1 | ***NOTE*** | ***NOTE*** | fra53 | ara53 | rus53 | ***ANMERKUNG*** | chi53 | kor53 | spa53 | fars53
1 | Bidder may propose any product/system which is equivalent or better than the requirements specified above. | Bidder may propose any product/system which is equivalent or better than the requirements specified above. | fra54 | ara54 | rus54 | Anbieter können ein anderes Produkt/System vorschlagen, das equvalent oder besser als die spezifizierten Voraussetzungen ist | chi54 | kor54 | spa54 | fars54
1 | Bidder shall furnish a clause-by-clause commentary on the requirements above. Bidder who commented with texts such as "Yes", "Refer to catalogue" or any text of these nature shall be considered as NON-RESPONSIVE. | Bidder shall furnish a clause-by-clause commentary on the requirements above. Bidder who commented with texts such as "Yes", "Refer to catalogue" or any text of these nature shall be considered as NON-RESPONSIVE. | fra55 | ara55 | rus55 | Anbieter müssen Punkt für Punkt der Auflistung kommentieren(bearbeiten). Anbieter, die nur mit "ja", "siehe Katalog" oder ähnlichen Phrasen antworten, werden als "NON-RESONSIVE" eingestuft. | chi55 | kor55 | spa55 | fars55
1 | ELECTRICITY | ELECTRICITY | fra56 | ara56 | rus56 | ELEKTROVERSORGUNG | chi56 | kor56 | spa56 | fars56
1 | No. | No. | fra57 | ara57 | rus57 | Nr. | chi57 | kor57 | spa57 | fars57
1 | 0 |  | fra58 | ara58 | rus58 |  | chi58 | kor58 | spa58 | fars58
1 | 0 |  | fra59 | ara59 | rus59 |  | chi59 | kor59 | spa59 | fars59
1 |  |  | fra60 | ara60 | rus60 |  | chi60 | kor60 | spa60 | fars60
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1

## Equipment
BIOLOGICAL SAFETY CABINET CLASS II
*DESCRIPTION OF REQUIREMENTS*
1 | Complying with DIN 12950, part 10 and EN ISO 12429
2 | Internal working area approx. width 1700 x depth 650 x height 650 mm
3 | Inside finish, stainless steel
4 | External housing made of stainless steel or equivalent resistant coating
5 | Vertically adjustable sliding windows (safety glass)
6 | Single piece working surface with V – shaped air slits or equivalent system to establish a proper inward flow as well as laminar flow
7 | Luminosity level > 800 lux.
8 | Noise level < 58 dBA
9 | Internal fittings
10 | 2 gas tap with solenoid valve
11 | 2x 230± 10V AC main power sockets, European plug
12 | UVC light 30 W for sterilisation with hour counter, to switch on only when white light source is switched off
13 | Electrical control / indicators
14 | Electronic fan control
15 | Flow meter for influx
16 | Flow meter for laminar flow
17 | Filter saturation indicator
18 | Operating hours indicator
19 | UV timer
"Filters"
20 | Pre-filter construction: easy accessible, filter change without tools preferred
21 | Two HEPA filters (1 main and 1 exhaust), at least Type H14 conform EN 1822
22 | Laminar downflow >= 0.38 m/s
23 | Total volume 1400-1700 m³/h
24 | Ducted air volume 300-450 m³/h
ELECTRICITY
25 | Connections: AC 230 ± 10 V, 50Hz, European plug,
26 | Power consumpion approx. 700 W
**ACCESSORIES NEEDED**
27 | Table or support frame
28 | Working height 80 ± 2 cm, adjustable at least at three feet (points) to level
29 | All standard accessories/consumables/parts required for the proper operation of the above item shall be included in the offer by the supplier and has to quantified and specified by him.
30 | All standard maintenance tools and cleaning /lubrication materials where applicable shall be included by the supplier and has to quantified and specified by him.
31 | Operation manuals and service manuals, at least 1 set each in xxxxx and English
32 | Manufacturing certificate
33 | Spare parts list
34 | Standard accessories
35 | Two additional sets of HEPA filters as specified above
36 | A hood (air duct) built as an exhaust air valve set up for bio-safety cabinet with motorised flap and trigger for external ventilator
***NOTE***
37 | Bidder may propose any product/system which is equivalent or better than the requirements specified above.
38 | Bidder shall furnish a clause-by-clause commentary on the requirements above. Bidder who commented with texts such as "Yes", "Refer to catalogue" or any text of these nature shall be considered as NON-RESPONSIVE.