Module 3: Equipment

| Purpose | To provide instruction on how to establish a program for managing equipment. |
| --- | --- |
| Module Time (suggested) | 70 minutes: 60 minutes for presentation 10 minutes for activity |
| Learning Objectives | At the end of this module, participants will be able to: - list items to consider prior to purchasing equipment for the laboratory; - manage the selection and acquisition of new equipment; - describe the requirements for a preventive maintenance program for equipment; - provide a rationale for developing a preventive maintenance program in your laboratory; - explain how to retire old or outdated equipment. |
| Test questions (suggested) | Suggested test questions (with answers bolded) for this module include: - When selecting laboratory equipment, important factors to consider are (check all that apply): - ease of operation - performance specifications - repair cost - environmental requirements - A rule of thumb in equipment maintenance and management is: - always purchase the least expensive equipment - develop criteria for troubleshooting, service, and repair - only train managers in calibration of equipment - perform all function checks daily - When retiring outdated or broken equipment consider: - salvaging spare parts - safety issues - recycling potential - all of the above |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 15 min | Introduction |  | Presentation 3, Slides 1-4 Activity sheet 3-1 |
| 2 | 5 min | Equipment management overview | Content sheet 3-1 | Presentation 3, Slides 5-8 |
| 3 | 10 min | Selecting and acquiring equipment | Content sheet 3-2 | Presentation 3, Slides 9-15 |
| 4 | 5 min | Getting equipment ready for service | Content sheet 3-3 | Presentation 3, Slides 16-19 |
| 5 | 10 min | Implementing an equipment maintenance program | Content sheet 3-4 | Presentation 3, Slides 20-24 |
| 6 | 10 min | Troubleshooting, service, repair, and retiring equipment | Content sheet 3-5 | Presentation 3, Slides 25-30 |
| 7 | 10 min | Equipment maintenance documentation | Content sheet 3-6 | Presentation 3, Slides 31-36 |
| 8 | 5 min | Summary | Content sheet 3-7 | Presentation 3, Slides 37-39 |
| Optional Material on the CD-ROM |  |  |  |  |
| Pipette calibration |  |  | Content sheet 3-8, Optional content |  |
| Biological safety cabinets-general information |  |  | Content sheet 3-9, Optional content |  |
| Monitoring equipment used in the microbiology laboratory |  |  | Content sheet 3-10, Presentation 3, Optional Slides 1-9 |  |
| Microscope maintenance |  |  | Presentation 3, Optional Slides 1-26 |  |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.