## Slide 1: Quality Control of Antimicrobial Susceptibility Tests

## Slide 2: Antimicrobial Susceptibility Tests
<number>
provide information for selection of an appropriate agent for
antimicrobial therapy
Notes: <number>

## Slide 3: AST Methods Interpretation
agar disk diffusion method provides qualitative interpretive category results of susceptible, intermediate, and resistant
microdilution and agar gradient diffusion methods provide a quantitative result, a minimum inhibitory concentration

## Slide 4
AST Methods
Notes: <number>

## Slide 5
<number>
Clinical and Laboratory Standards Institute
French Society of Microbiology
British Society for Antimicrobial Chemotherapy
References
Notes: <number>

## Slide 6: Example from an excerpt from Reference: Selection of Drug to Test
<number>
Notes: <number>

## Slide 7: Where errors can occur in susceptibility testing
<number>
media
antimicrobials
inoculum
incubation
equipment
interpretation
Notes: <number>

## Slide 8: Agar disk diffusion method
<number>
Medium Mueller Hinton 4 mm thickness pH 7.2 to 7.4
Antibiotic storage -20oC minimum
disks temperature
Inoculum McFarland 0.5 (108 bacteria/mL)
Incubator temperature 35oC atmosphere ambient air
Notes: <number>

## Slide 9: Reference Strains
<number>
  E. coli ATCC 25922
  S. aureus ATCC 25923
  P. aeruginosa ATCC 27853
QC organisms must be obtained from reputable source
Use specific QC organisms to test different groups of “drug-bug” combinations
Notes: <number>

## Slide 10: Selection of a Colony to Test
<number>
Notes: <number>

## Slide 11: MacFarland 0.5 and Adjusted Test Organism
<number>
Notes: <number>

## Slide 12: Use of Disk Dispensers
<number>
Advantages
  practical, rapid
  increase reproducibility
Risks:
  contamination
  reduces personal judgment skills
Notes: <number>

## Slide 13: Disk Susceptibility Testing Problems
<number>
Notes: <number>

## Slide 14: Disk Susceptibility Testing Problems
Notes: <number>

## Slide 15: Measuring Conditions
<number>
Ruler
Calipers
read with good light, and from the back of the plate
zone size reading is drug specific
magnification may help
millimeters matter
Notes: <number>

## Slide 16: Etest – antimicrobial gradient method
<number>
Notes: <number>

## Slide 17: Patient results may be incorrect if:
the organism was misidentified
a clerical error was made
inappropriate choice of antimicrobials were tested and reported
the wrong patient’s sample was examined
the wrong test was ordered
the sample was not preserved properly