## Slide 1: Quality Control: Molecular Diagnostics

## Slide 2: Overview
<number>
Sample Collection, Transport, and Processing
  maintain Nucleic acid integrity through these processes
Contamination Control
  establish a unidirectional work flow from a DNA-free area for reagent preparation, to a sample processing area, to area where amplification and detection occur
Positive and Negative Controls
Reference: CLSI MM3-A (Molecular Diagnostic Methods for Infectious Diseases)
Notes: <number>

## Slide 3: Quality Control: Molecular Diagnostics
<number>
Notes: <number>

## Slide 4
<number>
Notes: <number>

## Slide 5: Real Time PCR
<number>
SAMPLE
PRIMER
Taq polymerase
Amplified Target NA
SYBR Green
Quantitative
Fluorescence
+
-
In
Notes: <number>

## Slide 6: Amplification Reactions
<number>
Amplification / Time
POSITIVE
NO AMPLIFICATION
Notes: <number>

## Slide 7: Real Time RT-PCR
<number>
Notes: <number>

## Slide 8: A/H3
<number>
Notes: <number>

## Slide 9: A/H5
<number>
Notes: <number>

## Slide 10: Negative result
<number>
Notes: <number>

## Slide 11: Risks with PCR
<number>
most RT-PCR is still done as “in-house” or “home-brew”
  primers are not necessarily optimized to test
  positive controls are “in-house”
  negative controls are “in-house”
interpretation of tests need to be done with caution
Notes: <number>