Activity 3-1: Scenario — Equipment Failure

| Purpose | To provide participants with a situation that could occur in a laboratory that does not follow an equipment maintenance protocol. |
| --- | --- |
| Suggested Time | 10 minutes |
| Scenario | “The reader fails while performing ELISA / EIA tests. There isn’t a documented procedure for troubleshooting, the maintenance log has not been updated for 2 years, and the manufacturer’s instructions are missing.” What should you do? Why? What should have been done earlier? What you would do if this happened in your laboratory? |