Test Questions Module 7

1. Calibrators have the following characteristics/functions: - contain a known amount of the analyte being tested - monitor the quality of reagents - monitor the quality of the sample - prevent equipment failure 2. The reproducibility of a value upon repeated measurements is referred to as: - accuracy - precision - bias - error 3. The probability that a given control value will fall within + 2 SD of the established mean is: - 68.2% - 99.7% - 95.5% - 92.5%