Activity 8-1: Scenario — Need for QC Procedures

| Purpose | To allow participants to discuss the need for quality control procedures. |
| --- | --- |
| Suggested Time | 10 minutes |
| Scenario | “Laboratory A performs a culture, and Pseudomonas aeruginosa is identified.” What QC measures can you use to confirm that the isolate is correctly identified? |

Activity 8-2: Quality Control for Serology

| Purpose | To allow participants to identify and correct “out-of-control” problems. |
| --- | --- |
| Suggested Time | 15 minutes |
| Scenario | “Your laboratory performed testing on 20 patient samples for the hepatitis B core antibody. Included in this run were control materials with a new lot number. All of the patient samples and the positive control were negative for the antibody.” - How can you determine if the error is in the test system or the control? - What should you have done to make it easier to find out the cause of the problem? - What will you do about reporting the patients’ results? - How do you know if patient samples from the previous day were accurate? |