Test Questions Module 10

- All of the following are EQA methods EXCEPT: - proficiency testing - on-site evaluations from an external agency - quality control of quantitative testing - retesting or rechecking samples exchanged between laboratories - Your laboratory received an unstained blood slide from an EQA provider with a request to look for malaria parasites. Which of the following choices would you do to insure this sample is reported correctly? - stain the slide with fresh reagents and give to the supervisor to examine - stain the slide with fresh reagents and ask all employees that do malaria smears to examine it and compare answers - stain and read the slide using your best employees, then call neighboring laboratories to confirm results - examine the slide in the same way the laboratory routinely handles patients samples - EQA is an important component of quality management because: - it guarantees that the daily results of patients’ samples are accurate - it always monitors the pre-examination, examination, and post-examination phases of the workflow path - it provides information to consumers about the quality of testing for a particular EQA sample - it is an objective way to measure the quality of testing in a laboratory