Module 11: Assessment — Norms and Accreditation

| Purpose | To provide the participants with information on laboratory standards, the organizations that develop them, and how the processes of accreditation and certification are conducted. |
| --- | --- |
| Module Time (suggested) | 65 minutes: 55 minutes for presentation 10 minutes for activity |
| Learning Objectives | At the end of this module, participants will be able to: - compare and contrast accreditation, certification and licensure; - describe the process involved in the development of standards; - discuss the need for laboratory norms and standards. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: - Which of the following statements is true? - standards organizations can never serve as accrediting bodies - certification is the procedure by which an independent body gives written assurance that a product, process or service conforms to specific requirements - most standards for laboratory practice are developed by local government agencies - only one international standards organization is recognized by all countries for quality management of laboratories - In order to be accredited, a laboratory must do all of the following EXCEPT: - be visited by representatives of the accrediting body which observes the laboratory’s policies and practices - be enrolled in a proficiency testing or other EQA program - pay a fee for the accreditation process - adhere to international standards rather than local standards - The main focus of ISO 15189 standard is - improving the quality of medical laboratories - minimizing the harmful effects of the environment - addressing laboratory safety issues - improving the status of the quality manager |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 15 min | Introduction |  | Presentation 11, Slides 1-3 Activity sheet 11-1 |
| 2 | 5 min | Overview of norms and accreditation | Content sheet 11-1 | Presentation 11, Slides 4-6 |
| 3 | 10 min | International standards and standardization bodies | Content sheet 11-2 | Presentation 11, Slides 7-13 |
| 4 | 5 min | National standards and technical guidelines | Content sheet 11-3 | Presentation 11, Slides 14-15 |
| 5 | 15 min | Certification and accreditation | Content sheet 11-4 | Presentation 11, Slides 16-23 |
| 6 | 5 min | Process of accreditation | Content sheet 11-5 Annex 11-A | Presentation 11, Slides 24-27 |
| 7 | 5 min | Benefits of accreditation | Content sheet 11-6 | Presentation 11, Slides 28-31 |
| 8 | 5 min | Summary | Content sheet 11-7 | Presentation 11, Slides 32-34 |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.