Module 14: Occurrence Management

| Purpose | To provide the participants with both the rationale and the process for developing a program for monitoring and improving occurrence management. |
| --- | --- |
| Learning Objectives | At the end of this module, participants will be able to: ## define the term “occurrence”; ## describe the essential quality monitoring tools; ## differentiate among preventive action, remedial action, and corrective action; ## describe the relationships between preventive action and risk management practices; ## define and describe root cause analysis. |
| Topics Covered | 14-1 Overview of occurrence management 14-2 Sources and consequences of laboratory error 14-3 Investigation of occurrences 14-4 Rectifying and managing occurrences 14-5 Summary |
| Resources Available | Annex 14-A Annex 14-B Activity sheet 14-1 Activity sheet 14-2 Test questions |