Annex 16–A: Information Handout

ISO 15189:2003 Style Quality Manual Table of Contents

SECTION 									PAGE

1. Introduction…………………………………………………………………………….

2. Description of Laboratory…………………………………………………………….

a. Legal Identity………………………………………………………………….

b. Resources……………………………………………………………………..

c. Main Duties……………………………………………………………………

3. Quality Policy…………………………………………………………………………..

4. Staff Education and Training…………………………………………………………

5. Quality Assurance…………………………………………………………………….

6. Document Control…………………………………………………………………….

7. Records Maintenance and Archiving……………………………………………….

8. Laboratory Physical Environment……………………………………………………

9. Instruments…………………………………………………………………………….

10. Consumables Management…………………………………………………………

11. Validation of Examination Procedures……………………………………………..

12. Safety…………………………………………………………………………………..

13. Research and Development…………………………………………………………

14. Examination Processes and Procedures List……………………………………..

15. Pre- Examination……………………………………………………………………..

a. Request Protocols…………………………………………………………….

b. Specimen Collection………………………………………………………….

c. Handling………………………………………………………………………..

16. Validation of Results…………………………………………………………………

16. Quality Control………………………………………………………………………..

18. Reporting of Results…………………………………………………………………

19. Remedial Actions and Complaints…………………………………………………

20. Communications……………………………………………………………………..

a. Patients………………………………………………………………………...

b. Health Professionals………………………………………………………….

c. Suppliers……………………………………………………………………….

21. Audits…………………………………………………………………………………..

22. Appendices……………………………………………………………………………

Annex 16–B: Information Handout

CLSI Style Quality Manual Table of Contents (CLSI HS1-A2)

Section 1…….…………………………….……………………………………………………...Purpose

Section 2…….…………………………….………………………………………………………...Scope

Section 3..….…………………………….………………………………..…Quality Policy Statement

Section 4…...…………………………….…………………………..…Quality Goals and Objectives

Section 5..……………………………….….…………….…Policies for Quality System Essentials 5.1…………………………………………….…………….………………......Documents and Records

5.2……………………………………………………………………………………………..Organization

5.3………………………………………………………………………………………..………Personnel

5.4……………………………………………………………….………………………………Equipment

5.5………………………………………………………………………………Purchasing and Inventory

5.6………………………………………………………………………………….………Process Control

5.6.1…………………………………………………………………………………….Preservice

5.6.2 ……………………………………………………………………………………….Service

5.6.3……………………………………………………………………………………Postservice

5.7……………………………………………………………………………….Information Management

5.8…………..…………………………………………………………………..Occurrence management

5.9…..……………………………………………………………….Assessments: Internal and External

5.9.1………………………………………………………………….Findings from Occurrences

5.9.2…………………………………………….Findings from Customer Satisfaction Surveys

5.9.3………………………………………………………..………..…Findings from Complains

5.9.4.………………………………………………….Findings from Internal Quality Indicators

5.9.5………………………………………………………………..Findings from Internal Audits

5.9.6………………………………………………………Findings from External Assessments

5.10………….………………………………………………………………………Process Improvement

5.11……………………………………………………………………………………….Customer Service

5.12…………………………………………………………………………………….Facilities and Safety

Annex 16–C: Standard Operating Procedure Example

This example shows a 5-page SOP for processing sputum samples in a microbiology laboratory.

The SOP follows a standardized outline, making updating and storage of different versions very easy. The header is standardized and includes information on:

- title, number, and location in the procedure manual;

- author or person validating;

- date for this and other versions, and date this SOP was originally put into use.

| TML\MSH Microbiology Department Policy & Procedure Manual | Policy # MI\RESP\11\v05 | Page 1 of 5 |
| --- | --- | --- |
| Section: Respiratory Tract Culture Manual | Subject Title: SPUTUM (Including Endotracheal Tube and Tracheostomy Specimens) |  |
| Issued by: LABORATORY MANAGER | Original Date: September 25, 2000 |  |
| Approved by: Laboratory Director | Revision Date: September 14, 2006 |  |
|  | Annual Review Date: August 13, 2007 |  |

SPUTUM (INCLUDING ENDOTRACHEAL TUBE AND
 TRACHEOSTOMY SPECIMENS

I.  Introduction Pneumonia may be divided into four broad categories including:  i) Community acquired pneumonia (CAP), ii) Nosocomial or Hospital acquired pneumonia (NAP / HAP), iii) Aspiration pneumonia and iv) pneumonia in immunocompromised patients (e.g. HIV, transplant patients).  Generally the etiology of the pneumonia varies depending on the category.  The most common organisms to cause CAP include Streptococcus pneumoniae, Mycoplasma pneumoniae, Respiratory viruses, Chlamydia pneumoniae, Haemophilus influenzae and Legionella pneumophila.  HAP is more commonly due to aerobic gram negative bacilli, anaerobes, Staphylococcus aureus, Streptococcus pneumoniae and others.  Aspiration pneumonia may be due to chemical pneumonitis  a mixture of oral aerobes and anaerobes.  Along with the common organisms noted above, unusual agents such as pneumocystis, dimorphic fungi, cryptococcus may be found in immunocompromised patients.  Acute bronchitis may be viral or occasionally bacterial.

II. Specimen Collection and Transport

See Pre-analytical Procedure - Specimen Collection QPCMI02001

III. Reagents / Materials / Media

See Analytical Process - Bacteriology Reagents_Materials_Media List QPCMI10001

IV. Procedure

A.  Processing of Specimens: See Specimen Processing Procedure QPCMI06003

| TML\MSH Microbiology Department Policy & Procedure Manual | Policy # MI\RESP\11\v05 | Page 2 of 5 |
| --- | --- | --- |
| Respiratory Tract Culture Manual |  |  |

- Direct Examination:

i)  Gram Stain

Sputum is always contaminated to some degree with oropharyngeal organisms.

Consequently, a screening procedure for routine culture is required to exclude grossly contaminated specimens or saliva.

DO NOT screen PMH patients, endotracheal tube (ETT) aspirates, suctioned samples or any specimens requesting Mycobacterium tuberculosis (TB) only or fungus culture only.

Screening Procedure

Select the most purulent portion of the specimen for Gram staining and culture.  Scan the smear under low power (10X magnification) as soon as possible and examine for epithelial cells.

| Squamous epithelial cells | Action |
| --- | --- |
| > 25 cells/lpf* | Discard culture plates without examining. |
| < 25 cells/lpf | Examine and report, with quantitation, routine Gram stain results. Continue incubation of culture plates. |

*lpf = low power field

NB:	If yeast is predominant in organism seen, then report with quantitation.

If yeast is seen mixed with other organisms and is not the predominant organism, then report as Commensal flora without specifically commenting on the presence of yeast.

ii)	Approved requests for STAT acid fast stain: Direct smear from an

unconcentrated specimen.

iii)	Fungus requests: Prepare smear for Fungifluor and forward to Mycology Section for staining and interpretation.

| TML\MSH Microbiology Department Policy & Procedure Manual | Policy # MI\RESP\11\v05 | Page 3 of 5 |
| --- | --- | --- |
| Respiratory Tract Culture Manual |  |  |

b)	Culture:

| Media | Incubation |
| --- | --- |
| Blood Agar (BA) Haemophilus Isolation Medium (HI) MacConkey Agar (MAC) | CO2, 35oC x 48 hours CO2, 35oC x 48 hours CO2, 35oC x 48 hours |
| If B. cepacia is requested or specimen is from a patient with Cystic Fibrosis, add: OF base, colistin, bacitracin & lactose Agar (OCBL) O2, 35oC x 5 days Keep the BA, HI and MAC plates CO2, 35oC x 5 days |  |
| If Nocardia culture is requested, add: Sodium Pyruvate Agar (PYRA) | O2, 35oC x 4 weeks |
| If fungal culture is requested, add: Inhibitory Mold Agar (IMA)* Esculin Base Medium (EBM)* Blood Egg Albumin Agar (BEAA)* | O2, 28oC x 4 weeks O2, 28oC x 4 weeks O2, 28oC x 4 weeks |

* Forward inoculated fungal media to Mycology section for incubation and work-up.

B.  Interpretation of Cultures:

Routine cultures:

Examine the plates after 24 and 48 hours incubation.

- Identify all Probable respiratory pathogens if there is a moderate to heavy growth (>2+). EXCEPTION: Identify any amount of Cryptococcus neoformans and filamentous fungus (refer to 4. and 5.).

- Identify all Possible respiratory pathogens if there is a moderate to heavy growth (>2+) growth AND if obviously predominant.

- Identify all Probable and Possible respiratory pathogens if there is a light growth (1+) AND obviously predominant AND if any amount of pus cells are seen in gram stain.

- For yeast grown in culture on bacterial culture plates see Yeast Identification.

| TML\MSH Microbiology Department Policy & Procedure Manual | Policy # MI\RESP\11\v05 | Page 4 of 5 |
| --- | --- | --- |
| Respiratory Tract Culture Manual |  |  |

- For filamentous fungus, seal the agar plate and send the culture to Mycology for identification.

- If there is a question regarding the significance of an isolate, consult the charge technologist or microbiologist.

Probable respiratory pathogens:

- Streptococcus pneumoniae

- Moraxella catarrhalis

- Hemophilus influenzae

- Group A streptococcus

- Staphylococcus aureus

Pseudomonas aeruginosa

Burkholderia cepacia*

Nocardia

Filamentous fungus

Cryptococcus neoformans

Possible respiratory pathogens:

Yeast not Cryptococcus neoformans

Group C and G streptococcus

- Other gram negative bacilli (not listed above) of single morphological type

- * For cystic fibrosis patients:

Report any amount of B. cepacia. For B. cepacia and slow growing mucoid P. aeruginosa, identification and sensitivities can be referred to previous specimens processed within the preceding 4 weeks.

C.  Susceptibility Testing:

Refer to Susceptibility Testing Manual.

| TML\MSH Microbiology Department Policy & Procedure Manual | Policy # MI\RESP\11\v05 | Page 5 of 5 |
| --- | --- | --- |
| Respiratory Tract Culture Manual |  |  |

V.  Reporting

Gram Stain:

Rejected Sputum Report:

Greater than 25 squamous epithelial cells per low power field

Acceptable Sputum Report:

Report with quantitation:

- Presence or absence of pus cells;

- Presence or absence of squamous epithelial cells;

- Presence of predominate respiratory pathogens (amount greater than that ofcommensal flora;

- Presence of “Commensal flora”;

- “No bacteria seen” if no organism is seen

Acid-fast stain (if STAT request): Refer to Reporting of Acid-fast smears, Appendix IV.

Culture:

Rejected Sputum Report:	“Specimen unsuitable for processing due to oropharyngeal contamination”

Negative Report:	"Commensal flora" (DO NOT quantitate) or "No growth".

“No B. cepacia isolated” if B. cepacia culture is requested.

Positive Report: 	Quantitate and report significant isolates with appropriate sensitivities. Report with quantitation “Commensal flora” if also present.

“Filamentous fungus” “isolated” “identification to follow” (DO NOT quantitate).

VI. References

P.R. Murray, E.J. Baron, M.A. Pfaller, R.H. Yolken. 2003. Manual of Clinical Microbiology, 8th ed. ASM Press, Washington, D.C.

H.D. Izenberg. 2003. Respiratory Tract Cultures, 3.11.1.1 – 3.11.3.1 in Clinical Microbiology Procedures Handbook, 2nd ed. Vol.1 ASM Press, Washington, D.C.

Annex 16-D:  Example of a Job Aid

| What is a job aid? | A job aid is : - a condensed version of a SOP - designed for use directly at the testing site/bench - usually placed in a visible location - a reminder of the steps that need to be completed. Job aids supplement–but do not replace–the SOP which provide all the necessary details. |
| --- | --- |
| A job aid is not an SOP | This is an example of an international job aid illustrating the steps for a commonly used procedure. Why is the job aid NOT a replacement for the SOP? Remember that the job aid is shortened and does not include all the information that might be required for performing the procedure. For example, this job aid does not show how to prepare and filter the stain that is used. It is important to understand that for laboratory accreditation, a non-conformance will be cited if an SOP does not reflect the actual procedure. |

Microbiology Laboratory Manual Online. Available at URL: http://www.mountsinai.on.ca/education/staff-professionals/microbiology