Activity 16-1:  Scenario — Differentiating Documents from Records

| Purpose | To allow participants to discuss whether laboratory information is part of a document or a record. |
| --- | --- |
| Suggested Time | 5 minutes |
| Instructional Method | Problem solving: use as an individual or group activity, or as a class discussion. |
| Instructions | Give the participants a copy of the following scenario and/or show it as a slide (Presentation 16, slide 3). Allow 2 minutes for them to read. “You have found all these papers lying on a desk.” Ask the question: Which of these are documents and which are records? - testing algorithm - safety manual - client test results - standard operation procedures (SOPs) for an approved HIV rapid test - manufacturer test kit inserts - summary of findings from on-site evaluation visit - report of corrective actions - temperature log (blank form) - quality control record (blank form) - daily maintenance log (completed) - stock cards and stock book (completed) - EQA sample transfer log (completed) Remind the participants that at the end of the presentation there will be a discussion on this scenario. |
| Expected Results | At the end of the presentation, let the participants give their answers and discuss the reasons (Presentation 16, Slide 54). When the discussion is completed show the answers (Presentation 16, Slide 55). |

Activity 16-2:  The Quality Manual

| Purpose | To present a laboratory scenario, demonstrating the importance of the quality manual. |
| --- | --- |
| Suggested Time | 5 minutes |
| Instructional Method | Discussion |
| Instructions | Allow 1 minute for participants to read and think about the following scenario: “A new laboratory manager was hired by Laboratory X. The laboratory has not had a quality manual in the past, but the new manager wants to develop one.” Ask the following questions, allowing 2-3 minutes for discussion: - Why do you think a quality manual is important? - Who should the laboratory manager involve in the process? - How can the laboratory manager ensure that all of the details are included? Would this result in increased costs for patient management, and what would increase the cost? - List some of the content required for a quality manual and what that they think should be included in a quality manual. - Who should be responsible for writing the quality manual? |
| Expected Results | Refer to content sheet 16-3 to structure the answers. |