Test Questions Module 16

Suggested questions for this module (with answers highlighted) include:

- Written policies, processes, and procedures are necessary for all of the following reasons EXCEPT:

- verbal instructions may be misunderstood

- laboratory inspectors require it

- they record data or information about what happened, and are not revised or modified

- reproducibility of results is improved

- Procedures:

  - tell “what to do”, and define the overall intentions and directions of the organization

  - tell “how it happens”, and can generally be represented in a flow chart indicating how events should occur over a period of time

  - tell “how to do it”, and show the step-by-step instructions that laboratory staff should meticulously follow to produce accurate and consistent results

- The following is an example of a document:

  - a Quality Manual

  - a log of patient results

  - a chart showing the temperatures of a refrigerator over the last month

  - a graph plotting quality control results