Test Questions Module 3

- When selecting laboratory equipment, important factors to consider are (check all that apply):

- ease of operation

- performance specifications

- repair cost

- environmental requirements

    - A rule of thumb in equipment maintenance and management is:

- always purchase the least expensive equipment

- develop criteria for troubleshooting, service, and repair

- only train managers in calibration of equipment

- perform all function checks daily

    - When retiring outdated or broken equipment consider:

- salvaging spare parts

- safety issues

- recycling potential

- all of the above