- Qualitative examinations are those that: - use methods with little likelihood of error - produce non-numerical results - use statistical tools to establish normal ranges - are only found in textbooks - Positive, weak positive and negative controls should be run on immunology-serology procedures for the following reasons EXCEPT: - to verify that positive results are valid - to ensure that weak reactions are detected - to ensure that the reagents have not expired - to indicate if contamination has occurred. - Give four parameters used to verify microbiological media performance. a. b. c. d.

Test Questions Module 8