Module 14: Occurrence Management

| Purpose | To provide the participants with both the rationale and the process for developing a program for monitoring and improving occurrence management. |
| --- | --- |
| Module Time (suggested) | 60 minutes: 40 minutes for presentation 20 minutes for activities (2) |
| Learning Objectives | At the end of this module, participants will be able to: ## define the term “occurrence”; ## describe the essential quality monitoring tools; ## differentiate among preventive action, remedial action, and corrective action; ## describe the relationships between preventive action and risk management practices; - define and describe root cause analysis. |
| Test Questions (suggested) | Suggested test questions (with answers bolded) for this module include: - In the context of quality management, an occurrence is defined as: - every process in which the laboratory is involved - any negative event that can lead to a laboratory error - any positive event that leads to laboratory improvement - a problem in the testing process - The most effective investigational technique for occurrence management is: - analysis of all QC data - survey of all the laboratory’s customers - evaluation of employee performance - root cause analysis - Describe three processes used to identify and handle occurrences Refer to content sheets 14-3 and 14-4 for answers a. ______________________________________________ b. ______________________________________________ c. ______________________________________________ |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 15 min | Module introduction |  | Presentation 14, Slides 1-4 Activity sheet 14-1 |
| 2 | 5 min | Overview of occurrence management | Content sheet 14-1 | Presentation 14, Slides 5-7 |
| 3 | 10 min | Sources and consequences of laboratory error | Content sheet 14-2 Annex 14-A | Presentation 14, Slides 8-13 |
| 4 | 10 min | Investigation of occurrences | Content sheet 14-3 Annex 14-B | Presentation 14, Slides 14-18 |
| 5 | 5 min | Rectifying and managing occurrences | Content sheet 14-4 | Presentation 14, Slides 19-20 |
| 6 | 15 min | Summary | Content sheet 14-5 | Presentation 14, Slides 21-24 Activity sheet 14-2 |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape

- Additional handouts as required.