Module 18: Organization

| Purpose | To describe the organizational structure, management roles and responsibilities, and other factors needed for a successful laboratory quality management system. |
| --- | --- |
| Module Time (suggested) | 100 minutes: 55 minutes for presentation 45 minutes for activities (2) |
| Learning Objectives | At the end of this module, participants will be able to: - describe organizational elements needed for a quality management system; - discuss management roles and responsibilities in a quality system; - explain the process for designing, implementing, maintaining, and improving the laboratory quality system; - explain the purpose of a quality manual. |
| Test questions (suggested) | Suggested test questions (with answers bolded) for this module include: 1. The role of the quality manager usually includes: - running quality control samples as a part of the testing process - monitoring all aspects of the quality system - assuring that adequate resources are available for quality system processes and procedures - hiring highly competent staff for the laboratory 2. When planning for the establishment of a quality system in the laboratory, it is important to: - inform laboratory staff after completion of the initial plan, so as to avoid confusion - use a computer-based tracking system - be prepared to implement all steps of the plan immediately - include all twelve quality elements in the plan 3. A quality manual: - establishes the quality policies for the laboratory - should be printed and widely distributed - should never be changed, as it provides the framework for the quality system - must include all test procedures |
| Module Overview (suggested) | The following table suggests an agenda for organizing the module. Each trainer can modify it, as well as select and customize the available resources. |

| Step | Time | Topics | Contents | Available resources |
| --- | --- | --- | --- | --- |
| 1 | 5 min | Module introduction |  | Presentation 18, Slides 1-3 |
| 2 | 5 min | Organizational requirements for a quality management system | Content sheet 18-1 | Presentation 18, Slides 4-5 |
| 3 | 30 min | Management role | Content sheet 18-2 | Presentation 18, Slides 6-8 Activity sheet 18-1 |
| 4 | 10 min | Organizational structure | Content sheet 18-3 | Presentation 18, Slides 9-13 |
| 5 | 10 min | Organizational functions: Planning | Content sheet 18-4 | Presentation 18, Slides 14-18 |
| 6 | 10 min | Organizational functions: Implementation | Content sheet 18-5 Annex 18-A | Presentation 18, Slides 19-23 |
| 7 | 5 min | Laboratory quality manual | Content sheet 18-6 | Presentation 18, Slides 24-26 |
| 8 | 25 min | Summary | Content sheet 18–7 | Presentation 18, Slides 27-32 Activity sheet 18-2 |
| Resources Available on the CD-ROM |  |  |  |  |
| Activities 18-1 and 18-2 “pre- and post-discussion” and “responsibilities” Excel worksheets Gantt Chart Checklist example (5-page pdf) |  |  |  |  |

Material/Equipment Checklist

- PowerPoint slides or transparencies

- Overhead projector or computer with an LCD projector

- Prepared flipchart, white board, or chalk board

- Paper cards, markers, and tape.