## Read me first (cover page)
E008/AD01.0 Auto-disable syringes for fixed-dose immunization application review template
Purpose
This template serves as a standardized submission form for auto-disable syringe manufacturers to provide the information required for dossier review by the World Health Organization (WHO) Performance, Quality and Safety (PQS) team. Its purpose is to streamline the submission process, promote consistency in the data provided and facilitate efficient evaluation by WHO PQS experts. By following the guidelines outlined in this template, applicants can effectively organize and present their dossier data, supporting an efficient and smooth review process.
Table of contents
This form is divided into four worksheets, in addition to this cover page. Please complete/review the worksheets in numerical order, starting with worksheet 1 and progressing through worksheet 3. Worksheet 4 may also be applicable if the product contains a sharps injury protection (SIP) feature.
1. General | Use the prompts on this worksheet to fill in basic product and dossier information, such as the name of the manufacturer and indicative cost of the product per unit.
2. Definitions and considerations | Read through the guidelines and considerations for a dossier, which detail expectations for documentation practices, sample size testing, usability validation testing procedures, risk analysis requirements, test report content and visual inspection procedures.
3. Technical documentation review | Use this worksheet to record and track the technical documentation submitted with the AD syringe for PQS approval. It will help ensure that all necessary information is provided and allow assessors to easily evaluate compliance with relevant standard requirements. After submission, assesors will provide feedback in the assessor columns. Use ISO 7886-3 as the primary reference for these requirements.
4. SIP (if relevant) | If the syringe has a SIP feature to be evaluated for compliance with ISO 23908 Sharps injury protection, fill out this worksheet. Not all AD syringes have SIP features. Use ISO 23908 as the primary reference for these requirements.
Key considerations for a successful submission
Here are a few considerations to streamline the submission process:
• Provide a complete submission | Ensure that all necessary documents, forms and attachments are included. See "Technical documentation review" worksheet for a complete list of required documents.
• Review required documentation | At minimum, review the following documents:
– Guidelines for WHO IMD-PQS Applicants & Prequalification Holders (WHO/VAX/IMD/PQS/GUIDE 2.0)
– PQS combined specification and testing protocol for AD syringes for fixed-dose immunization (WHO/PQS/E008/AD01.0) for specific requirements and expectations for manufacturers. This document will be referred to as WHO/PQS/E008 throughout this text except where clarity is required.
• Submit in English | Submit all materials in English or ensure certified translations accompany all non-English documents.
• Follow file naming guidelines | Follow the naming guidelines found in Guidelines for WHO IMD-PQS Applicants & Prequalification Holders (WHO/VAX/IMD/PQS/GUIDE 2.0).
Contact: pqsinfo@who.int
Version 1.0 July 3, 2025

## 1. General
E008/AD01.0 Auto-disable syringes for fixed-dose immunization application review template
Product category: | E008/AD01.0 |  | Revision number: | V1.0 | Revision date: | 2025-07-03
General guidance to applicant: An application for World Health Organization Performance, Quality and Safety (PQS) prequalification should contain a dossier of supporting documentation as listed in the order below. Except for the grey cells, there must be a reference consisting of (1) document file name and (2) specific section and/or page designator for where the raw data demonstrating compliance with the respective requirement can be found. Dossier documentation/test reports should not be consolidated into a single file but rather remain separate for clarity of location reference. For hypodermic syringe with reuse prevention feature, PQS category E013/RUP01.0, please see E013/RUP01.0 Reuse prevention syringe application review template V1.0.
Color coding: | Blue cells are for reference only.
Green cells are to be filled out by the applicant only.
Grey cells are to be filled out by the dossier assessor only.
[Prompts in square brackets should be replaced with appropriate wording or NA (Not applicable).] Grey cells do not require a response as the text is for dossier assessor use only.
To protect the form, some cells are locked. If you need more space, you can still adjust the height and width of editable cells. To change a column's width or a row's height, hover your cursor over the line between the column headers (e.g., between A and B) or row headers (e.g., between 1 and 2). Your cursor will turn into a double-headed arrow. Click and drag the line to your desired width or height.
Product information
Manufacturer | [Name]
Location of manufacture | [Full address]
Product name | [Unique identifier]
Product family | [Optional]
Product volume | [in mL]
AD activation | [Start/Middle/End]
Sharps injury protection feature | [Yes/No – If yes, fill out tab #4]
Needle attachment | [Integrated/Non-integrated]
Dossier information
Product dossier | Reference | Assessor’s comments
Manufacturer’s product specification | [Please refer to a document.]
Device photographs | [Please refer to an image file.]
Photographs of primary packaging/labelling | [Please refer to an image file.]
Photographs of secondary packaging/labelling | [Please refer to an image file.]
Product approvals (CE, 510(k), etc.) | [Please refer to a document.]
Legal manufacturer’s International Organization for Standardization (ISO) 13485 or equivalent quality system certification | [Please refer to a document.]
Optional: Copy of the most recent audit report, issued by the manufacturer’s ISO 13485 certification body | [Please refer to a document.]
Indicative cost of the product per unit, per 10 units and per 100 units, Ex Works (Incoterms 2010) | [Please state or refer to a document.]
Any additional information | [Please state or refer to a document.]
Next >>
<< Previous

## 2. Definitions & considerations
E008/AD01.0 Auto-disable syringes for fixed-dose immunization application review template
General dossier submission guidance and considerations
1. Standards
Various ISO standards will be required in order to appropriately complete this document.
For a full list of applicable standards, please refer to WHO/PQS/E008, Section 4, Normative references.
2. WHO requirement ID and requirement subject
In Worksheet 3 (Tech documentation review):
Column B (WHO requirement ID): The numbering and lettering scheme in Column B directly corresponds to the sections and sub-sections of ISO 7886-3. ISO 7886-3 occasionally groups several distinct requirements under a single heading. To make each individual requirement clearer and easier to track, WHO has added sequential part numbers (P1, P2, P3, etc). Column C (Requirement subject): This column identifies the main subject of each requirement listed in Column B. Use this column to quickly locate relevant requirement located in ISO 7886-3.
Worksheet 4 (SIP if relevant) operates on the same principle as Worksheet 3 except that it references ISO 23908:2024 instead of ISO 7886-3. Both worksheets use the WHO requirement ID, the relevant ISO standard, and the Requirement subject to clearly identify each specific requirement.
3. Documentation
Folder structure and file naming taxonomy:
Please refer to WHO/PQS/E008, Section 8, Application submission.
Document requirements:
Please refer to WHO/PQS/E008, Section 5, Requirements and Section 11, Test report documentation.
4. Sample size
Please refer to WHO/PQS/E008, Section 9.1, Number of samples.
5. Report types
While completing the technical documentation review (worksheet 3), applicants will come across various report types mentioned. For additional detail, please refer to WHO/PQS/E008, Section 9.2, Testing procedures. A brief summary for each report type is included below for accessibility.
Test report:
For any physical testing that follows a testing protocol and generates raw data. For specific requirements related to test reports, please refer to WHO/PQS/E008, Section 11.
The following subjects from ISO 7886-3 requirements shall be addressed with a test report of N≥10 samples (subjects tagged as situational have alternative options of demonstrating compliance):
|  |  | • Material: toxicity and pyrogenicity (5a-P4) | • Nominal capacity (8) | • Piston forces (11.2) | • Plunger: liquid leakage (13.3-P1)
|  |  | • Biocompatibility (5d) | • Barrel: dimensions, capacity (10.1) | • Needle tubing (12.1) (situational) | • Auto-disable feature: override (13.4b)
|  |  | • Acidity and alkalinity (6.2) | • Barrel flanges: fit for purpose (10.2-P2) | • Needle union force (12.2) | • Performance after drop test and vibration test (13.5)
|  |  | • Extractable metals (6.3) | • Plunger stopper: detachment, air leakage (11.1-P2) | • Conical fitting (12.3-P2) (situational) | • Unit packaging: sterility (14.1-P2)
|  |  | • Lubricant: interior surface (7-P2) | • Plunger: minimum length to barrel flanges (11.1-P6) | • Dead space (13.2) | • User packaging (14.3)
Inspection report:
For any visual requirements (scale markings, labelling, etc.), it is expected that the manufacturer completes first article inspection of at least 10 units from the production line with an accompanying test report including raw data and referencing all requirements.
WHO encourages manufacturers to supplement inspection reports with a product image demonstrating the appropriate feature. Please refer to WHO/PQS/E008, Section 11.6, Images.
For packaging requirements, digital graphic files or images of packaging artwork will NOT be accepted as sufficient demonstration of compliance. Supplemental images must capture the final product packaging in its true form.
The following subjects from ISO 7886-3 requirements shall be addressed with an inspection report:
|  |  | • Defects (5a-P1) | • Scale markings: quantity (9.1-P1) | • Unit packaging: individually sealed (14.1-P1)
|  |  | • Barrel material: clarity (5a-P5) | • Scale markings: thickness (9.1-P2) | • Unit packaging (15.3a through 15.3h)
|  |  | • Particulates and extraneous matter (6.1) | • Scale markings: angles (9.1-P3) | • User packaging (15.4a through 15.4m)
|  |  | • Lubricant: luer channel (7-P1) | • Scale markings: position (9.2) | • Storage container (15.5a through 15.5i)
|  |  | • Lubricant: needle tube (7-P4) | • Barrel flanges: fit for purpose (10.2-P1) | • Wrapping information: marking (15.6)
External usability report:
For the qualitative use requirements, WHO requires an external usability report that provides the data from use by at least N=15* of the intended users of the device (or similar) in a simulated use scenario in order to assess acceptability or functionality (reference Annex A guidance from ISO 23908).
The following subjects shall be addressed with external usability testing (subjects tagged as situational have alternative options of demonstrating compliance):
|  |  | • Defects (5a-P1) | • Use forces (5f-P1) (situational) | • Auto-disable performance (13.1)
|  |  | • Barrel flanges: fit for purpose (5a-P2) | • Barrel flanges: fit for purpose (10.2-P1) | • No reuse (13.4a)
|  |  | • Design specifications: barrel flanges (5a-P3) | • Plunger: operation difficulty (11.1-P5) | • Unit packaging: contamination risk (14.1-P3)
|  |  | • Size, shape, strength (5e-P1) | • Non-integrated needle (12.3-P1) | • Multiple unit pack: contamination risk (14.2-P1)
|  |  | • Design specifications: usability, risk (5e-P2) | • Sharps injury protection: fit for purpose (12.4-P2) | • Manufacturer information/instructions for use (15.1)
*This sample size is based off of FDA recommendations for usability testing of medical devices (https://www.fda.gov/media/80481/download).
Internal usability report:
For the binary use requirements (i.e., the device passes or it does not), WHO requires an internal usability report that provides data from benchtop use by manufacturer technicians (or similar) to verify specific device characteristics or features (N≥10 samples).
Based on ISO 7886-3 requirements, the following subjects shall be addressed with internal usability testing:
• Barrel length: air bubbles, nominal capacity (5c-P1)
• Plunger design: one-handed use (11.1-P1)
• Auto-disable feature: passive/automatic activation (13.4)
• Unit packaging: post opening (14.1-P5)
• Multiple unit pack: post opening (14.2-P3)
6. Risk analysis
Please refer to WHO/PQS/E008, Section 7, Product dossier
Based on ISO 7886-3 requirements, the risk analysis, at a minimum, shall cover the following subjects (subjects tagged as situational have alternative options of demonstrating compliance):
• Design specifications: barrel flanges (5a-P3)
• Design specifications: usability, risk (5e-P2)
• Use forces (5f-P1) (situational)
• Initiation force (5f-P2)
7. Points for consideration
• Performance after drop test and vibration test (13.5): This requirement stipulates that the referenced ASTM methods for drop and vibration testing must be done as preconditioning for performance testing. It is not sufficient to say that packaging is not damaged after the shipping tests, but rather device functionality after drop and vibration testing must be fully demonstrated through performance testing. WHO recommends following these ASTM methods as preconditioning for all samples used in Section 13 Performance testing to fulfill this requirement. ASTM methods for drop and vibration testing must be referenced as a preconditioning method in the test reports and test protocols for all Section 13 testing.
• USL/LSL (SIP only): Please refer to WHO/PQS/E008, Annex 1 – USL/LSL determination for ISO 23908:2024 requirements.
• Summary statements of performance are not acceptable. All individual data points shall be included in test reports for both quantitative AND qualitative data.
• Not all requirements are applicable to all products (integrated versus non-integrated needles, SIP or no SIP, etc.). When a requirement does not apply to the product, please mark the row as NA and include in the comment box WHY it does not apply.
• Criteria that reference compliance to another requirement as sufficient evidence of compliance means that no additional information is needed if appropriate information is supplied for the reference clause. However, such references are only acceptable when explicitly stated as permissible in the Technical Documentation Review Sheet. In all other cases, direct evidence of compliance must be provided.
• For devices with SIP features, a usability evaluation plan shall encompass details such as objectives, methods, participant criteria, tasks, metrics and a timeline to systematically assess the user experience, safety and effectiveness of the syringes.
8. Abbreviations
| ASTM | ASTM International
| FDA | United States Food and Drug Administration
| ISO | International Organization for Standardization
| LSL | lower specification limit
| NA | Not applicable
| PQS | Performance, Quality and Safety
| SIP | sharps injury protection
| USL | upper specification limit
Next >>
<< Previous

## 3. Tech documentation review
E008/AD01.0 Auto-disable syringes for fixed-dose immunization application review template
| Instructions | [9 empty] | Subsequent review instructions:
| Refer to details in the E008/AD01.0 PQS combined specification and testing protocol prior to completing the technical document review table below. All document titles referenced in the table shall be present in the appropriate folders in the dossier submission for full review. | [9 empty] | For applicant responses to any WHO PQS review, all additional comments and document references shall be restricted to "Applicant response" and "Updated documentation" columns. Do not revise previous inputs on the template. Only new documentation needs to be included on subsequent submissions.
| Color coding: |  | Blue cells are for reference only.
Green cells are to be filled out by the applicant only.
Grey cells are to be filled out by the dossier assessor only.
To protect the form, some cells are locked. If you need more space, you can still adjust the height and width of editable cells. To change a column's width or a row's height, hover your cursor over the line between the column headers (e.g., between A and B) or row headers (e.g., between 1 and 2). Your cursor will turn into a double-headed arrow. Click and drag the line to your desired width or height.
Column heading and description
| WHO requirement ID: |  | Numbering corresponds to ISO 7886-3 numbering, with part numbers (P1, P2, etc.) used to identify breakdowns of individual requirements. See Worksheet 2 (Definitions and considerations) for a full definition of this term.
| Requirement subject: |  | A brief description of the main topic being addressed by each requirement. Applicant must refer to ISO 7886-3:2020 for full details of requirements. See Worksheet 2 (Definitions and considerations) for a full definition of this term.
| Criteria description for meeting requirement: |  | WHO's interpretation of what is required to meet the ISO requirements to fully demonstrate compliance with the standard.
| Reference data document title: |  | File where raw data or supporting information can be found to demonstrate compliance with the related requirement. Where applicable, this shall include the location within the document where the requirement-specific information can be found
(i.e., page number and section). Refer to file naming structure outlined in WHO/PQS/E008/AD01.0.
| Reference test protocol document title: |  | Any test protocols or standard operating procedures utilized for obtaining raw data shall be referenced here and supplied in dossier. Reference to the overarching ISO standard/clause number DOES NOT suffice.
| Relevant calibration certificate(s) document title: |  | Calibration certificates must be supplied for all calibrated test fixtures and equipment used in the related device testing.
| Applicant's comments: |  | Any additional comments from the applicant for a requirement may be added here.
| [Reference included in dossier?]: |  | For assessor use only. Was a document found in the dossier that addresses the respective requirement?
| Assessor determination: |  | For assessor use only. One of three categories will be assigned upon review: demonstrated compliance, assumed compliance, non-compliant.
| Assessor comments: |  | Any additional comments from the assessor for a requirement may be added here.
|  | Dossier status: | All compliant [ ]
Not all compliant [ ]
| Review summary | Review number | Executive Summary | Assessor | Review date
Review 1:
Review 2:
Review 3:
| Technical documentation | [9 empty] | Review 2 |  |  |  | Review 3
| WHO requirement ID | Requirement subject | Criteria description for meeting requirement | Reference data document title | Reference test protocol document title | Relevant calibration certificate(s) document title | Applicant's comments | [Reference included in dossier]? | Assessor determination | Assessor comments | Applicant response | Updated documentation | Assessor determination | Assessor comments | Applicant response | Updated documentation | Assessor determination | Assessor comments
EXAMPLE: | 1 | Example | Test report and risk analysis report | "1-SafeMed-SecureSyringe0.5mL AD-E008-LABORATORY TEST REPORT-EXAMPLE TEST.pdf" and "SafeMed-SecureSyringe0.5mL AD-E008-RISK ANALYSIS REPORT.pdf" page 3, Clause 5.2.1 | "1-SafeMed-SecureSyringe0.5mLAD-E008-TEST PROTOCOL-EXAMPLE TEST.pdf" | "SafeMed-SecureSyringe0.5mLAD-E008-CALIBRATION CERTIFICATE-ANALYTICAL BALANCE.pdf" |  | Yes | Demonstrated compliance
General Requirements | 5a-P1 | Defects | Inspection report and external usability report
| 5a-P2 | Barrel flanges: fit for purpose | External usability report
| 5a-P3 | Design specifications: barrel flanges | Risk analysis report and external usability report
| 5a-P4 | Material: toxicity and pyrogenicity | Test report
| 5a-P5 | Barrel material: clarity | Inspection report
| 5b | Sharps injury protection | Complete SIP (worksheet 4) if applicable
| 5c-P1 | Barrel length: air bubbles, nominal capacity | Internal usability report
| 5c-P2 | Barrel length: dosage, waste | Demonstrated compliance with Clause 8: Nominal capacity applies
| 5d | Biocompatibility | Test report
| 5e-P1 | Size, shape, strength | External usability report
| 5e-P2 | Design specifications: usability, risk | Risk analysis report and external usability report
| 5f-P1 | Use forces | Risk analysis report OR External usability report
| 5f-P2 | Initiation force | Risk analysis report
Extraneous Matter | 6.1 | Particulates and extraneous matter | Inspection report
| 6.2 | Acidity and alkalinity | Test report
| 6.3 | Extractable metals | Test report
Lubricant | 7-P1 | Lubricant: luer channel | Inspection report
| 7-P2 | Lubricant: interior surface | Test report and certificate of compliance with a national or the European pharmacopoeia and demonstrated compliance with Clause 5d: Biocompatibility applies
| 7-P3 | Lubricant: biocompatibility | Demonstrated compliance with Clause 5d: Biocompatibility applies
| 7-P4 | Lubricant: needle tube | Inspection report and demonstrated compliance with Clause 7-P2: Lubricant: interior surface applies
Tolerance on nominal capacity | 8 | Nominal capacity | Test report
Graduated Scale | 9.1-P1 | Scale markings: quantity | Inspection report
| 9.1-P2 | Scale markings: thickness | Inspection report
| 9.1-P3 | Scale markings: angles | Inspection report
| 9.2 | Scale markings: position | Inspection report and demonstrated compliance with Clause 8: Nominal capacity applies
Barrel | 10.1 | Barrel: dimensions, capacity | Test report and demonstrated compliance with Clause 8: Nominal capacity applies
| 10.2-P1 | Barrel flanges: fit for purpose | Inspection report and external usability report
| 10.2-P2 | Barrel flanges: fit for purpose | Test report
Plunger stopper/ Plunger assembly | 11.1-P1 | Plunger design: one-handed use | Internal usability report
| 11.1-P2 | Plunger stopper: detachment, air leakage | Test report
| 11.1-P3 | Plunger: length | Demonstrated compliance with Clause 8: Nominal capacity applies
| 11.1-P4 | Plunger: removal, re-insertion | Demonstrated compliance with Section 13: Performance applies
| 11.1-P5 | Plunger: operation difficulty | External usability report
| 11.1-P6 | Plunger: minimum length to barrel flanges | Test report
| 11.2 | Piston forces | Test report
| 11.3 | Fiducial line | Demonstrated compliance with Clause 9.2: Scale markings: position applies
Needle | 12.1 | Needle tubing | Certificate of compliance with ISO 9626 from needle manufacturer if outsourced OR If internally manufacturing needles, test report(s)
| 12.2 | Needle union force | Test report
| 12.3-P1 | Non-integrated needle | External usability report
| 12.3-P2 | Conical fitting | Certificate of compliance with ISO 80369-7 from needle manufacturer if outsourced OR If internally manufacturing needles, test report(s)
| 12.4-P1 | Sharps injury protection | Complete SIP (worksheet 4) if applicable
| 12.4-P2 | Sharps injury protection: fit for purpose | External usability report
Performance | 13.1 | Auto-disable performance | External usability report
| 13.2 | Dead space | Test report
| 13.3-P1 | Plunger: liquid leakage | Test report
| 13.3-P2 | Plunger: air leakage | Demonstrated compliance with Clause 11.1-P2: Plunger stopper: detachment, air leakage applies
| 13.4 | Auto-disable feature: passive/automatic activation | Internal usability report
| 13.4a | No reuse | External usability report
| 13.4b | Auto-disable feature: override | Test report
| 13.5 | Performance after drop test and vibration test | Test reports and confirmation that samples used in Section 13: Performance on performance testing were preconditioned in accordance with ASTM D999-01 and ASTM D5276-98
Packaging | 14.1-P1 | Unit packaging: individually sealed | Inspection report
| 14.1-P2 | Unit packaging: sterility | Test report from packaging integrity testing
| 14.1-P3 | Unit packaging: contamination risk | External usability report
| 14.1-P4 | Unit packaging: protection | Demonstrated compliance with Clause 13.5: Performance after drop test and vibration test applies
| 14.1-P5 | Unit packaging: post opening | Internal usability report
| 14.2-P1 | Multiple unit pack: contamination risk | External usability report
| 14.2-P2 | Multiple unit pack: protection | Demonstrated compliance with Clause 13.5: Performance after drop test and vibration test applies
| 14.2-P3 | Multiple unit pack: post opening | Internal usability report
| 14.3 | User packaging | Demonstrated compliance with Clause 13.5: Performance after drop test and vibration test applies, along with stability test report
Information supplied by the manufacturer | 15.1 | Manufacturer information/instructions for use | External usability report and manufacturer information
| 15.2a-b | Syringe barrel information: markings | Demonstrated compliance with Section 9: Graduated scale applies
| 15.3a | Unit packaging information: for single use/do not reuse | Inspection report
| 15.3b | Unit packaging information: reuse prevention symbol
| 15.3c | Unit packaging information: manufacturer name, trademark
| 15.3d | Unit packaging information: sterile/sterilization method
| 15.3e | Unit packaging information: damage warning
| 15.3f | Unit packaging information: lot, batch
| 15.3g | Unit packaging information: expiration date
| 15.3h | Unit packaging information: description of contents
| 15.4a | User packaging information: for single use/do not reuse | Inspection report
| 15.4b | User packaging information: reuse prevention symbol
| 15.4c | User packaging information: manufacturer name, trademark
| 15.4d | User packaging information: sterile/sterilization method
| 15.4e | User packaging information: damage warning
| 15.4f | User packaging information: lot, batch
| 15.4g | User packaging information: expiration date
| 15.4h | User packaging information: description of contents
| 15.4i | User packaging information: integrity warning
| 15.4j | User packaging information: Do not recap needle
| 15.4k | User packaging information: handling, storage, disposal
| 15.4l | User packaging information: use instructions
| 15.4m | User packaging information: unit quantity
| 15.5a | Storage container information: description of contents | Inspection report
| 15.5b | Storage container: reuse prevention symbol
| 15.5c | Storage container information: lot, batch
| 15.5d | Storage container information: expiration date
| 15.5e | Storage container information: sterile/sterilization method
| 15.5f | Storage container information: sterile/sterilization method; Do not use if package is damaged
| 15.5g | Storage container information: manufacturer name, trademark
| 15.5h | Storage container information: storage, handling, transport
| 15.5i | Storage container information: unit quantity
| 15.6 | Wrapping information: marking | Inspection report
<< Previous
Next >>

## 4. SIP (if relevant)
E008/AD01.0 Auto-disable syringes for fixed-dose immunization application review template - SIP feature
| Instructions: | [9 empty] | Subsequent review instructions:
| Refer to details in E008/AD01.0 PQS combined specification and testing protocol prior to completing the technical document review table below. All document titles referenced in the table shall be present in the appropriate folders in the dossier submission for full review. | [9 empty] | For applicant responses to any WHO PQS review, all additional comments and document references shall be restricted to "Applicant response" and "Updated documentation" columns. Do not revise previous inputs on the template. Only new documentation needs to be included on subsequent submissions.
| Color coding: |  | Blue cells are for reference only.
Green cells are to be filled out by the applicant only.
Grey cells are to be filled out by the dossier assessor only.
To protect the form, some cells are locked. If you need more space, you can still adjust the height and width of editable cells. To change a column's width or a row's height, hover your cursor over the line between the column headers (e.g., between A and B) or row headers (e.g., between 1 and 2). Your cursor will turn into a double-headed arrow. Click and drag the line to your desired width or height.
Column heading and description
| WHO requirement ID: |  | Numbering corresponds to ISO 23908:2024 numbering, with part numbers (P1, P2, etc.) used to identify further breakdowns of individual requirements. See Worksheet 2 (Definitions and considerations) for a full definition of this term.
| Requirement subject: |  | A brief description of the main topic being addressed by each requirement. Applicant must refer to ISO 23908:2024 for full details of requirements. See Worksheet 2 (Definitions and considerations) for a full definition of this term.
| Criteria description for meeting requirement: |  | WHO's interpretation of what is required to meet the ISO requirements to fully demonstrate compliance with the standard.
| Reference data document title: |  | File where raw data or supporting information can be found to demonstrate compliance with the related requirement. Where applicable, this shall include the location within the document where the requirement-specific information can be found
(i.e., page number and section). Refer to file naming structure outlined in WHO/PQS/E008/AD01.0.
| Reference test protocol document title: |  | Any test protocols or standard operating procedures utilized for obtaining raw data shall be referenced here and supplied in dossier. Reference to the overarching ISO standard/clause number DOES NOT suffice.
| Relevant calibration certificate(s) document title: |  | Calibration certificates must be supplied for all calibrated test fixtures and equipment used in the related device testing.
| Applicant's comments: |  | Any additional comments from the applicant for a requirement may be added here.
| [Reference included in dossier?]: |  | For assessor use only. Was a document found in the dossier that addresses the respective requirement?
| Assessor determination: |  | For assessor use only. One of three categories will be assigned upon review: demonstrated compliance, assumed compliance, non-compliant.
| Assessor comments: |  | Any additional comments from the assessor for a requirement may be added here.
|  | Dossier status: | All compliant [ ]
Not all compliant [ ]
| Review summary | Review number | Executive Summary | Assessor | Review date
Review 1:
Review 2:
Review 3:
| Technical documentation | [9 empty] | Review 2 |  |  |  | Review 3
| WHO requirement ID | Requirement subject | Criteria description for meeting requirement | Reference data document title | Reference test protocol document title | Relevant calibration certificate(s) document title | Applicant's comments | [Reference included in dossier]? | Assessor determination | Assessor comments | Applicant response | Updated documentation | Assessor determination | Assessor comments | Applicant response | Updated documentation | Assessor determination | Assessor comments
General | 5.1.1 | Risk assessment | Risk analysis report
| 5.1.2-P1 | Usability engineering | Usability evaluation plan
| 5.1.2-P2 | User evaluations | External usability report
| 5.1.2-P3 | Usability risks | Risk analysis report and external usability report
| 5.1.2-P4 | SIPM: Integrated | Inspection report OR external usability report (for stand-alone SIPMs only)
| 5.1.2-P5 | Pre-use assembly | Risk analysis report and external usability report
| 5.1.3-P1 | SIPM activation: hand location | External usability report
| 5.1.3-P2 | One-handed activation: preferred | External usability report
| 5.1.4-P1 | Intended performance and disposal | External usability report
| 5.1.4-P2 | Device clinical performance | External usability report
| 5.1.4-P3 | Inadvertent activation | External usability report and demonstrated compliance with Clause 5.3: Security of safe mode operation
| 5.1.4-P4 | Sharps injury protection | External usability report and demonstrated compliance with Clause 5.3: Security of safe mode operation
| 5.1.5 | Safe mode: protection | Demonstrated compliance with Clauses 6.4: Challenging the SIPM in safe mode and 6.5: Testing access to the sharp in safe mode
| 5.1.6 | Safe mode: indication | External usability report
| 5.1.7 | Safety feature: reliability | External usability report
Activation of SIPM | 5.2.1-P1 | A-SIPM: activation | External usability report and demonstrated compliance with Clause 6.3: Testing activation of a sharps injury prevention mechanism
| 5.2.1-P2 | Activation force | Defined activation force based on risk analysis and verified by following the steps in Clause 6.2: Test procedure and results analysis methodology *See WHO/PQS/E008 combined specification and testing protocol Annex 1 – USL/LSL determination for ISO 23908:2024 requirements for additional guidance on determining USL and LSL
| 5.2.1-P3 | Misuse situations | Risk analysis report
| 5.2.2-P1 | P-SIPM: safe mode | External usability report
| 5.2.2-P2 | P-SIPM: indication | External usability report
Security of safe mode operation | 5.3a-P1 | Force resistance | Test report
| 5.3b-P2 | Accidental sharps access | Test report
| 5.3c-P3 | Free-fall damage | Test report
| 5.3-P4 | Minimum overriding forces | Defined minimum overriding forces based on risk analysis and verified by following the process described in Section 6; and risk analysis report
| 5.3-P5 | A-SIPM: activation methods | Risk analysis report
| 5.3-P6 | Physical deformation risk | Risk analysis report
Test methods | 6 | Test methods | Test reports for all test methods described in Section 6: Test methods
Information supplied | 7.1-P1 | Use and manufacturer information | External usability report, instructions for use and manufacturer information
| 7.1-P2 | Use information location | Inspection report and external usability report
| 7.1-P3 | Recycling instructions | Recommended, not a requirement
Marking/labelling | 7.2-P1 | Safe use markings | Inspection report
| 7.2-P2 | Marking/labelling | Inspection report
| 7.2-P3 | Reuse information | External usability report and instructions for use
Instructions for use | 7.3-P1 | Manufacturer information/instructions for use | External usability report and instructions for use
| 7.3a-P2 | Manufacturer information/instructions for use: precautions/warnings | Inspection report
| 7.3b-P3 | Manufacturer information/instructions for use: identification | Inspection report
| 7.3b-P4 | Manufacturer information/instructions for use: description | Inspection report
| 7.3d-P5 | Manufacturer information/instructions for use: safe activation | Inspection report
| 7.3e-P6 | Manufacturer information/instructions for use: disposal/recycling | Inspection report
| 7.3f-P7 | Manufacturer information/instructions for use: issue date | Inspection report
<< Previous
Back to cover >>