Pre-submission form

WHO’s prequalification assessment of in vitro diagnostics, effective January 2026

Pre-submission form; WHO’s prequalification assessment of in vitro diagnostics, effective January 2026

Regulation and Prequalification Department, Health Systems, Access and Data Division

WHO/MHP/RPQ/PQT/2025.6

© World Health Organization 2025

Some rights reserved. This work is available under the Creative Commons Attribution-NonCommercial-ShareAlike 3.0 IGO licence (CC BY-NC-SA 3.0 IGO; https://creativecommons.org/licenses/by-nc-sa/3.0/igo).

Under the terms of this licence, you may copy, redistribute and adapt the work for non-commercial purposes, provided the work is appropriately cited, as indicated below. In any use of this work, there should be no suggestion that WHO endorses any specific organization, products or services. The use of the WHO logo is not permitted. If you adapt the work, then you must license your work under the same or equivalent Creative Commons licence. If you create a translation of this work, you should add the following disclaimer along with the suggested citation: “This translation was not created by the World Health Organization (WHO). WHO is not responsible for the content or accuracy of this translation. The original English edition shall be the binding and authentic edition”.

Any mediation relating to disputes arising under the licence shall be conducted in accordance with the mediation rules of the World Intellectual Property Organization (http://www.wipo.int/amc/en/mediation/rules/).

Suggested citation. Pre-submission form; WHO’s prequalification assessment of in vitro diagnostics, effective January 2026. Geneva: World Health Organization; 2025 (PQDx_015). Licence: CC BY-NC-SA 3.0 IGO.

Cataloguing-in-Publication (CIP) data. CIP data are available at https://iris.who.int/.

Sales, rights and licensing. To purchase WHO publications, see https://www.who.int/publications/book-orders. To submit requests for commercial use and queries on rights and licensing, see https://www.who.int/copyright.

Third-party materials. If you wish to reuse material from this work that is attributed to a third party, such as tables, figures or images, it is your responsibility to determine whether permission is needed for that reuse and to obtain permission from the copyright holder. The risk of claims resulting from infringement of any third-party-owned component in the work rests solely with the user.

General disclaimers. The designations employed and the presentation of the material in this publication do not imply the expression of any opinion whatsoever on the part of WHO concerning the legal status of any country, territory, city or area or of its authorities, or concerning the delimitation of its frontiers or boundaries. Dotted and dashed lines on maps represent approximate border lines for which there may not yet be full agreement.

The mention of specific companies or of certain manufacturers’ products does not imply that they are endorsed or recommended by WHO in preference to others of a similar nature that are not mentioned. Errors and omissions, excepted, the names of proprietary products are distinguished by initial capital letters.

All reasonable precautions have been taken by WHO to verify the information contained in this publication. However, the published material is being distributed without warranty of any kind, either expressed or implied. The responsibility for the interpretation and use of the material lies with the reader. In no event shall WHO be liable for damages arising from its use.

- Contents

Contents	iii

A. How to complete this form:	1

A.1 Electronic copy requirements	1

1.	WHO’s performance evaluation	2

1.1.	Eligibility for WHO’s performance evaluation	2

2.	Manufacturer Information	3

2.1.	Legal manufacturer	3

2.2.	Authorized contacts for the manufacturer	4

3.	Product - Information	5

3.1.	Product name and product code/catalogue number for WHO’s prequalification assessment	5

3.2.	Current instructions for use and user manual	6

3.3.	Transport, storage and operating temperatures	6

4.	Product - Disease Category, Analyte and Method	6

4.1.	Specimen type	6

4.2.	Anaemia (haemoglobin detection)	7

4.3.	CD4 counting technology	7

4.4.	Cholera	7

4.5.	Diabetes	7

4.6.	G6PD detection	7

4.7.	Hepatitis	7

4.8.	HIV	8

4.9.	Human papilloma virus	8

4.10.	Malaria	8

4.11.	Neisseria gonorrhoeae, Chlamydia trachomatis and Trichomonas vaginalis	8

4.12.	SARS-CoV-2	9

4.13.	Syphilis	9

4.14.	Tuberculosis	9

4.15.	Other disease categories	9

4.16.	Assay format	9

5.	Product - Operation	10

5.1.	Assay controls	10

5.2.	Product usage	10

5.3.	Indicative cost	10

6.	Product – Performance Characteristics	10

6.1.	Performance characteristics for serology or antigen EIAs and RDTs	10

6.2.	Specifications for CD4 technologies	10

6.3.	Specifications for nucleic acid tests	11

6.4.	Specifications for blood glucose monitors, HbA1c point of care analysers, and haemoglobin analysers	11

7.	Regulatory and Commercial Status of the Product	12

7.1.	Regulatory status of product	12

7.2.	Commercial agreements and re-branding	14

7.3.	History of product assessment by WHO	14

8.	Manufacturer - Quality Management System	14

9.	Manufacturer – Quality Management System Certification	14

10.	Manufacturer - Sites of Product Manufacture	15

10.1.	Sites of manufacture	15

10.2.	Contact person(s) for inspection	16

10.3.	Production	17

10.4.	Key suppliers	17

11.	Manufacturer Declaration	18

Annex 1: Eligibility for WHO’s abridged prequalification assessment.	20

A1 – 1	Product details	20

A1 – 2	Product name, product code	20

A1 – 3	Design and manufacturing information	21

A1 – 4	Labelling (labels and IFU)	22

- A. How to complete this form:

- This pre-submission form for WHO’s prequalification assessment of in vitro diagnostic medical devices (IVD) (this “pre-submission form” or this “form”), together with its required attachments, must be submitted only by the legal manufacturer of the product in question.

- In order to apply for an IVD to undergo WHO’s prequalification assessment, the legal manufacturer of the product (hereinafter referred to as “you” or the “manufacturer”) is required to complete and submit to WHO an application/pre-submission using the form set forth in this document, and must also provide WHO with all supporting documents and information requested and/or required by WHO.

- To complete this form, please refer to document PQDx_17 entitled “Instructions for completion of the pre-submission form” and document PQDx_298 “Eligibility criteria for WHO’s prequalification assessment of in vitro diagnostics”, which are available on WHO’s website at the following location https://extranet.who.int/prequal/vitro-diagnostics/prequalification-guidance.

- For each field contained in this pre-submission form, please type the relevant text or tick boxes (□), as required. Where information is not available or the field is not applicable, type N/A.

- The manufacturer is required to submit the completed pre-submission form and the required attachments electronically to the ePQS portal: https://extranet.who.int/prequal/epqs-portal. All documents submitted must adhere the electronic copy requirements described below. Please ensure that all attachments requested or required hereunder are provided together with this pre-submission form, at the time of its submission.

- A.1 Electronic copy requirements

- The primary file format used for documents submitted to WHO should be Portable Document Format (PDF). The manufacturer must not include any PDF in the electronic submission that requires a password to open it.

- The document must be compatible with optical character recognition programs (OCR). For any scanned document, OCR must be used to allow text to be searchable. This can be verified by: (1) highlighting an area of text and (2) using the software search function to locate a particular word or phrase. If the word or phrase is not returned in the search, then the OCR did not recognize the text and it is, therefore, not searchable.

- The pre-submission form and required attachments must be submitted as separate files named as “Authorization letter”, “Pre-submission [product name]”, “Instruction for Use [IFU code or reference]”, “Photographs of the kits”, and if relevant “Annex 1: Eligibility for abridged prequalification assessment”. Keep the name of the annexes as short and practicable as possible avoiding any special characters like tilde (~), apostrophe (’), colon (:), vertical bar (|), greater than sign (>), various other symbols (e.g., →,*,β,α,∞,±,™)  asterisk (*), single quotation mark (‘), forward slash (/), less than sign (<), pound sign (#), elongated dash (–), double quotation marks (“), backward slash (\), question mark (?) and characters not from the Latin alphabet.

- The path length for each document submitted, including any folders and the file name itself, must not exceed 120 characters.

- When completing the pre-submission form, the manufacturer must use font sizes of a style and size large enough to be easily legible. Fonts smaller than 12 points must be avoided except in tables and footnotes where a font size of 10 points is acceptable.

- When creating a PDF from an electronic source document (e.g. Microsoft Word document) the manufacturer must avoid using specialist application plug-ins for capture or display data as not all reviewers of the documentation will necessarily have access to these plug-ins.

WHO’s performance evaluation

Eligibility for WHO’s performance evaluation

| Is the product required to undergo WHO’s performance evaluation as a pre-requisite to WHO’s prequalification assessment? |  |
| --- | --- |
| ☐ Yes, WHO’s performance evaluation is required for the product | Please note that before an application for WHO’s prequalification assessment of an IVD may be considered and/or accepted by WHO, a complete Expression of Interest for WHO’s performance evaluation of that IVD must have first been duly completed and submitted by the manufacturer to, and accepted by, WHO. |
|  | Date the product has been accepted for WHO’s performance evaluation: Click here to enter text. EOI number: Click here to enter text. |
| ☐ No, WHO’s performance evaluation is not required for the product |  |

Manufacturer Information

Legal manufacturer

| Name of manufacturer | Click here to enter text. |  |
| --- | --- | --- |
| Manufacturer physical address | Street Name and No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Manufacturer postal address | Street Name and No.: Click here to enter text. |  |
|  | Postal Office Box No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Manufacturer telephone number (including country code) | Click here to enter text. |  |
| Manufacturer e-mail & website addresses | Click here to enter text. |  |
| Name of manufacturer’s parent company | Click here to enter text. |  |

Authorized contacts for the manufacturer

| Name of first authorized contact | Salutation | Click here to enter text. |
| --- | --- | --- |
|  | First Name | Click here to enter text. |
|  | Middle Name | Click here to enter text. |
|  | Last Name | Click here to enter text. |
| Authorized contact postal address | Department: Click here to enter text. |  |
|  | Street Name and No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Authorized contact telephone number (including country code) | Fixed line: Click here to enter text. | Mobile phone: Click here to enter text. |
| Authorized contact email | Click here to enter text. |  |
| Authorized contact position or title | Click here to enter text. |  |
| Name of second authorized contact | Salutation | Click here to enter text. |
|  | First Name | Click here to enter text. |
|  | Second Name | Click here to enter text. |
|  | Last Name | Click here to enter text. |
| Authorized contact postal address | Department: Click here to enter text. |  |
|  | Street Name and No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |
| Authorized contact telephone number (including country code) | Fixed line: Click here to enter text. | Mobile phone: Click here to enter text. |
| Authorized contact email | Click here to enter text. |  |
| Authorized contact position or title | Click here to enter text. |  |

Product - Information

Product name and product code/catalogue number for WHO’s prequalification assessment

| State the full name of the product (hereinafter, the “product”): Click here to enter text. |  |  |  |
| --- | --- | --- | --- |
| Provide the product code(s)/catalogue number(s) for each kit size submitted for WHO prequalification: Click here to enter text. |  |  |  |
| For each product code, complete a column in the table below with a description of the kit configuration: product kit size, and list the contents, the quantity/volume of all components. - *Add additional columns if multiple kit sizes are available |  |  |  |
| Contents of the kit, including accessories | Product code: Click here to enter text. Number of tests per kit: Click here to enter text. |  | Product code: Click here to enter text. Number of tests per kit: Click here to enter text. |
| Kit component (one per line). | Indicate vial/device/bottle (include volume) |  | Indicate vial/device/bottle (include volume) |
| Click here to enter text. | Click here to enter text. |  |  |
| Click here to enter text. | Click here to enter text. |  |  |
| If reagents are supplied in more than one box, provide the reagent name, product code/catalogue number, and number of tests for each box |  |  |  |
| Name of reagent for each box | Product code/catalogue number | Reagent box size (number of tests per box) |  |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |  |
| Does the product require instrumentation? If so, please provide the dedicated or commercially available instrument’s name, product code/catalogue number, and other relevant information. |  |  |  |
| Name of instrument | Product code/catalogue number | Other relevant information |  |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |  |
| Indicate the date of product’s final design lock down |  | Click here to enter text. |  |

Current instructions for use and user manual

| Instructions for use (IFU) version number (if different IFUs are provided with different kit sizes, please include each, and identify which product code applies to which IFU) | Click here to enter text. |
| --- | --- |
| If applicable, the user manual(s) version number for dedicated instrumentation | Click here to enter text. |

Transport, storage and operating temperatures

| List transport, storage and operating temperatures and shelf life |  |  |  |  |
| --- | --- | --- | --- | --- |
| Product name (If more than one box, provide the name for each reagent box) | Transport temperature (min °C – max °C) | Storage temperature (min °C -max °C) | Operating temperature (min °C - max °C) | Shelf-life upon manufacture (months) |
| Click here to enter text. | Click here to enter text. | Click here to enter text. | Click here to enter text. | Click here to enter text. |
| Describe any additional storage conditions applicable to the product: Click here to enter text. |  |  |  |  |

Product - Disease Category, Analyte and Method

Specimen type

| Select the specimen type(s) to be used with the product |  |
| --- | --- |
| ☐ Serum | ☐ Plasma |
| ☐ Venous whole blood | ☐ Capillary whole blood |
| ☐ Dried blood spot | ☐ Concentrated sputum sediments |
| ☐ Raw sputum | ☐ Cerebrospinal fluid |
| ☐ Bronchial alveolar lavage | ☐ Lymph node aspirate |
| ☐ Stool | ☐ Urine |
| ☐ Cervical swab/specimen | ☐ Oral fluid |
| ☐ Swab: specify type Click here to enter text. | Other: Click here to enter text. |

Anaemia (haemoglobin detection)

| Select measurand |  |
| --- | --- |
| ☐ Haemoglobin |  |

CD4 counting technology

| Select the best description of the CD4 count instrument/method. |  |
| --- | --- |
| ☐ Double platform flow cytometer | ☐ Single platform flow cytometer |
| ☐ Point-of-care technology | ☐ Other: Click here to enter text. |
| Select the appropriate electricity power requirement |  |
| ☐ Alternating current (110-220V) | ☐ Direct current (battery, solar power) |
| Select the type of results obtained |  |
| ☐ CD4 counts only | ☐ CD4 counts and percent |
| ☐ CD4 counts and hematology | ☐ CD4 counts, percent and hematology |
| ☐ CD4 counts semiquantitative | ☐ CD4 counts quantitative |
| ☐ Other: Click here to enter text. |  |

Cholera

| Select V. cholerae analyte |  |
| --- | --- |
| ☐ V. cholerae O1 | ☐ V. cholerae O1 / O139 |

Diabetes

| Select measurand |  |
| --- | --- |
| ☐ Blood glucose | ☐ HbA1c (Glycated haemoglobin) |

G6PD detection

| Select measurement type |  |
| --- | --- |
| ☐ G6PD qualitative | ☐ G6PD quantitative |
| ☐ G6PD semiquantitative |  |

Hepatitis

| Select hepatitis C (HCV) analyte |  |
| --- | --- |
| ☐ Antibody only | ☐ Antigen only |
| ☐ Ab/Ag combination | ☐ Nucleic acid |
| Select hepatitis B (HBV) analyte |  |
| ☐ Surface antigen | ☐ Nucleic acid |

HIV

| Select HIV sub-type |  |
| --- | --- |
| ☐ HIV-1 only | ☐ HIV-1/2 combined detection |
| ☐ HIV-1/HIV-2 discriminatory detection | Specify: Click here to enter text. |
| Select HIV analyte |  |
| ☐ Antibody only | ☐ Antigen only |
| ☐ Ab/Ag combined detection | ☐ Ab/Ag discriminatory detection |
| ☐ Nucleic acid |  |

Human papilloma virus

| Select human papilloma virus (HPV) analyte |  |
| --- | --- |
| ☐ HPV 16, 18 | ☐ All high-risk HPV |
| ☐ Other combination of high-risk genotypes | Specify: Click here to enter text. |
| Select method of analysis |  |
| □ Genotype discrimination | ☐ Non-discrimination of genotypes |

Malaria

| Select malaria species (tick all that apply) |  |
| --- | --- |
| ☐ P. falciparum | ☐ P. vivax |
| ☐ P. ovale | ☐ P. malariae |
| ☐ P. knowlesi | ☐ PAN - all malaria species |
| Select malaria analyte |  |
| ☐ HRP2 | ☐ pLDH Specify: Click here to enter text. |
| ☐ Aldolase | ☐ Multiple/other: Specify: Click here to enter text. |
| Select type of detection |  |
| ☐ One test line | ☐ Two or more test lines |

Neisseria gonorrhoeae, Chlamydia trachomatis and Trichomonas vaginalis

| Select pathogen (tick all applicable) |  |
| --- | --- |
| ☐ Neisseria gonorrhoeae | ☐ Chlamydia trachomatis |
| ☐ Trichomonas vaginalis | Specify: Click here to enter text. |
| Select analyte |  |
| ☐ Antibody | ☐ Antigen |
| ☐ Nucleic acid |  |

SARS-CoV-2

| Select SARS-CoV-2 analyte |  |
| --- | --- |
| ☐ Antigen | ☐ Nucleic acid |

Syphilis

| Select syphilis analyte |  |
| --- | --- |
| ☐ Antibodies to T. pallidum | ☐ Antibodies to T. pallidum in combination with antibody detection to non-treponemal antigens |

Tuberculosis

| Select TB analyte |  |
| --- | --- |
| ☐ DNA of MTB or MTBC species | ☐ DNA of MTBC species and detection of MTBC genomic changes associated with resistance to one or more anti-TB drugs |
| ☐ MTBC genomic changes associated with resistance to one or more anti-TB drugs | ☐ Mycobacterial lipoarabinomannan (LAM) antigen |

Other disease categories

Specify:Click here to enter text.

Assay format

| Select the assay format for serology, antigen and nucleic acid testing technologies |  |
| --- | --- |
| ☐ Immunochromatographic (lateral flow) | ☐ Immunofiltration (flow through) |
| ☐ Agglutination | ☐ EIA (Enzyme immunoassay) |
| ☐ Recombinant immunoblot | ☐ Western blot |
| ☐ Antigen neutralization | ☐ Immunofluorescence |
| ☐ Nucleic acid test | Specify: |
|  | ☐ Nucleic acid test (qualitative) ☐ Nucleic acid test (quantitative) |
| ☐ Reverse hybridization/line probe assay | ☐ Other: Click here to enter text. |
| Assay format/method for blood glucose monitors, HbA1c analysers, and haemoglobin analysers |  |
| ☐ Specify:Click here to enter text. |  |

Product - Operation

Assay controls

| Does the assay include a control line/dot? | □ Yes |
| --- | --- |
|  | □ No |
| For nucleic acid test assays, does the assay contain an internal control? | □ Yes |
|  | □ No |
| Are control specimens (also called test-kit controls) such as positive, negative, low or high controls, supplied within the test kit or available separate from the test kit? | □ Within |
|  | □ Separate □ No |

Product usage

| How long does it take to obtain a test result (time required from specimen collection to the final result being read)? | Click here to enter text. Minutes |  |
| --- | --- | --- |
| State the minimum and maximum number of specimens (excluding controls) that can be tested in a single run | Click here to enter text. Minimum | Click here to enter text. Maximum |

Indicative cost

| Indicate the approximate cost per Test (reagent) | Click here to enter text. USD |
| --- | --- |
| Indicate the approximate instrument(s) cost, if applicable | Click here to enter text. USD |

Product – Performance Characteristics

Performance characteristics for serology or antigen EIAs and RDTs

| Provide the manufacturer's performance characteristics for the product, for each analyte (please add rows for each analyte as required) |  |  |
| --- | --- | --- |
| Clinical/Diagnostic sensitivity | Analyte: Click here to enter text. Sensitivity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |
| Clinical/Diagnostic specificity | Analyte: Click here to enter text. Specificity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |
| Invalid rate (RDTs) | Click here to enter text. % |
| Other relevant performance characteristics | Click here to enter text. |

Specifications for CD4 technologies

| Provide the manufacturer's performance characteristics for the product |  |
| --- | --- |
| Analytical range for CD4 absolute count | Click here to enter text. |
| Analytical range for CD4% | Click here to enter text. % |
| Precision (CV%) | Click here to enter text. % |
| Bias (%) | Click here to enter text. % |
| If qualitative, state sensitivity and specificity | Sensitivity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % Specificity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |

Specifications for nucleic acid tests

| Provide the manufacturer's performance specifications for the product, for each analyte/measurand* *Please add rows as required for each analyte/measurand |  |
| --- | --- |
| Clinical/Diagnostic sensitivity | Sensitivity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |
| Clinical/Diagnostic specificity | Specificity: Click here to enter text. % 95% confidence interval: (Click here to enter text. to Click here to enter text.) % |
| Precision (CV%) | Click here to enter text. % |
| Bias (%) for quantitative assays | Click here to enter text. % |
| Analytical sensitivity (Limit of detection (LOD)) | Click here to enter text. |
| Linear range for quantitative assays | Click here to enter text. |
| Invalid rate | Click here to enter text. % |

Specifications for blood glucose monitors, HbA1c point of care analysers, and haemoglobin analysers

| Provide the manufacturer's performance specifications for the product, for each measurand |  |  |
| --- | --- | --- |
| Packed cell volume (haematocrit) range (for BGM) | Click here to enter text. % |
| Precision (CV%) | Click here to enter text. % |
| Bias (%) | Click here to enter text. % |
| Trueness | Click here to enter text. |
| Linear range | Click here to enter text. |

Regulatory and Commercial Status of the Product

Regulatory status of product

Choose the regulatory version of the product submitted for WHO’s prequalification assessment from the list below and enter the approval period.

| Name of jurisdiction | Type of regulatory status | Product name Product code Period of approval: Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| --- | --- | --- |
| Australia (TGA) | ☐ Australian Register of Therapeutic Goods (ARTG) Number (aka Medical Device Inclusion Number) | Click here to enter text. |
|  | ☐ TGA Full Quality Assurance Certificate and Design Examination Certificate | Click here to enter text. |
|  | ☐ TGA Production Quality Assurance Certificate and Type-Examination Certificate | Click here to enter text. |
|  | ☐ License for manufacturer | Click here to enter text. |
|  | ☐ Other: Click here to enter text. | Click here to enter text. |
| Canada (Health Canada) | ☐ Medical device license and summary report for a Class III IVD | Click here to enter text. |
|  | ☐ Medical device license and summary report for a Class IV IVD | Click here to enter text. |
| European Economic Community (CE-mark) IVDR 2017/746 | ☐ Certificates issued under Annex IX of Regulation 2017/746 ☐ Certificates issued under Annex X and XI of Regulation 2017/746 ☐ Other Click here to enter text. | Click here to enter text. |
| European Economic Community (CE-mark) Directive 98/79/EC | ☐ Self-declared CE-mark, Annex III | Click here to enter text. |
|  | ☐ Manufacturer’s Declaration of Conformity (DoC) | Click here to enter text. |
|  | ☐ EC Full Quality Assurance Certificate and EC Design Examination Certificate, issued under Annex IV of Directive 98/79/EC (IVDD) | Click here to enter text. |
|  | ☐ EC Production Quality Assurance Certificate, issued under Annex VII and EC Type-Examination Certificate, issued under Annex V of Directive 98/79/EC (IVDD) | Click here to enter text. |
|  | ☐ EC Product Examination Certificate issued under Annex VI and EC Type-Examination Certificate issued under Annex V of Directive 98/79/EC | Click here to enter text. |
| Japan (JMHLW) | ☐ Recognized foreign manufacturer | Click here to enter text. |
|  | ☐ Minister’s approval | Click here to enter text. |
|  | ☐ Other: Click here to enter text. | Click here to enter text. |
| Singapore (HSA) | ☐ Listing on the Singapore Medical Device Register (SMDR) as Class C IVD | Click here to enter text. |
|  | ☐ Listing on the Singapore Medical Device Register (SMDR) as Class D IVD | Click here to enter text. |
| Medicines and Healthcare products Regulatory Agency, United Kingdom | ☐ Certificates issued under Annex IV (Full Quality Assurance, Product Design Dossier Examination), V (EC Type Examination), VII (Production Quality Assurance) of the Medical Devices Regulations 2002 | Click here to enter text. |
| United States of America (FDA) | ☐ Premarket Approval (PMA) | Click here to enter text. |
|  | ☐ Biologics License Application (BLA license) | Click here to enter text. |
|  | ☐ 510(k) clearance | Click here to enter text. |
|  | ☐ Other: Click here to enter text. | Click here to enter text. |
| Rest of world version | ☐ The product submitted for WHO’s prequalification assessment is not approved in any of the jurisdictions listed above. |  |

Provide details of any other current regulatory approvals for the product

| (Do not include ISO 13485 certification details in this table. This is covered in section 9) |  |  |
| --- | --- | --- |
| Name of regulatory authority/jurisdiction | Type of regulatory approval | Product name Product code Period of approval: Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |

Commercial agreements and re-branding

| Do you sell or supply the product or any of the components for re-branding? | ☐ Yes |
| --- | --- |
|  | ☐ No |
| Is the product or any of the major components thereof sourced from another manufacturer? | ☐ Yes |
|  | ☐ No |
| If you have answered yes to either of the questions 7.2.1 or 7.2.2 , please provide details: Click here to enter text. |  |

History of product assessment by WHO

| Has WHO previously assessed the product? | ☐ Yes, Prequalification assessment ☐ Yes, Performance evaluation | Date accepted for assessment Click here to enter text. |
| --- | --- | --- |
|  | ☐ No |  |
| Has WHO previously assessed the product under a different name? | ☐ Yes, Prequalification assessment ☐ Yes, Performance evaluation | Date accepted for assessment Click here to enter text. |
|  | ☐ No |  |
| If you answered yes to 7.1.2, please provide the name, product code(s), PQDx number and/or EOI number (as applicable) of the previously assessed product: Click here to enter text. |  |  |

Manufacturer - Quality Management System

| Does the manufacturer have a quality management system in place for the design, development and production of the product? | ☐ Yes |
| --- | --- |
|  | ☐ No |
| Does this quality management system meet the requirements of ISO 13485 Medical devices — Quality management systems — Requirements for regulatory purposes? | ☐ Yes |
|  | ☐ No |
| Does the quality management system meet the requirements of other similar standards e.g. those required by other jurisdictions? If yes, please provide details. | Click here to enter text. |

Manufacturer – Quality Management System Certification

Please provide details regarding any certification held by the manufacturer in respect of the quality management system used for the manufacture of the product.

| Type of QMS e.g. ISO 13485:2016 | Name of certification body | Current period of certification Start (DD/MM/YY) - Expiry (DD/MM/YY) |
| --- | --- | --- |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |

Manufacturer - Sites of Product Manufacture

Sites of manufacture

Please provide the address where manufacturing of the product occurs. If multiple manufacturing locations are involved in the manufacture of the product, please complete table 10.1.1.

| Manufacturing address | Street Name and No.: Click here to enter text. |  |
| --- | --- | --- |
|  | Postal Office Box No.: Click here to enter text. |  |
|  | City: Click here to enter text. |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |

Other sites of manufacture

| - List all sites that are involved in each and every stage of the manufacture of the product. |  |  |
| --- | --- | --- |
| Description of the stage of manufacture | Name of site | Physical address of site |
| Design & Development | Click here to enter text. | Click here to enter text. |
| Raw materials | Click here to enter text. | Click here to enter text. |
| (list the site(s) manufacturing each of the critical raw materials, e.g. assay buffer) |  |  |
| Assembly of device | Click here to enter text. | Click here to enter text. |
| (if multiple sites are involved, detail which step(s) occur at each site, e.g. nitrocellulose card lamination) |  |  |
| In-process quality control (QC) | Click here to enter text. | Click here to enter text. |
| (if multiple sites are involved, detail which incoming QC step(s) occur at each site). |  |  |
| Primary packaging | Click here to enter text. | Click here to enter text. |
| (e.g. device pouch for RDTs) |  |  |
| Secondary packaging | Click here to enter text. | Click here to enter text. |
| (e.g. box of 25 RDTs) |  |  |
| Labelling | Click here to enter text. | Click here to enter text. |
| (e.g. lot number, expiry date, IFU) |  |  |
| Lot release QC | Click here to enter text. | Click here to enter text. |
| Warehousing of finished products | Click here to enter text. | Click here to enter text. |
| Release for supply | Click here to enter text. | Click here to enter text. |
| Customer complaints | Click here to enter text. | Click here to enter text. |
| Technical support | Click here to enter text. | Click here to enter text. |

Contact person(s) for inspection

Please provide below the details of the manufacturer’s authorized contact(s) for the planning and conduct of manufacturing site(s) inspection, in the event that WHO determines that such an inspection is required. If there are multiple manufacturing sites, you may provide one authorized contact per site.

| Name of inspection authorized contact | Click here to enter text. |  |  |  |
| --- | --- | --- | --- | --- |
| Postal address of inspection authorized contact | Site: Click here to enter text. |  |  |  |
|  | Department: Click here to enter text. |  |  |  |
|  | Street Name and No.: Click here to enter text. |  |  |  |
|  | City: Click here to enter text. |  |  |  |
|  | Postcode: Click here to enter text. | Country: Click here to enter text. |  |  |
| Telephone number (including country code) of inspection authorized contact | Fixed line: Click here to enter text. | Mobile phone: Click here to enter text. |  |  |
| Authorized contact’s email | Click here to enter text. |  |  |
| Authorized contact position or title | Click here to enter text. |  |  |  |
| Does inspection authorized contact have ePQS access? | ☐ Yes |  | ☐ No, to be requested |  |

Production

| How many lots of the product do you manufacture per calendar year? | Click here to enter text. per year |
| --- | --- |
| What is the average size of a lot? | Click here to enter text. |
| How many of this test/device in total do you manufacture per calendar year? | Click here to enter text. tests/devices per year |
| How many instruments in total do you manufacture per calendar year? | Click here to enter text. instruments per year |

Key suppliers

| List all key suppliers which supply products, components and/or services for the manufacture of the product (e.g. raw materials, enzymes, key components, bulk chemicals and reagents, instruments, sterile lancets etc.) |  |  |  |
| --- | --- | --- | --- |
| Description of the component/product/service supplied | Name of supplier | Physical address of supplier | Other information |
| Click here to enter text. | Click here to enter text. | Click here to enter text. |  |

Manufacturer Declaration

The undersigned, acting in his/her capacity as a duly authorized representative of the Manufacturer (as defined below), makes the following declarations in the name and on behalf of the Manufacturer:

I, the undersigned, hereby declare that:

- I am duly and fully authorized to represent, and act in the name and on behalf of, the legal manufacturer of the Product (as defined herein) whose name is specified in this pre-submission form  (the "Manufacturer") in all respects and for all purposes in connection with  WHO’s prequalification assessment of the product that is specified in this pre-submission form (the "Product").

- I have all requisite power and authority to bind the Manufacturer (including, without limitation, to the terms of this pre-submission form) in connection with WHO’s prequalification assessment of the Product.

- All the information provided in this pre-submission form is current, complete and correct.

- Any changes to the information provided in this pre-submission form will be readily communicated by the Manufacturer to WHO.

- The Manufacturer holds data in support of all claims made in this form.

- The Manufacturer understands and agrees that:

  - The “Overview of WHO’s prequalification procedure for in vitro diagnostics” (the “PQ Procedure”) shall apply to WHO’s prequalification assessment of the Product in all respects and for all purposes; and

  - WHO’s prequalification assessment of the Product shall be undertaken subject to and in accordance with the terms and conditions of the PQ Procedure; and

  - Before WHO’s prequalification assessment of the Product may commence or proceed, the Manufacturer must first fully meet the conditions mentioned in clauses i), ii) and iii) of Section 6.4 of the PQ Procedure.

- Without prejudicing or otherwise limiting any terms and conditions of the PQ Procedure and/or the PQ Letter of Agreement, the Manufacturer further acknowledges and agrees that:

  - WHO will have and maintain full, exclusive and unfettered control over the prequalification assessment process, over any any outcomes, reports, notices and/or results whether in draft or final form and whether positive or negative, and over the publication of any results of WHO’s prequalification assessment, regardless of the outcome; and

  - WHO reserves the right to use, publish, issue, share with relevant regulatory and/or other authorities as well as with UN agencies, funds and programmes and/or other relevant intergovernmental or international organizations, and/or make publicly available (in each case, in accordance with the provisions of the PQ Procedure, including provisions regarding the protection of an commercially sensitive confidential information of the Manufacturer) any outcomes, reports, notices and/or results—whether in draft or final form, and whether positive or negative — arising from or relating to:  (i) WHO’s prequalification assessment process including, but not limited to, the product dossier review, manufacturing site inspection and labelling review; and/or (ii) WHO’s decision whether or not to prequalify a product, and including without limitation, any confidential information to which WHO may gain access in the course of WHO’s prequalification assessment .

- The Manufacturer acknowledges and agrees that:

  - as a prerequisite for the Product to be submitted to and apply for WHO’s prequalification assessment pursuant to and in accordance with the PQ Procedure, an Expression of Interest form for the Product to undergo WHO’s performance evaluation of an IVD must first be submitted by the Manufacturer to and accepted by WHO;

  - the Manufacturer commits to complete the performance evaluation of the Product by the time WHO’s prequalification assessment components (i.e., product dossier review, manufacturing site inspection and labelling review) have been completed.

  - the data, information, findings, analyses, results and reports arising from or relating to WHO’s performance evaluation and/or WHO’s prequalification assessment of the Product will be used by WHO to inform its decision as to whether or not the Product: (i) can be accepted for WHO’s prequalification assessment; and/or (ii) can be granted listing under WHO’s prequalification procedure for IVDs.

  - the results of WHO’s prequalification assessment, the participation of the Manufacturer and/or the Product in WHO’s prequalification assessment process,  WHO’s decision (whether positive or negative) regarding WHO’s prequalification assessment of the Product, the inclusion of any product in the WHO list of prequalified IVDs, and/or WHO’s acronym, name and emblem, may not be used by the Manufacturer or any other party for any commercial, marketing, advertising and/or promotional purposes.

- The Manufacturer understands and agrees that, in the event that WHO decides to grant prequalification listing to the Product, the duration of the validity of the Product’s prequalification status is subject to and dependent on the Manufacturer’s fulfilment of post-qualification obligations, namely:

  - prequalification commitments; and

  - annual reporting to WHO; and

  - reporting of changes to WHO; and

  - post-market surveillance obligations; and

  - routine and non-routine inspections; and

  - ongoing compliance with WHO prequalification’s technical specifications where these exist; and

  - payment of the annual fee.

Full Legal Name of the Manufacturer:

Name and Title/Position of the Duly Authorized Representative of the Manufacturer: Click here to enter text.

Signature of the Duly Authorized Representative of the Manufacturer:_________________

Date: Click here to enter text.

- Annex 1: Eligibility for WHO’s abridged prequalification assessment.

| Fill in the following table comparing the differences between regulatory versions of the product in order to enable WHO to assess and determine whether or not the Product is eligible for abridged prequalification assessment |  |  |
| --- | --- | --- |
| Product details | Regulatory version of the product to undergo WHO’s prequalification assessment | Stringently assessed and approved version(s) (add column, if more than one) |
| Product name, product code | Click here to enter text. | Click here to enter text. |
| A1 – 2.1 The intended use of the IVD, including: | Click here to enter text. | Click here to enter text. |
| a. what is detected (i.e. analyte). | Click here to enter text. | Click here to enter text. |
| b. the function of the product (e.g. screening, monitoring, diagnostic or aid to diagnosis, staging or aid to staging of disease). | Click here to enter text. | Click here to enter text. |
| c. the specific disorder, condition or risk factor of interest that it is intended to detect, define or differentiate. | Click here to enter text. | Click here to enter text. |
| d. whether the product is automated or not. | Click here to enter text. | Click here to enter text. |
| e. whether the test is qualitative or quantitative. | Click here to enter text. | Click here to enter text. |
| f. the type of specimen(s) required (e.g. serum, plasma, venous whole blood, capillary whole blood, dried blood spot, oral fluid, sputum, urine, CSF). | Click here to enter text. | Click here to enter text. |
| g. the intended testing population. | Click here to enter text. | Click here to enter text. |
| h. the intended user (e.g. professional or lay user). | Click here to enter text. | Click here to enter text. |
| A1 – 2.2 A general description of the principle of the assay method or instrument principles of operation. | Click here to enter text. | Click here to enter text. |
| A1 – 2.3 A description of the components of the test kit (e.g. microtiter plate, test device, reagents, assay controls and calibrators, etc.) for each test kit configuration. | Click here to enter text. | Click here to enter text. |
| A1 – 2.4 A description of the reactive ingredients of relevant components (such as antibodies, antigens, nucleic acid primers). | Click here to enter text. | Click here to enter text. |
| A1 – 2.5 A description of the specimen collection and transport materials provided with the product or descriptions of specifications recommended for use. | Click here to enter text. | Click here to enter text. |
| A1 – 2.6 For instruments of automated assays: a description of the appropriate assay characteristics or dedicated assays. | Click here to enter text. | Click here to enter text. |
| A1 – 2.7 For automated assays: a description of the appropriate instrumentation characteristics or dedicated instrumentation. | Click here to enter text. | Click here to enter text. |
| A1 – 2.8 If applicable, a description of any software to be used with the product. | Click here to enter text. | Click here to enter text. |
| A1 – 2.9 If applicable, a description of the accessories (consumables, equipment) that are required but not provided within the test kit. | Click here to enter text. | Click here to enter text. |
| Design and manufacturing information | Click here to enter text. | Click here to enter text. |
| A1 – 3.1 List design differences between regulatory versions. | Click here to enter text. | Click here to enter text. |
| A1 – 3.2 List manufacturing process differences between regulatory versions. | Click here to enter text. | Click here to enter text. |
| A1 – 3.3 List differences for in-process and finalised product quality control between regulatory versions, including QC panel composition. | Click here to enter text. | Click here to enter text. |
| A1 – 3.4 List differences in sites of manufacture. | Click here to enter text. | Click here to enter text. |
| A1 – 3.5 List differences in key suppliers. | Click here to enter text. | Click here to enter text. |
| Labelling (labels and IFU) | Click here to enter text. | Click here to enter text. |
| A1 – 4.1 Submit most recent English version of instructions for use for each regulatory version, as an attachment. | Click here to enter text. | Click here to enter text. |

Refer to “Eligibility criteria for WHO’s prequalification of in vitro diagnostics” (document PQDx_298)

Please refer to “WHO’s performance evaluation procedure for in vitro diagnostics” (document PQDx_458), for more information about the requirements, terms and conditions applicable to that procedure.

ATTACHMENT: Attach an official letter from the manufacturer, signed by a duly authorized representative thereof, stating that the persons listed as “authorized contacts” under this section are duly and fully authorized/designated by the manufacturer to act in the name and on behalf of, the manufacturer in all respects and for all purposes in connection with WHO’s prequalification assessment of the IVD in question.

ATTACHMENT: Attach a copy of the English language version of the instructions for use (also referred to as a package insert)

Section 4.3 applies only to CD4 technologies and should be left blank for other types of products.

If more than one regulatory version of the product exists, and at least one regulatory version of the product has undergone stringent assessment and approval by a Recognized Regulatory Authority (see “WHO’s abridged prequalification assessment for vitro diagnostics” document PQDx_173), please also complete Annex 1 to this form in order for WHO to determine if the product can undergo WHO’s abridged prequalification assessment.

Applications for WHO’s prequalification assessment of IVDs are accepted only from the legal manufacturer of the product.

“Overview of WHO’s prequalification procedure for in vitro diagnostics” document PQDx_007 is available at the following webpage https://extranet.who.int/prequal/vitro-diagnostics/prequalification-guidance

Please refer to document PQDx_458 “WHO’s performance evaluation procedure for in vitro diagnostics” (including section 9.1 thereof) for more information about the terms, conditions and requirements applicable to WHO’s performance evaluation of IVDs.

Refer to “WHO’s abridged prequalification assessment for vitro diagnostics” document PQDx_173 for the list of stringent assessment and approvals by Recognized Regulatory Authorities that are eligible for WHO’s abridged prequalification assessment.

ATTACHMENT: Attach the English language version of the instructions for use for each regulatory version of the product