## Questionnaire
WHO/PQT/VAX/IMD/PMM Data collection tool V1.0 |  |  |  |  | 2024-06-01
0, avenue Appia – CH-1211 Geneva 27 – Switzerland – Tel central +41 22 791 2111 – Fax central +41 22 791 3111 www.who.int
Reporting period | Asset info |  |  | Functional Status |  |  |  |  | Build Quality | [12 empty] | Voltage Stabilizer/Regulator |  |  |  | Warranty
Date | Facility ID | Refrigerator ID | FT2 data | How many heat alarms with over 10 hour duration above 8°C show in the termperature log from the first day of the month to the last day of the month? | How many freeze alarms with over 1 hour duration below -0.5°C show in the temperature log from the first day of the month to the last day of the month? | How many heat alarms with 48 hour or longer duration in the temperature log from the first day of the month to the last day of the month? | Is the refrigerator working properly? | Why did the refrigerator fail? | Have there been any issues related to build quality from the first day of the month to the last day of the month? | Observation | Location | Compnent | Please take a picture. | Observation | Location | Compnent | Please take a picture. | Observation | Location | Compnent | Please take a picture. | Is the voltage stabilizer working? | If no, why not? | Has the voltage regulator been replaced from the first day of the month to the last day of the month? | If yes, why? | Has a warranty claim been made during this period? | When was the warranty claim made? | Was the warranty claim resolved within the reporting period? | How many days elapsed between when the claim was made and when the repair occurred?
month/ year | Facility name or ID | serial # or asset ID | Y/N was it downloaded? | Numeric | Numeric | Numeric | Yes/No | string | Yes/No | select | select | string | image | select | select | string | image | select | select | string | image | Yes/No | string | Yes/No | string | Yes/No | Date | Yes/No | numeric
Note on I4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 5 or more heat alarms in a month = Non-functional 1 or more freeze alarms in a month = Non-functional 1 or more heat alarms with duration of 48 hrs or more = Non-functional

## survey
type | values_list |  | display.prompt.text.fr | display.hint.text | display.hint.text.fr | required
string | should automatically pull from asset | Refrigerator ID |  |  |  | TRUE
date | Month / year | Reporting period |  | Enter the month and year for this report
integer |  | How many heat alarms with over 10 hour duration above 8°C show in the termperature log from the first day of the month to the last day of the month?
integer |  | How many freeze alarms with over 1 hour duration below -0.5°C show in the temperature log from the first day of the month to the last day of the month?
integer |  | How many heat alarms with 48 hour or longer duration in the temperature log from the first day of the month to the last day of the month?
Logic from above and existing status | functional_type | Is the refrigerator working properly? | calculated | 5 or more heat alarms in a month = Non-functional 1 or more freeze alarms in a month = Non-functional 1 or more heat alarms with duration of 48 hrs or more = Non-functional
logic - if no then why question below:
select_one_with_other | refrigerator_failure_type | Why did the refrigerator fail? | add placeholder columns - system/area, action taken, part(s) used | Select from list (or free text)
PAGE BREAK | These would be asked regardless of functional status
select_one_integer | yes_no | Have there been any issues related to build quality from the first day of the month to the last day of the month?
(List these options 3x: image, observation, location, component)
If so, please describe:
image |  | Please take a picture.
select_one_with_other | build_quality_reason_type_observation | Obsservation |  | Observation is the type of quality failure
select_one_with_other | build_quality_reason_type_location | General location |  | Location is where the failure is observed
string | free text of what has failed | Compnent |  | Please enter what failed, and why if known
ONLY if ILR
select_one_integer | yes_no | Is the voltage stabilizer working?
select_one_with_other | voltage_stabilizer_not_working_reason_type | If no, why not?
select_one_integer | yes_no | Has the voltage regulator been replaced from the first day of the month to the last day of the month?
select_one_with_other | voltage_stabilizer_replaced_reason_type | If yes, why?
New page - all
select_one_integer | yes_no | Has a warranty claim been made during this period?
date |  | When was the warranty claim made?
select_one_integer | yes_no | Was the warranty claim resolved within the reporting period?
integer | IF NOT REPAIRED, how to make sure this pops up in next period? | How many days elapsed between when the claim was made and when the repair occurred?

## choices
choice_list_name | data_value | display.title.text |  | display.title.text.fr
functional_type | 1 | Functional
functional_type | 0 | Non-functional
yes_no | 1 | Yes |  | Oui
yes_no | 0 | No |  | Non
refrigerator_failure_type | need_data | Need Data | free text if we cannot get options to select
build_quality_reason_type_observation |  | Broken, Burnt, Coorrosion, Deterirating, Leaking, Missing, Noisy, Other
build_quality_reason_type_location |  | Appliance (exterior), Accessory (EMS), Solar (mechanical), Solar (electrical), Appliance (interior), Not determined
voltage_stabilizer_not_working_reason_type | need_data | Need Data
voltage_stabilizer_replaced_reason_type | need_data | Need Data