## Follow-up
WHO/PQT/VAX/IMD/PMM TFA V1.0 |  |  |  |  | 2024-06-01
0, avenue Appia – CH-1211 Geneva 27 – Switzerland – Tel central +41 22 791 2111 – Fax central +41 22 791 3111 www.who.int
PMM Troubleshooting Failure Analysis (TFA)
Instructions: | A trained cold chain equipment technician (or otherwise trained and qualified assessor) should complete the TFA procedure and use this tool to record the failure observation(s) (including component that failed and failure causes), additional performance data as indicated in the procedure, and any non-failure observations made during assessment. The "Additional data" section does NOT need to be filled out completely. These questions are only meant to assist the technician in identifying the problem. Record data as needed for troubleshooting and documentation.
CCE identification |  |  |  | Record #1 | Record #2 | Record #3 | Copy columns to create additional entries
Refrigerator ID: |  |  |  | enter here | enter here | enter here
Brand and model: |  |  |  | enter here | enter here | enter here
Health facility: |  |  |  | enter here | enter here | enter here
Failure reporting
Component: |  |  |  | enter here | enter here | enter here
Failure cause #1: |  |  |  | enter here | enter here | enter here
Failure cause #2: |  |  |  | enter here | enter here | enter here
Non-failure observations
Component: |  |  |  | enter here | enter here | enter here
Concern: |  |  |  | enter here | enter here | enter here
Additional context or observations: |  |  |  | enter here | enter here | enter here
Additional data
Section | Step | Question | Field type | Input | Input | Input
2. Power supply system | 2.1.4 | AC voltage as measured (volts) | numeric
2. Power supply system | 2.1.4 | AC frequency as measured (Hz) | numeric
2. Power supply system | 2.1.4 | Appliance AC voltage requirement (volts) | numeric
2. Power supply system | 2.1.4 | Appliance AC frequency requirement (Hz) | numeric
2. Power supply system | 2.1.4 | LED diagnostic result (if applicable) | text
2. Power supply system | 2.1.7 | Voltage stabilizer AC voltage as measured (volts) | numeric
2. Power supply system | 2.1.9 | Wall power outlet AC voltage as measured (volts) | numeric
2. Power supply system | 2.2.3 | DC voltage as measured (volts) | numeric
2. Power supply system | 2.2.3 | Appliance DC voltage requirement (volts) | numeric
2. Power supply system | 2.2.4 | Open circuit voltage (volts) | numeric
2. Power supply system | 2.2.10 | Irradiance at solar array (W/m2) | numeric
2. Power supply system | 2.2.10 | Soiling severity of solar panels | list
2. Power supply system | 2.2.11.3 | Current orientation of solar array | list
2. Power supply system | 2.2.11.3 | Optimal orientation of solar array | list
2. Power supply system | 2.2.11.3 | Current tilt of the solar array, measured from the horizontal (°) | numeric
2. Power supply system | 2.2.11.3 | Optimal tilt of the solar array, measured from the horizontal (°) | numeric
3. Thermostat, controls and monitoring system | 3.4 | Thermocouple reading at thermostat sensor location (°C) | numeric
3. Thermostat, controls and monitoring system | 3.5 | Thermostat setpoint (°C or set position) | numeric
3. Thermostat, controls and monitoring system | 3.9 | Thermostat sensor: location | list
3. Thermostat, controls and monitoring system | 3.9 | Thermostat sensor: exposure to condensation buildup | list
3. Thermostat, controls and monitoring system | 3.9 | Thermostat sensor: airflow | list
3. Thermostat, controls and monitoring system | 3.13 | Thermocouple reading at external display sensor location (°C) | numeric
3. Thermostat, controls and monitoring system | 3.13 | External display temperature reading (°C) | numeric
3. Thermostat, controls and monitoring system | 3.14 | Thermocouple reading in center of compartment (°C) | numeric
4. Cooling circuit | 4.4 | Fan issues observed | list
4. Cooling circuit | 4.7 | Compressor discharge pipe temperature (°C) | numeric
5. Seals and closure | 5.1 | Are any gaps through which air could escape noticeable between the cabinet and the gasket on the door/lid? | boolean
5. Seals and closure | 5.2 | Describe any gasket damage/deterioration (including tears, missing pieces, deadhesion, looseness, wetness, or mold). | text
5. Seals and closure | 5.3 | Gap offset (mm) | numeric
5. Seals and closure | 5.5 | Describe any physical degradation of the hinges observed (including corrosion, cracking, or broken hinges). | text
6. Thermal storage | 6.1 | Is the thermal storage (e.g. ice liner) in good condition and in place? | list
6. Thermal storage | 6.1 | If no, what is wrong with the thermal storage? | list
7. Casing and storage compartment | 7.1 | Depth of condensation buildup (cm) | numeric
8. Location and external environment | 8.4 | Ambient temperature (°C) | numeric
8. Location and external environment | 8.4 | Relative humidity (%) | numeric

## Data validation
Question: | Component | Failure cause #1 | Failure cause #2 | Y/N | 2.2.10 | 2.2.11.3 | 3.9 location | 3.9 condensation | 3.9 airflow | 4.4 | 6.1 | 6.1 issue
| basket | break | abuse | Yes | none | North | bottom | none | poor | none | Yes | missing water packs
| battery | build quality | factory concealed | No | moderate | South | walls | moderate | satisfactory | not rotating | No | needs more water or PCM
| battery terminal | corrosion | factory observable |  | extreme | East | top | extreme | excellent | rotating in wrong direction | Unknown | liner not fully frozen
| battery voltmeter | damage | impact |  |  | West | other |  |  | damage | Not applicable (this refrigerator is not designed to operate with an ice liner) | other
| burner/boiler | degradation | insect |  |  | Northwest |  |  |  | other
| cabinet | disintegration | installation |  |  | Northeast
| capacitor | hot spot | misuse |  |  | Southwest
| capillary tube | incomplete | rodent |  |  | Southeast
| circuit breaker | insufficient capacity | shipping handling
| combiner | lack of maintenance | shipping sea freight
| compressor | leak | shipping trucking
| compressor electronic unit | missing | shipping storage
| condenser | misplacement | sunlight
| control panel | open circuit | water
| coupler system | orientation | other
| display | outage | unknown
| door | power quality
| drier | power tampering
| energy harvest control | shading
| evaporator | short circuit
| fan | soiling
| firmware | tampering
| flue | unauthorized use
| flue baffle | ultraviolet degradation
| freezer compartment | voltage (low)
| fuse | environmental
| gasket | other
| handle | unknown
heater
hinge
hinge cover
holdover gauge
indicator light
interconnect (electrical)
lamp (absorption)
lid
monitoring device
mounting hardware
on/off switch
phase change material (PCM)
piping
power adapter
power cable
power cable connector
remote temperature monitoring device (RTMD)
refrigerant
removable insulation
safety valve
seal (sealant)
sensor
SD card
shelf
SIM card
software
solar array
solar array cable
solar cell
solar module
solar support structure
solar power system
starter relay
status indicator - audible alarm
status indicator - autonomy gauge
status indicator - door opening
status indicator - holdover gauge
status indicator - LED
status indicator - voltage
theft deterrent fastener
thermal storage
thermocouple
thermometer
thermostat
thermostat control card
thermostat sensor lead
thermostat wiring
30-DTR
transformer
ventilation grill
voltage stabilizer
water pack
wicks
wiring
wiring connections
wiring terminals
vaccine storage compartment
other
unknown
N/A