## VC
E004 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E004/VC01.2 |  | 7 | Dossier examination fee in US dollars. | [Not Applicable]
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Brand name of the product. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | A set of digital photographs showing a three-quarter view of the unit with the lid closed, and three-quarter view with the lid fully opened and a top view of the interior with the full complement of water-packs/coolant-packs in place. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Certified photocopies of all type-approvals obtained for the product. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001:2004 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Where available, laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E004/VC02.1
WHO/PQS/E004/VC01.2 |  | 7 | Indicative cost of the product per unit, per 10 units and per 100 units, including water-packs, EXW (Incoterms 2000). | [YES/NO] | 1. 2. …
WHO/PQS/E004/VC02.1 |  |  | Indicative cost of the product per unit, per 10 units and per 100 units, including coolant-packs, EXW (Incoterms 2010).

## CB
E004 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General Information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E004/CB01.3 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Brand name of the product. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | A set of digital photographs showing a three-quarter view of the unit with the lid closed, and three-quarter view with the lid fully opened and a top view of the interior with the full complement of water-packs/coolant-packs in place. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Certified photocopies of all type-approvals obtained for the product. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001:2004 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Where available, laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E004/CB02.1
WHO/PQS/E004/CB03.1
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1
WHO/PQS/E004/CB01.3 |  | 7 | Indicative cost of the product per unit, per 10 units and per 100 units, including water-packs, EXW (Incoterms 2000). | [YES/NO] | 1. 2. …
WHO/PQS/E004/CB02.1 |  | 7 | Indicative cost of the product per unit, per 10 units and per 100 units, including coolant-packs, EXW (Incoterms 2010).
WHO/PQS/E004/CB03.1 |  | 7 | Indicative cost of the product per unit, per 10 units and per 100 units, including coolant-packs and coolant recharging and transport equipment requirement, EXW (Incoterms 2010).
WHO/PQS/E004/CB04.1
WHO/PQS/E004/CB05.1