## AL
E006 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E006/AL01.1 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E006/AL01.1 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Certified photocopies of all type-approvals obtained for the product, including CE marking and the like. | [YES/NO] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 2000 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Where available, laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | One sample of the product. If the product is available in more than one of the versions decribed in clause 4.1, provide one sample of each version. The sample(s) will be returned following evaluation provided the manufacturer pays the return carriage charge. | [YES/NO] | 1. 2. …
WHO/PQS/E006/AL01.1 |  | 7 | Indicative cost of the product per unit, per 10 units and per 100 units EXW (Incoterms 2010). | [YES/NO] | 1. 2. …

## IN
E006 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec clause | Item | Provided | Supporting document(s)
WHO/PQS/E006/IN02.1+A6:A27D6A6:A26 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E006/IN03.1
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN02.1 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN02.1 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN02.1 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN03.1 |  |  | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability and documentary evidence of claimed battery life.
WHO/PQS/E006/IN05.3 |  | 7 | Details of the legal manufacturer's internal AQL sampling procedures in respect of ISO 3951 and ISO 2859. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1 |  | 7 | Certified photocopy of Certificate of Traceability and Calibration traceable to an ISO/IEC 17025 accredited testing laboratory, to NIST, or to another internationally recognized standards agency. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1 |  | 7 | Certified photocopies of all type-approvals obtained for the product, including CE marking and the like. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN02.1 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 2000 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN02.1 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E006/IN03.1
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN02.1 |  | 7 | Laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E006/IN05.3
WHO/PQS/E006/IN03.1 |  |  | Where available, laboratory test report(s) proving conformity with the product specifications.
WHO/PQS/E006/IN02.1 |  | 7 | One sample of the product together with activation instruction insert - both in English language. | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1 |  |  | One sample of the product and of the instruction leaflet in English language.
WHO/PQS/E006/IN05.3 |  |  | A minimum of five samples of each of the types of VVM shipped in accordance with manufacturer's instructions, together with product instruction insert in English language.
WHO/PQS/E006/IN02.1 |  | 7 | Indicative cost of the product per 100 units, per 1000 units and per 10,000 units EXW (Incoterms 2010). | [YES/NO] | 1. 2. …
WHO/PQS/E006/IN03.1
WHO/PQS/E006/IN05.3 |  |  | Indicative cost of the product per 10 000 units, per 100 000 units and per 1 000 000 units EXW (Incoterms 2015).

## TH
E006 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E006/TH01.1 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH01.1 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2 |  |  | General information about the legal manufacturer of the integrated product, including details of product marking and traceability.
WHO/PQS/E006/TH01.1 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH01.1 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH06.2 |  | 7 | Certified photocopy of Certificate of Traceability and Calibration traceable to an ISO/IEC 17025 accredited testing laboratory, to NIST, or to another internationally recognized standards agency. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH03.1 |  | 7 | Details of the legal manufacturer's internal AQL sampling procedures in respect of ISO 2859-1:1999 | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH01.1 |  | 7 | Certified photocopy of calibration certificate issued by an ISO/IEC 17025 accredited testing laboratory or by NIST. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH01.1 |  | 7 | Certified photocopies of all type-approvals obtained for the product, including CE marking and the like. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH01.1 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 2000 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH02.2 |  |  | Certified photocopies of the legal manufacturer’s current ISO 9001 quality system certification.
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH01.1 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH01.1 |  | 7 | Where available, laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH06.2
WHO/PQS/E006/TH01.1 |  | 7 | One sample of the product complete with accessories and carrying case. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1
WHO/PQS/E006/TH01.1 |  | 7 | Indicative cost of the product per unit, EXW (Incoterms 2000). | [YES/NO] | 1. 2. …
WHO/PQS/E006/TH02.2
WHO/PQS/E006/TH03.1 |  |  | Indicative cost of the product per 100 units, per 1,000 units and per 10,000 units EXW (Incoterms 2000).
WHO/PQS/E006/TH06.2 |  | 7 | Sample refrigerator or freezer incorporating the product as defined in the relevant E003/ series performance specification. | [YES/NO] | 1. 2. …

## TR
E006 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E006/TR03.2 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E006/TR04.1
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR03.2 |  | 7 | Type examination document (please refer to product verification protocol: E006/TR03-VP.2) that includes a detailed list of internationally recognized standards, certificates (not limited to the list in Section 2), and other evidence of conformity (e.g., screenshots of web portal to illustrate the required capabilities, data from tests of robustness and accuracy), to the specifications. This document must be verified and signed off by WHO PQS or an independent party authorized by WHO PQS. Section 5 in E006/TR03-VP.2 details the content of the type examination document. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR03.2 |  | 7 | Copies of all certificates and other evidence of conformity listed in the document mentioned above. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR03.2 |  | 7 | Proof of adherence to an internationally recognized quality management system (e.g., relevant parts of the ISO 9001-2008 series). | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR03.2 |  | 7 | A minimum of three recent customer references for the Reseller or Legal Manufacturer involving order quantities greater than 100 units. The references need not be about the product being submitted for PQS approval. Rather, the references are to address and attest to the proficiency of customer service of the Reseller or Legal Manufacturer. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR03.2 |  | 7 | List of countries where the Legal Manufacturer has a service network capable of installing and maintaining the offered system. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR04.1 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR04.1 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR05.1 |  | 7 | Confirmation of the brand name of the product. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR04.1 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3 |  |  | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability and documentary evidence of claimed battery life.
WHO/PQS/E006/TR03.2 |  | 7 | Certified photocopy of Certificate of Traceability and Calibration traceable to an ISO/IEC 17025 accredited testing laboratory, to NIST, or to another internationally recognized standards agency for all system components intended for temperature measurement. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR04.1 |  |  | Certified photocopy of calibration certificate issued by an ISO/IEC 17025 accredited testing laboratory or by NIST.
WHO/PQS/E006/TR05.1 |  |  | Certified photocopy of Certificate of Traceability and Calibration traceable to an ISO/IEC 17025 accredited testing laboratory, to NIST, or to another internationally recognized standards agency.
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR04.1 |  | 7 | Certified photocopies of all type-approvals obtained for the product, including CE marking and the like. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR04.1 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 2000 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR06.3 |  |  | Certified photocopies of the legal manufacturer’s current ISO 9001 quality system certification.
WHO/PQS/E006/TR03.2 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E006/TR04.1
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR04.1 |  | 7 | Where available, laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR04.1 |  | 7 | One sample of the product complete with sensor lead(s), paper chart and pen(s). [The sample will be returned following evaluation provided the manufacturer pays the return carriage charge]. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR05.1 |  |  | One sample of the product complete with data connection lead, external sensor(s) (where offered) and software.
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR03.2 |  | 7 | Indicative cost of each system component EXW (Incoterms 2000). | [YES/NO] | 1. 2. …
WHO/PQS/E006/TR04.1 |  |  | Indicative cost of the product per unit, per 10 units and per 100 units EXW (Incoterms 2000).
WHO/PQS/E006/TR05.1
WHO/PQS/E006/TR06.3
WHO/PQS/E006/TR07.3
WHO/PQS/E006/TR03.2 |  | 7 | In addition to the dossier, the Reseller or Legal Manufacturer is required to provide PQS with a sample unit of the system, along with detailed instructions on its setup and operation. The sample unit must comprise a minimum of: • Two temperature sensors • One “door open” sensor (where offered) • One voltage sensor (where offered) • Two logging units (where part of system) • One base station • Web portal access information • Installation, commissioning, and user instructions for the system in English language. • Where appropriate, the Reseller or Legal Manufacturer may demonstrate the setup and operation of the sample unit in person to WHO PQS or to an independent party authorized by WHO PQS. | [YES/NO] | 1. 2. …

## TI
E006 Product Dossier Checklist
The Legal Manufacturer or reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E006/TI01.1 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E006/TI01.1 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in the relevant performance specification, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | Certified photocopies of all type-approvals obtained for the product, including CE marking. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | Certified photocopies of the legal manufacturer’s current ISO 9001 2015 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001 2015 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | One sample of the product shipped in accordance with the manufacturer's instructions together with product instruction insert - both in English language. | [YES/NO] | 1. 2. …
WHO/PQS/E006/TI01.1 |  | 7 | Indicative cost of the product per 100 units, per 1,000 units and per 10,000 units EXW (Incoterms 2015). | [YES/NO] | 1. 2. …