## VS
E007 Product Dossier Checklist
The Legal Manufacturer or Reseller is to provide WHO with a prequalification dossier containing the following:
A. General information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E007/VS01.5 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E007/VS01.5 |  | 7 | General information about the legal manufacturer, including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Unique identification reference for the product type. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Full specifications of the product being offered, covering all the requirements set out in this document, including details of product marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Photographs of the product clearly showing all sides of the device, including indicator lights and product identification labelling. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Certified photocopies of all type-approvals obtained for the product, including CE marking and the like. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Certified photocopies of the legal manufacturer’s ISO 9001 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Where relevant, certified photocopies of the legal manufacturer’s ISO 14001 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Certified photocopies of the testing laboratory’s ISO/IEC 17025 certification. | [YES/NO] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Where available, laboratory test report(s) proving conformity with the product specifications. | [YES/NO/Not Available] | 1. 2. …
WHO/PQS/E007/VS01.5 |  | 7 | Indicative cost of the product per unit, EXW (Incoterms 2010). | [YES/NO] | 1. 2. …

## EHC
E007 Product Dossier Checklist
The Legal Manufacturer or Reseller is to provide WHO with a prequalification dossier containing the following:
A. General Information | [5 empty] | <-- CLICK HERE TO FILTER THE CHECKLIST ACCORDING TO SPEC REFERENCE!
Spec. reference | Select (X) | Spec. clause | Item | Provided | Supporting document(s)
WHO/PQS/E007/EHC01.1 |  | 7 | Dossier examination fee in USD. | [Not Applicable]
WHO/PQS/E007/EHC01.1 |  | 7 | General information about the Legal Manufacturer and any Reseller(s), including name and address. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Unique identification reference for the EHC type. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Brand name of the EHC. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Full specifications of the EHC being offered, covering all the requirements set out in this document, including details of the EHC marking and traceability. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Full details of the compatible appliance(s) and certification of appliance conformance with specification E003/FZ03 or E003/RF05. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Full details of the compatible Type 2 solar power system and certification of conformance with specification E003/PV01. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | A comprehensive set of photographs including a three quarter view of the EHC. Additional photographs showing all external surfaces of the EHC, the interior, defined loads, connection points/cables and any special features. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Certified photocopies of all type-approvals obtained for the EHC and/or its components, including CE marking and the like. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Certified photocopies of the Legal Manufacturer/Reseller’s ISO 9001 quality system certification. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Where relevant, certified photocopies of the Legal Manufacturer/Reseller’s ISO 14001 certification, EMAS registration or registration with an equivalent environmental audit scheme. Conformity with an environmental audit scheme is not mandatory; however preference will be given to manufacturers who are able to demonstrate compliance with good environmental practice. | [YES/NO/Not Relevant] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Laboratory test report(s) proving conformity with the product specifications. | [YES/NO] | 1. 2. …
WHO/PQS/E007/EHC01.1 |  | 7 | Indicative cost of the EHC per unit, per 10 units and per 100 units, EXW (Incoterms 2010) including appliance and solar power system. | [YES/NO] | 1. 2. …