## E007 VS Update Form
WHO IMD Product Category E007 VS
IMD-PQS Product Code (eg E00X-00X) | --> PROVIDE PRODUCT CODE HERE
Label | FIELD VALUE (TEXT / NUMBERS) | PICKLIST OPTIONS | PICKLIST SELECTIONS | Additional Feedback
Product information / identification
Product Type
Product Subtype
WHO Product ID
Manufacturers Reference
Device sub-category
Country of Manufacture
Product Status
Valid Until
Supplier
Applicant Organization City
Applicant Organization Zip/Postal Code
Applicant Organization State/Province
Applicant Organization Country
Supplied to WHO Region
Account
Phone
Email
Applicant Organization Website
Product specifications - Main
Climate zone |  | COLD; HOT; MULTIZONE; TEMPERATE
Power Input (W)
Nominal Power (W)
Max Energy on Battery (Wh)
Min Average Daily Energy (Wh)
Product specifications - Additional
Nominal Input Frequency (Hz)
Nominal Input Voltage (V)
Nominal Output Frequency (Hz)
Nominal Output Voltage (V)
Input frequency regulation range (Hz)
Input Voltage Regulation Range (V)
Output Current (A)
Output Voltage Accuracy (%)
Short Circuit Protection Type
Overload Protection Type
OverVolt.EnduranceElectricalWithstand(V)
Impulsive Transient Protection (kA)
Power Rating (kVA)
Ingress protection rating IP
Maximum Rated Ambient Temp (°C)
Minimum Rated Ambient Temp (°C)
External dimensions height (mm)
External dimensions length (mm)
External dimensions width (mm)
Power Lead Length (m)
Mode of operation |  | CHEMICAL; ELECTROMECHANICAL; ELECTRONIC; MECHANICAL; PHASE CHANGE; OTHER
Mode of operation (Other)
Alarm function(s)
Control Panel Display
Display medium
Enclosure Material
CE marking
Efficiency Percentage (%)
Relative Humidity Rating (%)
Product specifications - Power outlets
Cooling Appliance Max (V)
Cooling Appliance Nominal (V)
Cooling Appliance Number of Port
LED lights portable
Harvesting LED Lights Max (V)
Harvesting LED Lights Nominal (V)
Fan Connector
Fan Connector Max (V)
Fan Connector Nominal (V)
Fan connector ports Number of ports
Car Socket Maximum (V)
Car socket Nominal (V)
Car socket ports Number of ports
Product specifications - Available energy harvest
Connected load 1
Connected load 2
Run Time At Night 1 (hours)
Run Time At Night 2 (hours)
Run Time per Day 1 (hours)
Run Time per Day 2 (hours)
Comments (IMD Variant ref page)
Comments
Price and shipping
Shipping volume (m3)
Shipping weight (kg)
Weight per Package (Kg)
Weight per Unit (Kg)
Minimum order
Units per package
Price
Year of base price
Incoterms
Quality standard
Quality Standard
Quality standard (Other)
Specification Reference
Verification
Verification Laboratory
Verification Report Reference